Keck Adaptive Optics Note 462 - DRAFT

NGAO Trade Study: Keck Adaptive Optics Upgrade

P. Wizinowich et al.

February 13, 2007

# Introduction

The purpose of this note is to evaluate whether an upgrade of one of the Keck AO systems is a viable option to achieve the NGAO science requirements.

We begin, in section 2, by briefly summarizing the NGAO science requirements.  This provides the goal for a Keck AO upgrade path.  This is followed by a brief description of the Keck I LGS AO system that is currently under development with planned operations to begin in 2008.  This provides the base from which upgrades would occur.  Note that the Keck II LGS AO system could be upgraded to the same standards, so this does not force us to choose between Keck I and II (although upgrading Keck II would add additional cost).  We then compare the requirements to the Keck I LGS AO performance and discuss potential improvements.  The potential improvements to the Keck I LGS AO system are discussed in further detail in section 3.  A potential plan for implementing these improvements is then discussed in section 4.  We finish with a summary of the pros and cons of the Keck AO upgrade approach versus a new NGAO system.

KAON 461 is a companion note to this one.  It provides the expected wavefront error budget for the Keck I LGS AO system and for the various potential upgrades.

# NGAO Science Requirements versus Keck I LGS AO

The NGAO system design will be driven by a number of science cases.  NGAO will be expected to achieve significantly higher performance in a number of areas and to provide a suite of new science instruments to take advantage of these improvements.

The Keck I LGS AO facility should be operational in 2008 with OSIRIS.  This system includes the next generation wavefront controller (NGWFC) upgrade and we will plan to have a recoated deformable mirror (DM) in place.  This system represents the currently budgeted extent of Keck AO improvements.

In the following bullets we list the performance and instrument requirements for NGAO, the predicted status of the 2008 Keck I LGS AO facility with OSIRIS with respect to these requirements, and potential means to improve the Keck I LGS AO facility performance:

- Throughput to science instrument

  - NGAO requirement.  Throughput ≥ 70% at 0.6-5.5 µm and ≥ 60% at 5.5-14 µm

  - Keck I LGS AO.  Requirement met for J, H and K.  Requirement met for the interferometer at all wavelengths.  Requirement not met for L and M-bands to an AO science instrument since the current IR transmissive dichroic is a fused silica substrate that does not transmit beyond K-band.  The requirement is not met for wavelengths shorter than J-band since the IR transmissive dichroic reflects these wavelengths.

  - Improvements

    - Multiple dichroics with a mechanism to change these dichroics.

  - Conclusion: NGAO throughput requirements could be met by a Keck AO upgrade

- Emissivity to science instrument.

  - NGAO requirement.  NGAO additional emissivity ≤ sky emissivity at K (i.e., ≤ 10%).

  - Keck I LGS AO.  Requirement not met.  Emissivity is close to 30%.

  - Improvements

    - The current IR transmissive dichroic reflects 10% of the NIR light and therefore has an emissivity of ~ 10%.  This could be made to be essentially zero with a better dichroic coating and/or a cold body seen in reflection by the science instrument off this dichroic.

    - There are seven reflections in the path to the fixed science instrument (in addition to the dichroic).  All of these mirrors, with the exception of two of the image rotator mirrors, are enhanced silver coatings.  These optics could be recoated and a higher quality clean room environment could be instituted.

    - The AO bench currently operates warmer than the dome environment by 5-10º C.  The AO enclosure temperature could be reduced to match the dome environment.

  - Conclusion: The NGAO emissivity requirement would not be met, however the emissivity of the system could potentially be reduced to 15-20%.

- Wavefront error budget.

  - NGAO requirement.  140 nm for 1% sky coverage.  160 nm for 20% sky coverage.  190 nm for 80% sky coverage.

  - Keck I LGS AO.

    - KAON 461 predicts a wavefront error of 240 nm for the best NGS case, 330 nm for the 20% sky coverage case and 525 nm for the 80% sky coverage case.

  - Improvements.

    - The largest terms in the (KAON 461) error budget for the best NGS case is atmospheric fitting, camera errors and miscellaneous errors.  These could be reduced by more DM actuators (at the expense of DM bandwidth and measurement errors; say from 139 to 100 nm), a better camera (OSIRIS has ~35 nm) and by better understanding and improvements to the miscellaneous errors (say from 120 to 80 nm).  There is a reasonable expectation to reduce the miscellaneous errors using the better telemetry base provided by the NGWFC.  If all three of these improvements were made then it might be reasonable to expect the NGS wavefront error to be reduced to 170 nm.  We will assume these same improvements in the subsequent improvement bullets.

    - The largest term in the error budget for the 20% sky coverage case is focal anisoplanatism (175 nm) followed by DM bandwidth and measurement (130 nm each).  A more powerful laser could drop the DM bandwidth and measurement errors significantly (say to 70 nm each).  We could also look at reducing the focal anisoplanatism error through some level of tomography, potentially a Cn2 profiler like a MASS.  In a more extreme case we could do tomography with the more powerful laser and multiple beacons (let’s assume a reduction to 150 nm for focal anisoplanatism).  If these two performance improvements were achieved then the 20% sky coverage error budget would be reduced to 270 nm.

    - The largest term in the error budget for the 80% sky coverage case is tip/tilt measurement and bandwidth errors (300 nm each).  These are likely the most difficult errors to reduce.  A major step in this direction could be to implement one or more IR tip/tilt sensors.

  - Conclusion:

- Photometric accuracy.

  - NGAO requirement.

  - Keck I LGS AO.

  - Improvements.

- Astrometric accuracy.

  - NGAO requirement.  0.1 mas for the Galactic Center (GC) in the NIR.  ≤ 10 mas for 0.7 to 3.5 µm and 30% sky coverage.  ≤ 50 mas for 0.7 to 3.5 µm and 50% sky coverage.

  - Keck II LGS AO.

    - Requirement not met for the GC.  The current Keck II system achieves an astrometric accuracy of 0.25 mas for the GC.

    - The 30% and 50% sky coverage requirements are likely already met.

    - The current system does not support 0.7 to 1.1 µm and we don’t have an imager for these wavelengths.

  - Keck I LGS AO.

    - The astrometric performance will likely improve due to the higher Strehls of the Keck I system.  However, NIRC2 is the current astrometric camera and it is currently planned to stay on Keck II.

  - Improvements.

    - Either upgrade the Keck II system to the Keck I LGS performance levels or move NIRC2 to Keck I or procure a new NIR imager.

    - Understand the limitations in the current astrometry and look at whether a Keck upgrade could reduce these limitations.

  - Conclusion:

- Polarimetric accuracy.

  - NGAO requirement.

  - Keck I LGS AO.

  - Improvements.

- Companion sensitivity.

  - NGAO requirement.  ≥ 4 magnitudes at 0.055” at 1-2.5µm for the Galactic Center.  ≥ 10 magnitudes at 0.5” at 0.7-3.5 µm for 30% sky coverage and < 20” object diameter.

  - Keck I LGS AO.

  - Improvements.

- Observing efficiency.

  - NGAO requirement.

  - Keck I LGS AO.

  - Improvements.

  - Conclusion: All of the NGAO observing efficiency requirements could be met with upgrades to the existing Keck AO systems.

- Observing uptime.

  - NGAO requirement.  ≤ 5% of time lost to problems.

  - Keck I LGS AO.

  - Improvements.

  - Conclusion: The NGAO up-time requirement could be met with reliability improvements to the existing Keck AO systems.

- Science Instruments

  - NGAO requirement. Visible imager, NIR imager and deployable NIR IFU

  - Keck I LGS AO.  The visible imager and deployable NIR IFU do not exist at Keck.  NIRC2 provides a NIR imager, and it could be moved to the fixed port of Keck I, however it does not meet the performance requirements.

  - Improvements

    - The existing Keck AO systems have one fixed output port and one port where instruments can be rolled into position beside the AO bench.  These instruments could be procured to go at the movable output port of the Keck I system.

- Interferometer support

  - NGAO requirement.  Must support Keck Interferometer and ‘OHANA.

  - Conclusion: Keck I LGS AO.  The Keck I and II AO systems both support the Interferometer and ‘OHANA.

# Upgrades

# Potential Upgrade Plan

# Summary

# References

Wizinowich, P. et al., The W.M. Keck Observatory Laser Guide Star Adaptive Optics System: Overview.  Publications of the Astronomical Society of the Pacific, 118: 297-309 (2006).