Keck Adaptive Optics Note 462 - DRAFT

NGAO Trade Study: Keck Adaptive Optics Upgrade

P. Wizinowich

March 6, 2007

# Introduction

The purpose of this note is to evaluate whether an upgrade of one of the Keck AO systems is a viable option to achieve the NGAO science requirements.

We begin, in section 2, by briefly summarizing the NGAO science requirements.  This provides the goal for a Keck AO upgrade path.  This is followed by a brief description of the Keck I LGS AO system that is currently under development with planned operations to begin in 2008.  This provides the base from which upgrades would occur.  Note that the Keck II LGS AO system could be upgraded to the same standards, so this does not force us to choose between Keck I and II (although upgrading Keck II would add additional cost).  We then compare the requirements to the Keck I LGS AO performance and discuss potential improvements.  A potential plan for implementing these improvements is discussed in section 3.  We finish with a summary of the pros and cons of the Keck AO upgrade approach versus a new NGAO system.

KAON 461 is a companion note to this one.  It provides the expected wavefront error budget for the Keck I LGS AO system and for the various potential upgrades.

# NGAO Science Requirements versus Keck I LGS AO

The NGAO system design will be driven by a number of science cases.  NGAO will be expected to achieve significantly higher performance in a number of areas and to provide a suite of new science instruments to take advantage of these improvements.

The Keck I LGS AO facility should be operational in 2008 with OSIRIS.  This system includes the next generation wavefront controller (NGWFC) upgrade and we will plan to have a recoated deformable mirror (DM) in place.  This system represents the currently budgeted extent of Keck AO improvements.

In the following bullets we list the performance and instrument requirements for NGAO, the predicted status of the 2008 Keck I LGS AO facility with OSIRIS with respect to these requirements, and potential means to improve the Keck I LGS AO facility performance:

- Throughput to science instrument

  - NGAO requirement.  Throughput ≥ 70% at 0.6-5.5 µm and ≥ 60% at 5.5-14 µm

  - Keck I LGS AO.  Requirement met for J, H and K.  Requirement met for the interferometer at all wavelengths.  Requirement not met for L and M-bands to an AO science instrument since the current IR transmissive dichroic is a fused silica substrate that does not transmit beyond K-band (the Keck II dichroic is a ZnS substrate that does transmit through M-band).  The requirement is not met for wavelengths shorter than J-band since the IR transmissive dichroic reflects these wavelengths.

  - Improvements

    - Multiple dichroics with a mechanism to change these dichroics.

  - Conclusion: NGAO throughput requirements could be met by a Keck AO upgrade.

- Emissivity to science instrument.

  - NGAO requirement.  NGAO additional emissivity ≤ sky emissivity at K (i.e., ≤ 10%).

  - Keck I LGS AO.  Requirement not met.  Emissivity is close to 30%.

  - Improvements

    - The current IR transmissive dichroic reflects 10% of the NIR light and therefore has an emissivity of ~ 10%.  This could be made to be essentially zero with a better dichroic coating and/or a cold body seen in reflection by the science instrument off this dichroic.

    - There are seven reflections in the path to the fixed science instrument (in addition to the dichroic).  All of these mirrors, with the exception of two of the image rotator mirrors, are enhanced silver coatings.  These optics could be recoated and a higher quality clean room environment could be instituted.

    - The AO bench currently operates warmer than the dome environment by 5-10º C.  The AO enclosure temperature could be reduced to match the dome environment.

  - Conclusion: The NGAO emissivity requirement would not be met, however the emissivity of the system could potentially be reduced to 15-20%.

- Wavefront error budget.

  - NGAO requirement.  155 nm for 1% sky coverage.  205 nm for 20% sky coverage.  240 nm for 80% sky coverage.

  - Keck I LGS AO.

    - KAON 461 predicts a wavefront error of 210 nm for the bright NGS case (8th mag), 311 nm for the LGS case with a bright NGS (10th mag) and 529 nm for the LGS case with a faint NGS (18th mag).

  - Improvements.

    - The potential upgrades to the Keck AO systems and their impact on the wavefront error budget are documented in KAON 461.

    - The bottom line predictions of an upgraded Keck AO system is 149 nm for the bright NGS case, 229 nm for the bright LGS case and 419 nm for the faint LGS case.

    - The faint LGS case could potentially be significantly further improved by the use of an IR tip/tilt sensor.

  - Conclusion: Although the wavefront error budget performance can be significantly improved with an upgraded Keck AO system, the NGAO requirements are not met with the relatively straightforward upgrade path described in KAON 461.  We would have to implement the multiple wavefront and tip/tilt sensors to deal with tomography in order to achieve the wavefront error budget requirement.

- Photometric accuracy.

  - NGAO requirement. ≤0.01 mag at 0.7-2.5 µm for ≤ 5” from H ≤ 16 NGS.  ≤0.02 mag at 0.7-3.5 µm for ≤ 10” from H ≤ 16 NGS.  ≤0.05 mag at 0.9-2.5 µm for ≤ 20” off-axis & 20% sky coverage.  ≤0.01 mag at 0.7-2.5 µm for ≤ 20” off-axis & 20% sky coverage.

  - Keck I LGS AO.

  - Improvements.

  - Conclusion:

- Astrometric accuracy.

  - NGAO requirement.  0.1 mas for the Galactic Center (GC) in the NIR.  ≤ 10 mas for 0.7 to 3.5 µm and 30% sky coverage.  ≤ 50 mas for 0.7 to 3.5 µm and 50% sky coverage.

  - Keck II LGS AO.

    - Requirement not met for the GC.  The current Keck II system achieves an astrometric accuracy of 0.25 mas for the GC.

    - The 30% and 50% sky coverage requirements are likely already met.

    - The current system does not support 0.7 to 1.1 µm and we don’t have an imager for these wavelengths.

  - Keck I LGS AO.

    - The astrometric performance will improve due to the higher Strehls of the Keck I system because of the reduction in background confusion.  In the bright LGS case the Strehl improves from 0.30 to 0.43.

    - NIRC2 is the current astrometric camera and it is currently planned to stay on Keck II.  It could be moved to Keck I if necessary.

  - Improvements.

    - KAON 146 shows an upgraded Keck AO system improving the Strehl from 0.30 to 0.64 in the bright LGS case and from 0.08 to 0.21 in the faint LGS case.  This more than doubling of the Strehl should dramatically reduce the confusion limit.

    - Either upgrade the Keck II system to the Keck I LGS performance levels or move NIRC2 to Keck I or procure a new NIR imager.

    - Understand the limitations in the current astrometry and look at whether a Keck upgrade could reduce these limitations.

    - In order to achieve the requirements down to 0.7 µm will require another dichroic, likely in a dichroic changer mechanism.  Although it might be possible to use the light reflected from the existing IR transmissive dichroic, to a science instrument.

  - Conclusion:

    - The GC astrometry requirement may be just reachable with an upgraded Keck AO system.

    - The other astrometric requirements may already be met with Keck AO, and if not certainly seem achievable with an upgraded system.

- Polarimetric accuracy.

  - NGAO requirement.  ≤ 0.5%.

  - Keck II & Keck I LGS AO.

    - We have never measured the polarimetric accuracy of the existing system and the Keck I LGS upgrades are unlikely to impact polarimetry.

    - All of the science path mirrors at low angles of incidence (≤30º deg) are either Denton or Opticoat enhanced-silver coatings.  The two image rotator mirrors at 60º angle of incidence are bare aluminum.  The multi-layered IR transmissive dichroic is at a 15º angle of incidence.

    - Generally speaking the rotator is used to keep the field fixed which means that any polarization impact of the telescope would rotate with respect to the AO bench.  The tertiary is bare aluminum at a 45º angle of incidence.

  - Improvements.

    - A polarization calibration system could be implemented.  The focal ratio of the telescope is relatively slow (f/15) so that a (rotatable) polarizer placed on the telescope side of the rotator might be sufficient to allow sufficiently accurate calibration of the system to meet the requirement.

  - Conclusion: We would need to check, but the existing system may already meet the requirement with appropriate calibration.

- Companion sensitivity.

  - NGAO requirement.  ≥ 4 magnitudes at 0.055” at 1-2.5µm for the Galactic Center.  ≥ 10 magnitudes at 0.5” at 0.7-3.5 µm for 30% sky coverage and < 20” object diameter.

  - Keck I LGS AO and Keck AO Upgrade.

    - Flicker calculated the expected contrast for the K1 LGS AO, Keck AO Upgrade and NGAO cases using the error terms for the LGS case with a bright NGS (10th mag) determined in KAON 461 and the spreadsheet from Macintosh.  The results for multiple wavelengths are shown in the following Figure.

    - The Galactic Center requirement can be roughly evaluated by extrapolating these curves to 0.055” (this must be done with caution since the slope may be rapidly increasing at this radius).  The ≥ 4 magnitudes requirement would not be met at 1.0 µm with the K1 LGS AO system, however the requirement should easily be met at H and K-band.  The requirement should be met at all wavelengths for the Keck AO upgrade case.

    - A contrast of  ≥ 10 magnitudes at 0.5” is achieved at 2.2 µm for both the K1 LGS AO and Keck AO upgrade cases.  In the Upgrade case this is also achieved at 1.65 µm.  However, this 10 magnitudes requirement is not achieved at shorter wavelengths.

    - The dominant errors sources are calibration and static errors and quasi-static LGS errors and perhaps some more specific upgrades could be done to reduce these errors.

  - Conclusion:

    - The Galactic Center companion sensitivity requirement can be met with an upgraded Keck AO system.

    - The 0.5” radius companion sensitivity requirement can likely only be met at H & K-band with an upgraded Keck AO system using the current error assumptions.

      - It may be possible to meet the 0.5” radius companion sensitivity requirement at shorter wavelengths with additional work on the dominant sources (calibration and static errors and quasi-static LGS errors) in an upgraded Keck AO system.

- Observing efficiency.

  - NGAO requirement.  ≤20 min overhead per night.  ≤120 sec between end of slew & ready for science exposure.  ≤10 sec between start of nod command & ready for science exposure.  ≤120 sec to switch between LGS & NGS mode.  ≤600 sec to switch between NGS & LGS mode (assuming daytime setup).  ≤120 sec to switch between science instruments (assuming daytime setup).

  - Keck I LGS AO.

  - Improvements.

  - Conclusion: All of the NGAO observing efficiency requirements could be met with upgrades to the existing Keck AO systems.

- Observing uptime.

  - NGAO requirement.  ≤ 5% of time lost to problems.

  - Keck I LGS AO.

  - Improvements.

  - Conclusion: The NGAO up-time requirement could be met with reliability improvements to the existing Keck AO systems.

- Science Instruments

  - NGAO requirement. Visible imager, NIR imager and deployable NIR IFU

  - Keck I LGS AO.

    - The visible imager and deployable NIR IFU do not exist at Keck.

    - NIRC2 provides a NIR imager, and it could be moved to the fixed port of Keck I, however it does not meet the performance requirements.

    - OSIRIS provides a NIR IFU and will be located at the fixed port of the Keck I AO system.

  - Improvements

    - The existing Keck AO systems have one fixed output port and one port where instruments can be rolled into position beside the AO bench.  These instruments could be procured to go at the movable output port of the Keck I system.

    - It might be possible to upgrade the existing acquisition camera to a science grade camera.

- Interferometer support

  - NGAO requirement.  Must support Keck Interferometer and ‘OHANA.

  - Conclusion: The Keck I and II AO systems both support the Interferometer and ‘OHANA.

# Potential Upgrade Plan

For reference, a rough project plan for the currently funded AO upgrades (with some minor exceptions) is shown below.

A potential sequence and timeline for upgrading the Keck I LGS AO system is shown in the following Figure.  The “Keck I Upgrades 1” items are already discussed in KAON 461.  The other improvements item includes replacements (for aging) and reliability improvements, as well as performance improvements.

The “Keck I Upgrades 2” category is a possible timeline for implementing a multiple LGS system, with multiple near IR tip/tilt sensors.  It is not yet clear that this second round of upgrades is feasible with the existing system.  Two feasibility questions are is there enough space for the current wavefront sensor to be replaced with 5 to 8 wavefront sensors and how can we implement three near-IR tip/tilt sensors?

All costs are currently very rough guesses.  The total cost shown here is $7.5M for the first set of upgrades and $13M for the second set.  These costs will doubtlessly rise in a more detailed cost analysis.  These estimates can be compared to the AO budget of $35M given in the NGAO proposal.

The “New Science Instruments” category includes the top three ranked instruments in the NGAO proposal along with the costs given in this proposal.  It may be possible to reduce these costs with reuse of existing instruments or reduced requirements.

# Summary

# References

Wizinowich, P. et al., The W.M. Keck Observatory Laser Guide Star Adaptive Optics System: Overview.  Publications of the Astronomical Society of the Pacific, 118: 297-309 (2006).

Wizinowich, P. et al., Wavefront Error Budget Predictions and Measured Performance for Current and Upgraded Keck AO, KAON 461 (Mar., 2007).