## Sheet1
| ADC Module Noise | ADC DNL | ADC crosstalk | Clock driver noise | Clock driver range | Clock linearity | Bias noise | Bias linearity
notes: | [5 empty] | requires attenuator | essentially the same as the clock driver noise test but w/ different input | requires attenuator
manual connections | Done | Done | Done | Done | Done | TBD | TBD | TBD
manual execution (archongui) | Done | Done | Done | Done | Done | TBD | TBD | TBD
automated connection | Req TB2 | Req TB2 | TB1 done | TB1 in progress | Req TB2 | Req TB2 | Req TB2 or TB3 | Req TB2 or TB3
semi automated execution (ztftest) | Done (ACF/ZTFtest) | Done (ACF/ZTFtest) | Done (ACF/ZTFtest) | in progress | TBD | TBD | TBD | TBD
fully automated execution (general python script | Req TB2 | Req TB2 | TB1 done | Req TB2 | Req TB2 | Req TB2 | Req TB2 or TB3 | Req TB2 or TB3
data products defined | Done | Done | Done | In progress | TBD | TBD | In progress | TBD
manual analysis | Done | Done | Done | Done | Done | TBD | Done (use clock noise) | TBD
analysis scripts ready | Done | Done | Done | In progress | TBD | TBD | TBD | TBD
analysis products defined | Done | Done | Done | In progress | TBD | TBD | TBD | TBD
Verifications
controller 0
controller 1
controller 2 | Done | Done | Done |  | Done
controller 3
controller 4
controller 5
Key | Done | Task has been completed
| Req X | Task requires additional hardware
| in progress | Task in progress
| TBD | Task not started yet
| TBD | Task not started, expendable