Keck Adaptive Optics Note XXX

NGAO System Calibration Unit

T. Stalcup, M. Pollard

April 16, 2010

# Introduction

This note describes the design and performance of the AO system calibration unit.  Its primary purpose is to provide reference point sources for system testing and calibration as well as uniform flat field and spectral line sources for the science instrument calibration.  In other AO systems, such as those currently in use at  Keck, reference point sources are created by simply placing a single mode fiber at the input focal plane.  Unfortunately in the NGAO system this is internal to the image rotator and so is inaccessible.  Since a simple fiber source will not work, an optical relay will be used to form an image of the reference sources at the input focal plane to the AO bench.  The relay is designed to produce the correct f-ratio and pupil location to mimic the telescope, while maintaining a very small wavefront error over the operational field.

# Requirements

A separate document contains the compliance matrix.  Below is a summary of the key requirements for this design.

- Operational wavelength from 0.6 to 2.5 µm, with 0.589 µm laser sources

- Both unresolved and seeing limited sources at infinity, 90km, and 180km conjugates

- Flat field illumination with both continuum and spectral line sources

- Wavefront error not specified in contour, but KAON 568 recommends 10 nm rms

- Turbulence generator

# Recommended changes

- Based on the reasons outlined in KAON 739, it is proposed to increase the wavefront error requirement to 30 nm rms.

- KAON 739 also recommends that the inclusion of a turbulence generator should not drive the optical design.

- Add a requirement for a removable pupil mask

# Optical design

The combination of wide spectral bandwidth and small wavefront error across the full corrected AO field makes for a very challenging optical design.  One major concern that was independent of the design chosen was the tolerance for figure error in the optical elements.  For instance assume that all surfaces in the system are finished to 1/20 wave peak-valley accuracy.  A rule of thumb is that the rms error is 1/3 to 1/5 the PV error, so if a ratio of 1/4 is chosen this results in about 8 nm rms error per surface.  Even though this is an excellent surface quality, if the system contains six surfaces the result is 20 nm rms wavefront error, or double the original specification of 10 nm rms.  Note that this does not consider any other sources of error such as mounting effects or error inherent in the design.

# Alternative designs considered

A refractive design was briefly considered since it would likely be more compact, but the broad range of operating wavelengths made this design impractical.  Multiple elements would be needed to control the chromatic effects to the necessary level which conflicts with the desire to keep the number of surfaces to a minimum.  Index homogeneity is also a concern when dealing with transmissive elements at the nanometer tolerance level.

An off-axis parabola based relay was considered, but not chosen mainly due to packaging concerns.  The area around the AO rotator is tight and any reasonable geometry required parabolas with a large off-axis distance.  This drives up the cost of the optics and also makes it more difficult to meet the tight figure error specifications.

A few other designs were briefly considered and discarded.  These included various forms of off-axis telescopes, either based on more traditional Cassegrain telescopes or more exotic three mirror telescopes such as a three mirror anastigmat.  These either had packaging problems similar to the off-axis parabola systems or required higher order aspheric mirrors.  Again, concerns about cost and figure accuracy eliminated these types of systems.

# Offner relay design

After some investigation, a traditional Offner relay was chosen as the focus of the design.  The biggest advantage is that it uses all spherical surfaces which will allow relatively cost-effective optical elements.  Spherical surfaces are also somewhat easier to align.  The main drawback to the Offner design is that the pupil plane is located at the secondary mirror, so it is more difficult to include pupil masks and there are limitations on the use of phase screens.

A typical Offner has a primary and secondary mirror with two reflections off of a monolithic primary.  With this design, however, to obtain an exit pupil that matches the main telescope the pupil stop had to be displaced from the secondary.  This presents a problem since any pupil mask placed there would also obscure the beam in the other arm of the relay.  Splitting the primary into two parts allowed creating the desired exit pupil when the pupil stop was placed on the secondary.

The basic layout is shown in Figure 1.  Folds are included to fit into the available space on the AO bench.

Figure 1.  Offner relay optical layout.

The zemax model was optimized simultaneously for the NGS conjugate and two LGS conjugates at 90 km and 180 km.  These two sources are available concurrently through the use of a beam splitter, and were arranged such that the NGS source is in reflection.  This avoids any chromatic effects in the NGS source from transmission through the beam splitter.  Since the LGS source is monochromatic it was easily optimized to compensate for the small aberrations from the transmission through the beam splitter.  The back surface of the NGS/LGS beam splitter has a long radius to help this compensation.  A second beam splitter is included to provide a port for the flat-field and spectral calibration sources.  These are non-imaging and so are minimally affected by the beam splitter transmission.

The pupil is at the secondary mirror.  A hex mask matching the main telescope pupil will be mounted on a removable stage to allow illuminating the entire DM and WFS sensor areas during calibrations.

Figure 2 shows the rms wavefront error over the full 120 arcsecond field for the NGS and both LGS conjugates.  The scale is in waves at 589 nm, so 0.034 waves corresponds to 20 nm and 0.05 waves corresponds to 30 nm.  Figure 3 shows plots of the OPD for these configurations.

Figure 2.  Field dependent rms wavefront error at different conjugates.  Shown as waves at 589 nm, so 0.05 waves equals 30 nm and 0.034 waves equals 20 nm.  The black circle denotes the full 120 arcsecond field of view.

Figure 3.  OPD plots for different conjugates.

# Tolerance analysis

A preliminary tolerance analysis in zemax indicates that the following tolerances are a reasonable starting point.  More detailed tolerance analysis will be performed at a later date.

| Element | Tilt (degrees) | Decenter (µm) |
| --- | --- | --- |
| Primary mirrors | 0.005 | 100 |
| Secondary mirror | 0.010 | 100 |
| Fold mirrors | 0.010 | -- |

# Sources

All light sources will be outside the cold enclosure and coupled via fiber optics to the calibration unit.  This reduces the amount of heat dissipated inside the cold enclosure and also makes it much easier to replace failed lamps.

The NGS and LGS sources in the image plane will not be mounted on an x-y stage, but rather multiple sources will be mounted at fixed locations across the field.  This pattern can then be rotated by using the image rotator on the AO bench to access more field points.  The combination of multiple sources and the image rotator will allow calibration at a large enough set of points to sufficiently cover the field.  These sources will include a mixture of both unresolved sources and larger fibers to simulate a seeing limited spot.

To simplify the coupling of the fibers to the light sources individual control of the brightness of the fibers will not be included.  The fibers will be sufficiently spaced in the image plane to minimize crosstalk during the calibrations, and will be grouped into a few sets that can be controlled independently.

Wherever practical, all fiber bundles will use a common connector type.  This will make maintenance easier, and will allow more flexibility for engineering tests.  For example, the spectral line sources could be fed to the NGS point sources to allow simultaneous spatial and spectral characterization of the science instrument.

# NGS

The baseline light source for the NGS fibers is a Quartz Tungsten Halogen incandescent lamp such as the 66997 Oriel Research Series from Newport.  The controller for this source includes intensity control via RS232.   The output will be focused onto a fiber bundle for transport to the NGS focal plane.  The fibers will include both single mode fibers with a 9 µm core for the unresolved sources and fibers with a 400 µm core to provide seeing limited sources.  A shutter will be included to allow completely blocking the output for dark calibrations while maintaining stable lamp operation.

Since the lamp will fail without warning, the current design includes two lamp sources each with their own fiber bundle.  This will provide redundancy and prevent problems caused by a lamp failing at inopportune moments.

# LGS

The LGS sources will be formed from fibers coupled to a laser operating at 589 nm.  Diode pumped solid state (DPSS) lasers are now available with powers ranging from 5 to 15 mW at a price of about $4,000,.  These units have adjustable power, and the unit from Crystalaser has an analog modulation input which will make it easy to adjust the output power without the need for a motorized filter wheel.

As with the NGS fiber bundles, the LGS fiber bundles will also include both single mode fibers with a 9 µm core for the unresolved sources and fibers with an 800 µm core to provide seeing limited sources.

Again the design includes two lasers powering separate fiber bundles to add a degree of redundancy to the system.

# Astrometric grid

The astrometric grid will be formed from a grid of micro-machined holes in a plate, very similar to the one currently used in NIRC2.  It will have a 100 x 100 grid of holes with a diameter of 3.6 µm and spaced 360 µm on center.  This corresponds to 5 milliarcsecond diameter holes on a 0.5 arcsecond grid.  The light source will be a woven fiber optic panel placed behind the grid supplied by a lamp source1.  The throughput of this setup should be checked during the detailed design phase.  If it is insufficient, an alternative could use large core optical fibers to supply light into a diffusing chamber behind the hole grid.

# Flat field/spectral lamps

The typical flat field setup uses an integrating sphere to obtain a very uniform illumination.  However, this design would need a minimum port size of 80 mm diameter to fully cover the science field.  This would require a integrating sphere with a

The flat field and spectral calibrations will both use a woven fiber optic panel to generate a uniform illumination.  These panels can have up to eight layers with their own sources, so some would be dedicated to the flat field lamps and the rest to the spectral lamps.  The manufacturer claims that these panels are “very uniform,” but there are no numbers associated with that claim.  Some experimentation will be needed to verify the uniformity of the output, but even if the panel is natively poor a diffuser spaced a few centimeters away should correct the problems.

If the woven fiber optic panels are not sufficient, then side emitting fiber could be used along with a diffuser to create the same effect.  Another alternative is to build a diffuser box that uses the output from multiple fibers reflected off of a lambertian scattering surface.  The referenced unit was made to flatfield a CCD directly, but in this case the CCD could be replaced with either an opal or ground glass diffuser and used as the output aperture.

# Mechanical design

All components will be mounted on a common baseplate with the exception of the motorized fold mirror just in front of the AO rotator.  This will allow assembly and testing as a unit prior to integration with the AO bench.  Figures 4 through 6 shows views of the unit in place on the AO bench.

Figure 4.  View of calibration unit on AO bench from above.

Figure 5.  View of calibration unit on AO bench through elevation bearing.  The large gray circle is the inner surface of the elevation bearing.

Figure 6.  Isometric view of calibration unit on AO bench.

Not shown in these figures is the cold enclosure.  The area inside the elevation bearing is tight, however with the indicated envelope for the calibration unit there is 8.9 cm of clearance at the closest corner.  This corner does not need to be square as drawn, so truncating it will increase the clearance available.  At the expense of a slightly more complicated baseplate design, the layout of the calibration unit could be adjusted as shown in Figure 7.

Figure 7.  Alternate layout for increased elevation ring clearance.

Due to the access restrictions from the elevation bearing, the calibration unit will need to be moved horizontally into place.  To do this, rails will be installed on the AO bench to allow placing the calibration unit on the bench with an overhead crane and then sliding the entire assembly into the elevation bearing.  Kinematic defining points will be used to allow repeatable positioning during the installation process.

# Device control summary

# Motion devices

| Device | Motion Type | Range | Accuracy |
| --- | --- | --- | --- |
| NGS source focus | Linear | 25 mm | 10 µm |
| NGS target selector | Linear | 100 mm | 1 µm |
| Astrometric grid rotation | Rotation | 90 degrees | 0.01 degree |
| LGS source focus | Linear | 150 mm | 10 µm |
| Output fold mirror | Tip/tilt | +- 3 degrees | 1 arcsecond |
| Fold mirror at AO rotator | Tip/tilt | +- 3 degrees | 1 arcsecond |
| AO rotator fold mirror in/out | Linear | 175 mm | 50 µm |
| Pupil mask selector | Linear | 100 mm | 1 µm |

# Other devices

| Device | Interface type |
| --- | --- |
| NGS Quartz Halogen source 1 | RS232 |
| NGS Quartz Halogen source 1 | RS232 |
| LGS 589 laser source 1 | Analog 0-5V |
| LGS 589 laser source 1 | Analog 0-5V |
| Flatfield Quartz Halogen lamp | RS232 |
| Spectral lamp source | TBD |

# Remaining work prior to PDR

- Finalize source selections.  This will include both lamp selections, throughput estimation, and any control and feedback electronics necessary to reach stability requirements.

- More detailed tolerancing.

- Modelling of thermal effects

- Finish mechanical model

# Endnotes

QTH Source, 50-250W, F/0.85 Pyrex Ashpere, 1.3in Collimated, 1.5 Inch, available from Newport Optics, http://search.newport.com/?q=*&x2=sku&q2=66997

589nm DPSS laser model CL589-015 with datasheet at http://www.crystalaser.com/CL584-593.pdf

589nm 10mW DPSS laser model RLTMGL-589-10 is $4,060 at http://www.roithner-laser.at/All_Datasheets/Pricelists/roithner-pricelist-c-100319.pdf

Woven fiber optic panels available from http://www.lumitex.com/machine_vision.html

http://www.ing.iac.es/Astronomy/observing/manuals/ps/tech_notes/tn108.pdf

# Text boxes

Flat field beamsplitter

NGS conjugate

NGS/LGS beamsplitter

LGS 90 km and 180 km conjugates

Split primary mirror

Pupil at secondary mirror

Flat field source

Fold down to AO image plane

LGS 90km conjugate

LGS 180km conjugate

NGS conjugate

NGS conjugate

LGS 180km conjugate

LGS 90km conjugate

250 mm