# Pictorial Physical Inventory Sheet For COO Storage

| Item# 1 | Triple Output DC Supply | Date | 05/27/2016 |
| --- | --- | --- | --- |
| Mfr | Power Desins Inc | P/N | TP325 |
| Serial# |  | Note |  |

| Item# 2 | DC Power Supply | Date | 05/27/2016 |
| --- | --- | --- | --- |
| Mfr | GW instek | P/N | GPR-30H10D |
| Serial# | EF914448 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 3 | DC Supply Output 5 VDC 9 ampere | Date | 05/27/16 |
| --- | --- | --- | --- |
| Mfr | Power One | P/N | HN5-9 / OVP-A |
| Serial# |  | Note |  |

| Item# 4 | DC Supply Output 5 VDC 9 ampere | Date | 05/27/*2016 |
| --- | --- | --- | --- |
| Mfr | Power One | P/N | HB5-3 / OVP-A |
| Serial# |  | Note | 2 QTY |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 6 | DC Power Supply 5VDC 1.5 Ampere | Date | 05/27/2016 |
| --- | --- | --- | --- |
| Mfr | Power One | P/N | HA5-1.5 / OVP-A |
| Serial# |  | Note | 2 QTY |

| Item# 7 | High Voltage Power Supply 0 - 3kV 10 milliAmpere | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | BERTRAN | P/N | 603C-30N |
| Serial# | 7881 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 8 | DC Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | U15yA150 |
| Serial# |  | Note |  |

| Item# 9 | Dual Tracking DC Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | TD5-250 |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 10 | Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | RB5G50 |
| Serial# |  | Note |  |

| Item# 11 | Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | A3.3MT600 |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 12 | DC Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Transistor Devices Inc. | P/N | LRL-98-77D |
| Serial# |  | Note |  |

| Item# 13 | Regulated DC Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | A5H3200 |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 14 | Dual Output Power Supply | Date | 05/31/20106 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | 56T50056T50D |
| Serial# |  | Note |  |

| Item# 15 | Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | A15MT300 |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 16 | Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | A24H850M |
| Serial# |  | Note |  |

| Item# 17 | Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | ACDC Electronics | P/N | BX15D2.5 |
| Serial# | 8517 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 18 | Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | ACDC Electronics | P/N | BX15D2.5 |
| Serial# | 14299 | Note |  |

| Item# 19 | Switching Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | W32NT860 |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 20 | Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Acopian | P/N | A5NT220 |
| Serial# |  | Note |  |

| Item# 21 | Power Supply | Date | 05/31/20106 |
| --- | --- | --- | --- |
| Mfr | HC Power Inc. | P/N | HC12-C1005 |
| Serial# | 1001 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 22 | Regulated Power Supply | Date | 05/31/2016 |
| --- | --- | --- | --- |
| Mfr | Lambda | P/N | LM D5 |
| Serial# | C29413 | Note |  |

| Item# 23 | Regulated Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | LAMBDA | P/N | LK 345AFM |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 24 | Regulated H.V. Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | Schlumberger | P/N | SP 17A |
| Serial# |  | Note |  |

| Item# 25 | Custom Equipment | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 26 | Custom Equipment | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 27 | Regulated Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | LAMBDA | P/N | LM D5 |
| Serial# | C28420 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 28 | Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | Raytheon | P/N | QSA18-1.1 |
| Serial# | 3342 | Note |  |

| Item# 29 | Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | General Fabrication Corp | P/N | 400000 |
| Serial# | 3041 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 30 | H.V. Power Supply | Date | 06/01/2016 |
| --- | --- | --- | --- |
| Mfr | Beltran | P/N | 205A-05R |
| Serial# | 00105 | Note |  |

| Item# 31 | Line-of-Sight Autocollimating Alignment Telescope | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Brunson | P/N | Model 81 |
| Serial# | 5107 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 32 | Line-of-Sight Autocollimating Alignment Telescope | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 33 | Optical Powermeter | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Oriel | P/N | 70310 |
| Serial# | 374 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 34 | Optical Detector Head | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Thermo Oriel | P/N | 71586 |
| Serial# | 113 | Note | Use with Oriel P/N 70310 |

| Item# 35 | Optical Detector Head | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Thermo Oriel | P/N | 71582 |
| Serial# | 159 | Note | Use with Oriel P/N 70310 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 36 | Autocollimator | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Hilger and Watts | P/N | 90682 |
| Serial# |  | Note | Missing Illumination source |

| Item# 37 | Logic Analyzer | Date | 06/02/2016 |
| --- | --- | --- | --- |
| Mfr | Tektronix | P/N | 3001GPX |
| Serial# | B010219 | Note | Caltech 000009252 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 38 | Sony Camera System | Date | 06/03/2016 |
| --- | --- | --- | --- |
| Mfr | Sony | P/N | DXC-151A |
| Serial# | 104778 | Note | Caltech 000054551 |

| Item# 39 | Piezo Motion Controller | Date | 06/03/2016 |
| --- | --- | --- | --- |
| Mfr | PI | P/N | P-925.323 |
| Serial# | 07830496 | Note | Caltech 000054464 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 40 | Triple Output DC Power Supply | Date | 06/03/2016 |
| --- | --- | --- | --- |
| Mfr | Agilent | P/N | E3631A OEM |
| Serial# | MY40017128 | Note |  |

| Item# 41 | SCSI-Bus Analyzer | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Ancot | P/N | DSC202-STE |
| Serial# | 92090871-R | Note | Caltech 000009448 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 42 | Synthesizer/ Function Generator | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | HP | P/N | 3325B |
| Serial# | 2847A07246 | Note | Caltech 000005992 |

| Item# 43 | Variable Auto transformer | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Superior Electric Company | P/N | 3PN117B |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 44 | Autotransformer | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Variac | P/N | W5MT3 |
| Serial# |  | Note |  |

| Item# 45 | 2 MHz Function Generator | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Tektronics | P/N | CFG250 |
| Serial# | CFG-250TW22659 | Note | Caltech000054513 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 46 | Electrolytic capacitor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | CDE |
| Serial# |  | Note | 10-150 microfarads |

| Item# 47 | Decade Resistor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | RDA |
| Serial# | 0 -100 Ohms | Note | 10 watt Max |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 48 | Decade Resistor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | RDB |
| Serial# | - 10 KOhms | Note | 10 Watt max |

| Item# 49 | Decade Capacitor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | CDC 5 |
| Serial# | 56349 | Note | 0-10 microfarads |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 50 | Decade Capacitor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | CDC 3 |
| Serial# | 0-10 microfarads | Note |  |

| Item# 51 | Decade Capacitor | Date | 06/06/2016 |
| --- | --- | --- | --- |
| Mfr | Federal Pacific Electric Co. | P/N | CDA 5 |
| Serial# | 55525 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 52 | Chipmaster 3000 | Date | 06/07/2016 |
| --- | --- | --- | --- |
| Mfr | Logical Devices | P/N |  |
| Serial# |  | Note |  |

| Item# 53 | 50 MHz Universal Counter | Date | 06/07/2016 |
| --- | --- | --- | --- |
| Mfr | HP | P/N | 5300B Measuring System |
| Serial# | 1452A02429 and 144408067 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 54 | 10kHz to 1000MHz Signal Generator | Date | 06/07/2016 |
| --- | --- | --- | --- |
| Mfr | Marconi Instruments | P/N | 52022-900C |
| Serial# | 119004 | Note |  |

| Item# 55 | Frequency Counter | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Hewlett Packard | P/N | 5326C |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 56 | Thermistor resistor | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Thermo Oriel | P/N | 77055 |
| Serial# | 132 | Note |  |

| Item# 57 | Thermistor Resistor | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Thermo Oriel | P/N | 77055 |
| Serial# | 133 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 58 | Power Supply | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Thermo Oriel | P/N | 68938 |
| Serial# | 283 | Note | Caltech 000058678 |

| Item# 59 | Optical Power Meter | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Oriel Instruments | P/N | 70310 |
| Serial# | 377 | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 60 | 1.32 Laser Power Supply | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Spectra Diode Labs | P/N | SDL 928-10 |
| Serial# | 042 | Note | MIT L.L. # 0003-62012-1 |

| Item# 61 | Pulse Generator | Date | 07/21/2016 |
| --- | --- | --- | --- |
| Mfr | Hewlett Packard | P/N | 8007B |
| Serial# |  | Note | Caltech 000054556 |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 62 | Synthesized RF Signal Generator 10kHz to 1060 MHz | Date | 07/12/2016 |
| --- | --- | --- | --- |
| Mfr | Fluke | P/N | 6060B |
| Serial# |  | Note | Caltech 000054557 |

| Item# 63 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 64 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 65 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 66 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 67 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 68 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 69 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 70 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 71 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 72 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 73 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 74 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 75 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

# Pictorial Physical Inventory Sheet For COO Storage

| Item# 76 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# 77 |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |

| Item# |  | Date |  |
| --- | --- | --- | --- |
| Mfr |  | P/N |  |
| Serial# |  | Note |  |