## Curve Data
Sensor Model: | Diode_K06
Serial Number: | K06
Data Format: | 2 | (Volts)
SetPoint Limit: | 320 | (Kelvin)
Temperature coefficient: | 1 | (Negative)
Number of Breakpoints: | 4
No. | Units | Temperature (K)
1 | 0.28635 | 333
2 | 0.32162 | 320
3 | 0.39375 | 293.43
4 | 0.98035 | 77.35