## Curve Data
Sensor Model: | Diode_K05
Serial Number: | K05
Data Format: | 2 | (Volts)
SetPoint Limit: | 320 | (Kelvin)
Temperature coefficient: | 1 | (Negative)
Number of Breakpoints: | 3
No. | Units | Temperature (K)
1 | 0.32583 | 320
2 | 0.39863 | 293.43
3 | 0.99068 | 77.35