## Curve Data
Sensor Model: | Diode_K11
Serial Number: | K11
Data Format: | 2 | (Volts)
SetPoint Limit: | 320 | (Kelvin)
Temperature coefficient: | 1 | (Negative)
Number of Breakpoints: | 3
No. | Units | Temperature (K)
1 | 0.31547 | 320
2 | 0.3883 | 293.43
3 | 0.98059 | 77.35