Palomar Adaptive Optics Test Plan

| Title | LGS-AO Science Night Checklist |
| --- | --- |
| Version | 1.0 |
| Date released | 9/18/2007 |
| Lead | A. Bouchez |
| Time requested | N/A |
| Required conditions | N/A |

Purpose Provide a schedule and checklist of science night tasks.

Procedure 3:00pm Test basic AO and PHARO functionality using AO stimulus. Start up laser (Procedure: Laser Startup v2.0). Bring to full power without optimization to allow temperature to stabilize. Remove LLT primary mirror cover, store in elevator. 4:00pm Request that observatory lock be removed from Coude block. Test laser interlock system. 5:00pm Check laser power. Optimize power and wavelength tuning. Start up BTO control GUI ssh -Y aousr@198.202.125.152 bto_ctrl Perform BTO checkout (Procedure: Abbreviated BTO checkout v1) Sunset Perform NGS checkout (Procedure: NGS Checkout v3.1) Perform LGS checkout (Procedure: LGS Checkout v1.0) Optimize laser as necessary throughout night (Procedure: Laser Startup 2.0) Science Observations Follow procedure: LGS Target Acquisition v4.0 End-of-night Close and lock Coude block (both locks) Power down laser (Procedure: Laser Shutdown v1.0) Install LLT primary mirror cover.

Notes