Palomar Adaptive Optics Test Plan

| Title | LOWFS Focus Curve |
| --- | --- |
| Date | 4/2/2007 V1 |
| Lead | Jenny |
| Time requested | - |
| Required conditions | - |

Purpose Measure focus transfer curve for the LOWFS on the sky

- Go to LGS mode - Move lgs_x to lgs position (92000) - Acquire ~12th mag star in LOWFS - Verify that lwfp_recon_4subap is loaded and pixel, lo_residual and centroid data are being recorded - Put the star near the center of the acquisition camera. - Start aomonitor - Acquire the star in the LOWFS using acqview. - Take a LO sky - Close TT loop - Move secondary in steps of 0.05mm up to a maximum of ± 0.5mm and record telemetry data - ± 0.5mm should be equivalent to ± 11.45mm motion of the white light which, from previous on sky data should be more than the maximum that can be measured

Results and conclusions