## Slide 1
Concurrent Vertical and Horizontal CCD Clocking

## Slide 2
CCD [ Janesick, 2001]*
Line transfer
Serial register
Electrodes
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Voltage
Time
Line transfer (~ 0.2 ms)
Pixels
Pixels (~ 1ms)
Typical CCD

## Slide 3
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Voltage
Time
A1
A2
A3
TGA
A2
A3
A4
Standard Parallel shift
LAST LINE

## Slide 4
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
A1
SERIAL
A3
A4
A3
A2
A4
A1
A2
TG
LINE
DUMP (~ 25 us)
Standard Parallel shift

## Slide 5
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Voltage
Time
A1
A2
A3
TGA
A2
A3
A4
Concurrent clocking
LAST LINE

## Slide 6
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Use a short pulse for Transfer Gate
Use a staircase potential slide for line dump into serial register
A1
SERIAL
A3
A4
A3
A2
A4
A1
A2
TG
LINE
DUMP (~ 3 us)
Concurrent clocking

## Slide 7
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Immediate benefits
6% reduction in ZTF CCD readout time.
Average 10 hours/night with 25s exposure time:
  10s readout  10*3600/(25+10) = 1029 exposures/night
  9.4s readout  10*3600/(25+9.4) = 1047 exposures/night
  = 18 more frames per night

## Slide 8
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Time
, length along Transfer Gate
, resistivity and , the capacitance per unit volume of electrode
How steep for last line potential staircase?
How fast to pulse TG?

## Slide 9
TG pulse 1us, Step of 0.5V
TG pulse 5us, Step of 2V
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps

## Slide 10
Technique Motivation Method part 1 Method part 2 Method part 3 Further steps
Step 2
Now add serial clocking and slow the parallel clock edges

## Slide 11
Technique Motivation Method part 1 Method part 2 Method part 3 Further steps
Image subtraction shows that only parallel cross talk is added.
-
=

## Slide 12
Technique Motivation Method part 1 Method part 2 Method part 3 Further steps

## Slide 13
Technique Motivation Method part 1 Method part 2 Method part 3 Further steps
Bands in the image are caused by ‘ground bounce’ (variations in the reference level of the sense node)

## Slide 14
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Step 3
Make parallel clock edges concurrent to create equal and opposing currents

## Slide 15
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
However, the clock swings must all be the same to correctly set up equal and opposing currents:
A1
SERIAL
A3
A4
A3
A2
A4
A1
A2
TG
LINE
DUMP (~ 3 us)
Fixed clock swing

## Slide 16
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
However this isn’t perfected yet:
Further tweaking required to correctly cancel currents or ensure that it’s a removable fixed pattern

## Slide 17
Technique Motivation Method part 1 Method part 1 Method part 3 Further steps
Longer term benefits
Can expand line transfer to occupy the whole line read time:
Reduction in CIC due to slow clock edges
Can achieve higher CTE by allowing more time for charge de-trapping and boosting the effectiveness of tri-level clocking

## Slide 18
Time
Tri-level clocking*:
Trapped charge returned to original pixel
*Murray, Neil J (2014). UV/Optical/IR Space Telescopes and Instruments: Innovative Technologies and Concepts VI, SPIE, article no. 8860-20
line
line
line
Technique Motivation Method part 1 Method part 2 Method part 3 Further steps
Recovery of trapped charge requires clocking to be slower than emission time constant.
Concurrent clocking makes this possible, especially for slow pixel rates, typical of low background applications where charge trapping is most troubling.
Bi-level clocks:
trapped charge is released into trailing pixels
Notes: However, Neil Murray from the Open university in the UK proposed that if we just add a third clocking level in the readout and also add a delay in the shift of a pixel you can encourage the charge to be released into its original charge packet.
As you can see on the right, because of the potential gradient created by the third level it’s unlikely that trapped charge gets separated from its packet.
And that’s how it works in a nutshell.