## Slide 1: Vacuum, Extreme Radial Velocity Experiment: VERVE An instrument for ultra-precise radial velocity measurements
J. Kent Wallace (JPL)
28 July 2015

## Slide 2: Fellow Contributors
Michael Randolph, LCHS
Rebecca Jensen-Clem, CIT
Gautam Vasisht, JPL
Phil Muirhead, BU
Lynne Hillenbrand, CIT
Erik Hovland, JPL
Richard Dekany, CIT

## Slide 3: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 4: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 5: Radial Velocity Measurement Overview
Traditional
Spectroscopy
1
Intensity
Wavelength
Iodine spectral reference
Grating
spectrograph
The Goal
ΔRV=10cm/s
Δλ = 1x10-5Å
The Requirement:
Δλ = 2x10-6Å
The State of the Art: 70cm/s

## Slide 6: Radial Velocity Measurement Overview
Externally Dispersed Interferometry (EDI)
2
spectralfringe.org
Scanning
Interferometer
Time
λ
Grating
spectrograph
Absorption lines
Moire pattern
Interferometer
transmission
comb
Traditional
Spectroscopy
1
Intensity
Wavelength
Iodine spectral reference
Grating
spectrograph

## Slide 7
One Pixel
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Image Credit: Phil Muirhead
Notes: TSPEC sees the integrated light after multiplication by the comb: the tan area.

## Slide 8
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead
Notes: Now, I’m going to slightly piston the interferometer mirror to change the phase of the comb.
Watch the total flux in the pixel.

## Slide 9
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 10
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 11
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 12
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead
Notes: Absorption line bites into comb.

## Slide 13
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 14
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 15
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 16
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 17
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 18
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 19
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead

## Slide 20
1 km/s Doppler Shift
One Pixel
Flux
5499.91
5499.95
5500
5500.05
5500.09
Wavelength [Å]
Relative Flux
Flux
Delay Change [μm]
0.0
0.5
1.0
1.5
2.0
2.5
Image Credit: Phil Muirhead
Notes: A small change in RV causes a dramatic change in phase.
Imprinted an AC signal on each pixel.
One of thousands of pixels.
But, delay change calibration is critical.

## Slide 21: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 22: Instrument Description
BS2
Grating
Fiber-Fed OAP
Lens
Imaging Array
Fold Mirror
BS1
Prism
Fold Mirror
PZT
Flexure Stage

## Slide 23: Instrument Description
BS2
Grating
Fiber-Fed OAP
Lens
Fold Mirror
BS1
Prism
Fold Mirror
PZT
Flexure Stage
Imaging Array

## Slide 24: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 25: Preliminary Data

## Slide 26: Preliminary Data

## Slide 27: Preliminary Data

## Slide 28: Preliminary Data

## Slide 29: Preliminary Data

## Slide 30: Preliminary Data

## Slide 31: Preliminary Data

## Slide 32: Preliminary Data

## Slide 33: Preliminary Data

## Slide 34: Preliminary Data

## Slide 35: Preliminary Data

## Slide 36: Preliminary Data

## Slide 37: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 38: Performance Predictions
The Palomar 200” telescope would take about 0.075 seconds to reach an SNR=8 resolution element, given the assumptions in the above tables. For 425 scans, each with 200 0.075 sec phase steps, the 200” telescope would require about 1.8 hours to reach a radial velocity precision of 10 cm/sec.

## Slide 39: Outline
Radial Velocity Measurement Overview
Instrument Description
Preliminary Data
Performance Predictions
Conclusion

## Slide 40: Conclusion
Radial velocity precision of 10 cm/sec appears achievable with externally dispersed interferometry.
We are developing instrumentation to demonstrate this.
Low-noise detectors are critical to demonstrating this new instrument.