## Slide 1: Ground Layer AO at ESO’s VLT
Claire Max
Interim Director
UC Observatories
September 14, 2014

## Slide 2: Overview
One VLT telescope devoted to wide fields and GLAO
  Four sodium-layer laser guide stars
  One adaptive secondary mirror feeds all AO systems
Two science instruments:
  MUSE (24 visible-light IFUs)
  HAWK-I (wide field near-IR imager)
Each one has its own GLAO system
  GALACSI AO system feeds MUSE (visible)
  GRAAL AO system feeds HAWK-I (near-IR)
Things to think about

## Slide 4: VLT adaptive secondary: built by MicroGate, cost approx. $14M

## Slide 5: MUSE: 24 visible light IFUs (!)

## Slide 6: AO modules for these GLAO systems: large, sophisticated, complex
GALACSI design
GALACSI on elevation bearing

## Slide 7: MUSE +GALACSI AO: performance predictions

## Slide 8: HAWK-I plus GRAAL AO: GLAO for near-IR wide field imaging
HAWK-I imager
GRAAL GLAO system

## Slide 9: GRAAL + HAWK-I: Performance predictions, K band
Image quality:
No AO ~0.5”
With AO ~0.4”

## Slide 10: GRAAL + HAWK-I: Performance predictions, K band
About 6 arc min field

## Slide 11: ESO built the ASSIST Test Stand to test AO systems with DM in the lab

## Slide 12: Main Points
Extremely ambitious ESO VLT wide field program
  Both with and without GLAO
Re-engineered adaptive secondary mirror (~$14M)
Four sodium-layer LGS
Large and expensive instruments (MUSE, HAWK-I) designed to take advantage of GLAO
  MUSE (visible): 0.2 arc sec/px, HAWK-I (near-IR): 0.1 arc sec/px
  Low internal errors (?)
Each instrument has its own AO module
Predictions:
  MUSE with GLAO: Image quality 0.65” -> 0.46” (30% improved)
  HAWK-I with GLAO: Image quality 0.50” -> 0.40” (20% improved)

## Slide 13: Issues for extragalactic science with VLT GLAO
What are/were the science trade-offs?
Example: can trade field of view against image quality
  Wider field -> larger FWHM
Wider field -> may be able to undertake larger surveys and/or use less telescope time for a given survey
Larger FWHM -> lower SNR for given exposure time (so larger field may or may not speed up survey); less spatial resolution
Trade depends on the science that you want to do
I wasn’t able to find this kind of trade study in preparation for the two VLT GLAO systems + instruments

## Slide 15: GRAAL- GALACSI Comparison
parameter | GRAAL |  | GALACSI | 
Instrument | Hawk-I (IR imager) ESO |  | Muse (VIS 3D-spectrograph) Lyon | 
Mode | Maintenance mode | GLAO | Wide Field Mode | Narrow Field Mode
Field of view | 10” | 7.5’ | 1’ | 7.5”
AO mode | SCAO | GLAO | GLAO | LTAO
Performance | (S.R. ~ 80% in K-band) | x1.7 EE gain | x2 EE gain | S.R. >5% (10% goal) @650nm
Natural Guide Stars | On axis, ~ 8 mag | R-mag 14.5 within 6.7’ to 7.7’ radius | R-mag <17.5 within 52” to 105” radius | On Axis, NIR, Jmag 15 Low Order sensing
Sky coverage | Close to “bright” stars | 95% | >90% | Science target = TT reference
4LGSF config. | NGS only | Ø12’ | Ø2’ | Ø20”
WFS | 1 NGS L3-CCD (40*40 sub app.) | 4 LGS L3-CCD (40*40 sub app.) 1 TT L3-CCD | 4 LGS L3-CCD (40*40 sub app.) 1 TT L3-CCD | 4 LGS L3-CCD (40*40 sub app.) 1 IR Low Order
Loop frequency | HO loop: ≥ 700 Hz | HO loop: ≥ 700 Hz TT loop: 250Hz | HO loop: 1 kHz TT loop: 200Hz | HO loop: 1 kHz LO loop: 200-500Hz