## Slide 1: The LINC-NIRVANA GLAO Subsystem
ARC
15 sep 2014

## Slide 2: A subsystem of a bigger instrument …
~6m
~4m

## Slide 3: The heart of LN GLAO is the GWS …

## Slide 4: The heart of LN GLAO is the GWS …

## Slide 5
Pupils from each star are optically co-added (e.g., 10 17.5 R-mag stars => one 15.0 R-mag star)
The annulus patrolled by the 12 probes has a 6’ outer diameter and a 2.7’ inner diameter

## Slide 6: The right side L-N GWS was realized at LBT recently in the form of LN Pathfinder …

## Slide 7: The right side L-N GWS was realized at LBT recently in the form of LN Pathfinder …

## Slide 8: The right side L-N GWS was realized at LBT recently in the form of LN Pathfinder …

## Slide 9: Future = multiple stars …
Combining the light from multiple stars can provide homogenous field correction and extend the sky coverage of an AO system.
The probability of finding an asterism with integrated brightness < R=15, and within the PF FoV, is high (figure from Ragazzoni et al).
MAD demonstrated that Strehl can be kept within an approx. 10% range (figure from Marchetti et al).

## Slide 10: And we did simulations …
FWHM
Strehl
Simulated PF performance as it varies spatially across the field of view

## Slide 11: And finally … a fun movie:

## Slide 12: The downsides of NGS GLAO (versus LGS)
  Lower sky coverage.
?
?
LBT will have one of each, and will therefore be a good test of the above predictions.
As mentioned at this workshop and elsewhere:
  Lower PSF uniformity.
  More complicated to build and operate.

## Slide 13: Extra Slides