## Design
Nominal Manufactoring Tolerances
Surface | dX [inches] | dY [inches] | dZ [inches] | Alpha [degree] | Beta [degree]
Collimator 1 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Collimator 2 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Collimator 3 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Collimator 4 | 0.0005 | 0.0005 | 0.002 | 0.0057296 | 0.0057296
Collimator 5 | 0.0005 | 0.0005 | 0.002 | 0.011459 | 0.011459
Collimator 6 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Camera 1 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Camera 2 | 0.0005 | 0.0005 | 0.001 | 0.0029 | 0.0029
Camera 3 | 0.0005 | 0.0005 | 0.001 | 0.0029 | 0.0029
Camera 4 | 0.0005 | 0.0005 | 0.002 | 0.011459 | 0.011459
Camera 5 | 0.001 | 0.001 | 0.001 | 0.0057296 | 0.0057296
Camera 6 | 0.002 | 0.002 | 0.002 | 0.011459 | 0.011459
Camera 7 | 0.0005 | 0.0005 | 0.0005 | 0.011459 | 0.011459
Expected Optical Performance Based on Nominal Manufacturing Tolerances
Mode | Field Position [degrees] | d(RMS Spot) 2 Sig [microns] | d(Enc Energy) 2 Sig [microns] | Image Comp [microns] | RMS Spot Dia. [microns] | Enc Energy [microns]
Imaging | (0,0) | 6.34 |  | 85.1 | 15.25
| (0,0.051) | 6.44 |  | 85.1 | 19.81
Y Band | (0,0) | 7.52 |  | 86.19 | 10.08
| (0,0.051) | 4.93 |  | 86.19 | 13.67
J Band | (0,0) | 7.22 |  | 85.66 | 10.63
| (0,0.051) | 5.3 |  | 85.66 | 13.56
H Band | (0,0) | 6.37 |  | 85.96 | 11.62
| (0,0.051) | 5.51 |  | 85.96 | 16.07
K Band | (0,0) | 6.29 |  | 84.72 | 15.35
| (0,0.051) | 8.01 |  | 84.72 | 21.35
Measured Tolerances wrt to Cell Datum Surfaces
Surface | dX_Girdle [inches] | dY_Girdle [inches] | dZ_Vertex [inches] | dX_Sphere [inches] | dY_Sphere [inches] | Alpha* [degree] | Beta* [degree] | S1 Radius [inches] | S2 Radius [inches] | Girdle Dia. [inches]
Collimator 1
Collimator 2 | -0.0005 | -0.0001 | 0.0001 | -0.0007 | 0.0001 | 0.0010158 | -0.0010158 | 11.2809 |  | 5.4708
Collimator 3 | 0.0001 | -0.0001 | -0.0001 | 0 | 0.0004 | 0.0052199 | -0.001044 |  | 5.4882 | 5.3154
Collimator 4 | -0.0003 | -0.0001 | 0.0005 | -0.0002 | -0.0001 | 0 | 0.0015701 | 3.6492 |  | 5.5121
Collimator 5 | -0.0002 | -0.0003 | -0.0003 | 0 | -0.0003 | 0 | 0.002257 | 5.0771 |  | 5.8269
Collimator 6 | 0.0003 | 0.0008 | -0.0001 | 0.0004 | 0.0009 | 0.00060537 | 0.00060537 |  | 9.4645 | 6.5487
Camera 1 | -0.0002 | 0.0003 | -0.0005 | 0.0005 | 0.0005 | 0.00075447 | 0.0026407 | 15.1883 |  | 10.9599
Camera 2 | 0.0002 | -0.0002 | -0.0008 | 0.0006 | 0.0002 | 0.0017961 | 0.0017961 | 12.7602 |  | 10.9092
Camera 3
Camera 4 | -0.0001 | 0.0002 | -0.0004 | 0.0002 | -0.0003 | -0.0033881 | 0.0020329 | 8.4554 |  | 10.0377
Camera 5 | 0.0002 | 0.0001 | -0.0007 | Infinity | Infinity | 0.0036 | -0.0054 |  | Infinity
Camera 6 | 0 | -0.0002 | -0.0002 | 0.0008 | -0.0009 | -0.003996 | 0.0045669 |  | 10.0368 | 4.8806
Camera 7
*Alpha = ASIN([dY_Sphere - dY_Girdle]/[Radius])
Stack Up Tolerances | [6 empty] | *Beta = ASIN([dX_Sphere - dX_Girdle]/[Radius])
Surface | dX [inches] | dY [inches] | dZ [inches] | Alpha [degree] | Beta [degree]
Collimator 1_2
Collimator 2_3
Collimator 3_4
Collimator 4_5
Collimator 5_6
Camera 1_2
Camera 2_3
Camera 3_4
Camera 4_5
Camera 5_6
Camera 6_7

## Col 2
All linear units are in inches and angular are in degrees
Each cell radial micrometer hole was labeled with 1,2, or 3. Hole 1 into the cell defines the +Y axis. +Z is outward from Surface 1 of Col #2. Hole 2 is 120 degrees CCW from Hole 1. Hole 3 is 240 degrees CCW from Hole 1.
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S1 Radius | Girdle Dia.
1 | Plane 1 | -0.0096 |  | 0 | 0.0006 | 1 | 11.2814 | 5.4709
|  | -0.0138 |  | 90 |  | 2 | 11.2808 | 5.4708
|  | 0 |  | 0 |  | 3 | 11.2798 | 5.4709
2 | Point 2 | -0.0096 |  |  | 0 | 4 | 11.2808 | 5.4709
|  | -0.0138 |  |  |  | 5 | 11.282 | 5.4708
|  | 0 |  |  |  | 6 | 11.2808 | 5.4707
3 | Circle 3 | 0 | 8.2494 |  | 0.0002 | 7 | 11.2821 | 5.4709
|  | 0 | 4.1247 |  |  | 8 | 11.2812 | 5.4708
|  | 0 |  |  |  | 9 | 11.2802 | 5.4708
4 | Circle 4 | -2.2327 | 0.375 |  | 0.0001 | 10 | 11.2812 | 5.4709
|  | 8.3326 | 0.1875 |  |  | 11 | 11.2799 | 5.4708
|  | -0.0015 |  |  |  | 12 | 11.2799 | 5.4708
5 | Line 5 | -1.1164 |  | 105 | 0 | 13 | 11.2815 | 5.4706
|  | 4.1663 |  | 359.99
|  | -0.0007 |  | 269.9627 |  | Average | 11.2809 | 5.4708
6 | DATUM A | -0.0096 |  | 0 | 0 | Stdev | 0.00077294 | 8.9872e-05
|  | -0.0138 |  | 90 |  | Min | 11.2798 | 5.4706
|  | 0 |  | 0 |  | Max | 11.2821 | 5.4709
7 | DATUM C | -1.1164 |  | 105 | 0 | Range | 0.0023 | 0.0003
|  | 4.1663 |  | 359.99
|  | -0.0007 |  | 269.9627
8 | DATUM B | 0 |  |  | 0
0
0
9 | MECH AXIS | 0 |  | 0 | 0
|  | 0 |  | 90
|  | 0 |  | 0
19 | FIXTURE DC | 0.0003 | 5.37 |  | 0.0014
|  | 0.0008 | 2.685
0
20 | FIXTURE TT | 0.0439 |  | 50.7302 | 0.0003
|  | 0.0122 |  | 89.9977
|  | -1.7772 |  | 0.0019
21 | CELL DC | 0.0004 | 7.7493 |  | 0.0006
|  | 0.0001 | 3.8747
0
22 | CELL TT | -0.0145 |  | 310.0039 | 0.0004
|  | 0.0031 |  | 90.0032
|  | 1.0005 |  | 0.0027
27 | DUMMY Z | 0 |  |  | 0
0
0.5681
28 | DUMMY DC | -0.0001 | 5.484 |  | 0.0001
|  | 0.0002 | 2.742
0
32 | DUMMY TT | -0.0017 |  | 347.442 | 0.0001
|  | -0.0066 |  | 90.0008
|  | 0.643 |  | 0.0034
36 | RE DATUM A | 0.0149 |  | 346.7751 | 0.0006
|  | -0.0607 |  | 90.0004
|  | -0.0001 |  | 0.0019
37 | RE DATUM B | 0 | 8.2495 |  | 0.0003
|  | 0.0001 | 4.1247
0
38 | RE CELL DC | 0.0004 | 7.7494 |  | 0.0006
|  | 0.0003 | 3.8747
0
39 | RE CELL TT | 0.0049 |  | 319.5245 | 0.0004
|  | 0.0326 |  | 90.0018
|  | 1.0006 |  | 0.0021
44 | LENS DC 1 | 0 | 5.4709 |  | 0.0002
|  | 0.0001 | 2.7354
0
45 | LENS Z 1 | 0 |  |  | 0
0
0.5661
46 | LENS DC 2 | -0.0001 | 5.4708 |  | 0.0001
|  | -0.0001 | 2.7354
0
56 | LENS Z 2 | 0 |  |  | 0
0
0.5681
57 | LENS DC 3 | -0.0002 | 5.4709 |  | 0.0002
|  | -0.0001 | 2.7354
0
58 | LENS SPHERE 1 | -0.0029 | 22.5627 |  | 0.0001
|  | -0.0002 | 11.2814
11.8494
59 | LENS SPHERE 2 | 0.0032 | 22.5616 |  | 0.0001
|  | -0.0004 | 11.2808
11.8489
60 | LENS SPHERE 3 | -0.0015 | 22.5597 |  | 0.0001
|  | -0.0001 | 11.2798
11.8479
61 | LENS SPHERE 4 | -0.0003 | 22.5616 |  | 0.0001
|  | 0 | 11.2808
11.8489
62 | LENS DC 4 | -0.0002 | 5.4709 |  | 0
|  | -0.0002 | 2.7355
0
63 | LENS Z 3 | 0 |  |  | 0
0
0.5682
64 | LENS DC 1_3 | -0.0002 | 5.4708 |  | 0.0001
|  | -0.0002 | 2.7354
0
65 | LENS DC 2_3 | -0.0003 | 5.4707 |  | 0.0002
|  | -0.0002 | 2.7354
0
66 | LENS DC 3_3 | -0.0002 | 5.4709 |  | 0.0002
|  | 0 | 2.7354
0
67 | LENS Z 1_3 | 0 |  |  | 0
0
0.5681
68 | LENS Z 2_3 | 0 |  |  | 0
0
0.5682
70 | LENS Z 3_3 | 0 |  |  | 0
0
0.5681
71 | LENS SPHERE 1_3 | -0.0001 | 22.5639 |  | 0.0001
|  | -0.0001 | 11.282
11.8501
72 | LENS SPHERE 2_3 | -0.0001 | 22.5616 |  | 0.0001
|  | 0 | 11.2808
11.8489
73 | LENS SPHERE 3_3 | 0 | 22.5643 |  | 0
|  | 0 | 11.2821
11.8503
74 | Sphere 74 | -0.0005 | 22.5625 |  | 0.0001
|  | 0.0002 | 11.2812
11.8494
75 | Circle 75 | -0.0003 | 5.4708 |  | 0.0001
|  | 0 | 2.7354
0
76 | Sphere 76 | -0.0009 | 22.5604 |  | 0.0001
|  | 0 | 11.2802
11.8484
77 | Circle 77 | -0.0005 | 5.4708 |  | 0.0002
|  | 0.0002 | 2.7354
0
78 | Sphere 78 | -0.0007 | 22.5624 |  | 0.0001
|  | 0.0001 | 11.2812
11.8494
79 | Circle 79 | -0.0004 | 5.4709 |  | 0.0004
|  | 0.0001 | 2.7355
0
80 | LENS DC POST BOND | -0.0004 | 5.4708 |  | 0.0004
|  | 0.0001 | 2.7354
0
81 | LENS Z POST BOND | 0 |  |  | 0
0
0.5682
82 | LENS SPHERE POST BOND | -0.0007 | 22.5597 |  | 0.0001
|  | 0.0002 | 11.2799
11.8481
83 | LENS DC AFTER 5 DAY CURE | -0.0004 | 5.4708 |  | 0.0003
|  | -0.0001 | 2.7354
0
87 | LENS Z AFTER 5 DAY CURE | 0 |  |  | 0
0
0.5682
88 | LENS SPHERE AFTER 5 DAY CURE | -0.0009 | 22.5598 |  | 0.0001
|  | 0.0001 | 11.2799
11.848
89 | LENS DC FINAL | -0.0005 | 5.4706 |  | 0.0001
|  | -0.0001 | 2.7353
0
90 | LENS Z FINAL | 0 |  |  | 0
0
0.5681
91 | LENS SPHERE FINAL | -0.0007 | 22.563 |  | 0.0001
|  | 0.0001 | 11.2815
11.8495

## Col 3
All linear units are in inches and angular are in degrees
Each cell radial micrometer hole was labeled with 1,2, or 3. Hole 1 into the cell defines the +Y axis. +Z is outward from Surface 1 of Col #2. Hole 2 is 120 degrees CCW from Hole 1. Hole 3 is 240 degrees CCW from Hole 1.
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S2 Radius | Girdle Dia.
1 | Plane 1 | -0.0596 |  | 0 | 0.0004 | 1 | 5.4884 | 5.3152
|  | 0.0189 |  | 90 |  | 2 | 5.4884 | 5.3155
|  | 0 |  | 0 |  | 3 | 5.4883 | 5.3152
2 | Point 2 | -0.0596 |  |  | 0 | 4 | 5.4882 | 5.3155
|  | 0.0189 |  |  |  | 5 | 5.4883 | 5.3156
|  | 0 |  |  |  | 6 | 5.4882 | 5.3154
3 | Circle 3 | 0 | 8.6239 |  | 0.0002 | 7 | 5.4879 | 5.3156
|  | 0 | 4.3119 |  |  | 8 | 5.4877 | 5.3155
|  | 0 |  |  |  | 9 | 5.4882 | 5.3156
4 | Circle 4 | -2.2324 | 0.373 |  | 0.0003 | 10 | 5.4883 | 5.3156
|  | 8.3314 | 0.1865 |  |  | 11 | 5.4884 | 5.3155
|  | 0.0006 |  |  |  | 12 | 5.4884 | 5.3153
5 | Line 5 | -1.1162 |  | 285 | 0 | 13 |  | 5.3153
|  | 4.1657 |  | 180.0041 |  | 14 |  | 5.3154
|  | 0.0003 |  | 90.0153 |  | 15 |  | 5.3153
6 | DATUM A | -0.0596 |  | 0 | 0 | 16 |  | 5.3155
|  | 0.0189 |  | 90 |  | 17 |  | 5.3154
|  | 0 |  | 0 |  | 18 |  | 5.3153
7 | DATUM C | -1.1162 |  | 285 | 0
|  | 4.1657 |  | 180.0041 |  | Average | 5.4882 | 5.3154
|  | 0.0003 |  | 90.0153 |  | Stdev | 0.00021794 | 0.00013636
8 | DATUM B | 0 |  |  | 0 | Min | 5.4877 | 5.3152
|  | 0 |  |  |  | Max | 5.4884 | 5.3156
|  | 0 |  |  |  | Range | 0.0007 | 0.0004
9 | MECH AXIS | 0 |  | 0 | 0
|  | 0 |  | 90
|  | 0 |  | 0
16 | FIXTURE Z | 0 |  |  | 0
0.0001
-0.2096
17 | FIXTURE DC | 0.0001 | 5.1163 |  | 0.0005
|  | 0.0001 | 2.5581
0
21 | FIXTURE TT | -0.0049 |  | 196.842 | 0
|  | -0.0349 |  | 90.0023
|  | -1.7405 |  | 359.9924
23 | LENS DC 1 | -0.0003 | 5.3152 |  | 0.0002
|  | -0.0002 | 2.6576
0
32 | LENS DC 2 | -0.0005 | 5.3155 |  | 0.0002
|  | 0.0001 | 2.6577
0
48 | LENS Z | 0 |  |  | 0
0
-0.2097
49 | LENS DC 3 | -0.0003 | 5.3152 |  | 0
|  | -0.0001 | 2.6576
0
50 | LENS TT 1 | 0.0074 |  | 301.2193 | 0.0001
|  | -0.1092 |  | 90.0054
|  | 0.3975 |  | 0.0033
51 | LENS SPHERE 1 | -0.0005 | 10.9768 |  | 0.0001
|  | -0.0003 | 5.4884
5.2787
52 | LENS DC 1_4 | -0.0006 | 5.3155 |  | 0.0003
|  | 0.0002 | 2.6578
0
53 | LENS DC 2_4 | -0.0004 | 5.3156 |  | 0.0001
|  | -0.0002 | 2.6578
0
54 | LENS DC 3_4 | -0.0004 | 5.3154 |  | 0.0001
|  | 0.0001 | 2.6577
0
55 | LENS DC 4_4 | -0.0005 | 5.3156 |  | 0.0001
|  | 0 | 2.6578
0
56 | LENS Z 1_3 | 0 |  |  | 0
0.0001
-0.2097
57 | LENS Z 2_3 | 0 |  |  | 0
0
-0.2097
58 | LENS Z 3_3 | 0 |  |  | 0
0
-0.2097
59 | LENS SPHERE 1_3 | -0.0005 | 10.9768 |  | 0.0001
|  | -0.0004 | 5.4884
5.2788
60 | LENS SPHERE 2_3 | -0.0005 | 10.9766 |  | 0.0001
|  | -0.0003 | 5.4883
5.2787
61 | LENS SPHERE 3_3 | -0.0004 | 10.9763 |  | 0.0001
|  | -0.0003 | 5.4882
5.2785
62 | LENS TT 2 | -0.0043 |  | 293.8407 | 0
|  | -0.1499 |  | 90.0068
|  | 0.3976 |  | 0.003
63 | Plane 63 | 0.0128 |  | 292.527 | 0
|  | -0.1474 |  | 90.014
|  | 0.3976 |  | 0.0058
64 | Circle 64 | -0.0005 | 5.3155 |  | 0.0001
|  | 0.0002 | 2.6577
0
65 | Sphere 65 | -0.0003 | 10.9765 |  | 0.0001
|  | -0.0008 | 5.4883
5.2786
67 | Circle 67 | -0.0005 | 5.3156 |  | 0
|  | 0.0002 | 2.6578
0
68 | Sphere 68 | -0.0003 | 10.9764 |  | 0.0001
|  | -0.0007 | 5.4882
5.2786
69 | Plane 69 | -0.0077 |  | 290.4722 | 0
|  | -0.2239 |  | 90.0175
|  | 0.3976 |  | 0.0065
70 | Circle 70 | -0.0004 | 5.3156 |  | 0
|  | 0.0003 | 2.6578
0
71 | Sphere 71 | -0.0003 | 10.9758 |  | 0.0001
|  | -0.001 | 5.4879
5.2783
72 | Plane 72 | 0.0078 |  | 289.3489 | 0
|  | -0.1963 |  | 90.0184
|  | 0.3976 |  | 0.0065
73 | Circle 73 | -0.0005 | 5.3155 |  | 0.0002
|  | 0.0004 | 2.6578
0
74 | Sphere 74 | -0.0003 | 10.9754 |  | 0.0001
|  | -0.0012 | 5.4877
5.2781
75 | Circle 75 | -0.0005 | 5.3153 |  | 0.0004
|  | 0.0003 | 2.6577
0
76 | Circle 76 | -0.0004 | 5.3153 |  | 0.0003
|  | 0.0003 | 2.6577
0
77 | LENS DC 4 | -0.0003 | 5.3154 |  | 0.0001
|  | 0.0001 | 2.6577
0
78 | LENS Z 2 | 0 |  |  | 0
0
-0.2096
79 | Plane 79 | -0.0074 |  | 303.3372 | 0
|  | -0.2261 |  | 90.0377
|  | 0.3975 |  | 0.0248
80 | Plane 80 | 0.0139 |  | 293.8415 | 0
|  | -0.2226 |  | 90.0575
|  | 0.3974 |  | 0.0254
81 | Plane 81 | 0.0097 |  | 319.5863 | 0.0001
|  | -0.2437 |  | 90.0228
|  | 0.3975 |  | 0.0268
82 | Plane 82 | 0.0034 |  | 348.6129 | 0
|  | -0.2303 |  | 90.0058
|  | 0.3976 |  | 0.0288
83 | Plane 83 | 0.0043 |  | 6.0333 | 0
|  | -0.223 |  | 89.997
|  | 0.3976 |  | 0.0287
84 | Plane 84 | -0.0043 |  | 4.3782 | 0
|  | -0.2512 |  | 89.9971
|  | 0.3976 |  | 0.0376
85 | Plane 85 | 0.0024 |  | 5.37 | 0
|  | -0.254 |  | 89.9976
|  | 0.3976 |  | 0.0254
86 | Plane 86 | 0.0116 |  | 12.8379 | 0
|  | -0.2872 |  | 89.9975
|  | 0.3977 |  | 0.0108
87 | Plane 87 | 0.003 |  | 20.8249 | 0
|  | -0.2802 |  | 89.997
|  | 0.3976 |  | 0.0078
88 | Plane 88 | 0 |  | 22.6912 | 0
|  | -0.2398 |  | 89.9977
|  | 0.3976 |  | 0.0054
89 | Plane 89 | 0.0025 |  | 35.1634 | 0
|  | -0.2464 |  | 89.9976
|  | 0.3977 |  | 0.0034
90 | LENS TT 3 | 0.0101 |  | 49.11 | 0
|  | -0.1891 |  | 89.9978
|  | 0.3977 |  | 0.0019
91 | LENS DC 5 | 0 | 5.3153 |  | 0.0001
|  | 0.0001 | 2.6577
0
92 | LENS Z 3 | 0 |  |  | 0
0
-0.2097
93 | LENS SPHERE 2 | -0.0003 | 10.9764 |  | 0.0001
|  | 0.0003 | 5.4882
5.2786
94 | Plane 94 | 0.0078 |  | 75.8285 | 0
|  | 0.0097 |  | 89.9963
|  | 0.3976 |  | 0.0009
95 | Plane 95 | -0.0023 |  | 88.0117 | 0
|  | 0.0105 |  | 89.9963
|  | 0.3976 |  | 0.0001
96 | Plane 96 | 0.0061 |  | 63.5865 | 0
|  | 0.0194 |  | 89.9964
|  | 0.3976 |  | 0.0018
97 | LENS TT POST BOND | 0.012 |  | 59.7733 | 0
|  | -0.0154 |  | 89.9963
|  | 0.3976 |  | 0.0021
98 | LENS DC POST BOND | 0.0001 | 5.3155 |  | 0
|  | 0.0001 | 2.6577
0
99 | LENS Z POST BOND | 0 |  |  | 0
0
-0.2097
100 | LENS SPHERE POST BOND | -0.0002 | 10.9765 |  | 0.0001
|  | 0.0003 | 5.4883
5.2787
101 | Circle 101 | 0.0001 | 5.3154 |  | 0.0005
|  | -0.0003 | 2.6577
0
102 | Point 102 | 0 |  |  | 0
0
-0.2097
103 | Sphere 103 | 0 | 10.9767 |  | 0.0001
|  | 0.0004 | 5.4884
5.2787
104 | LENS DC FINAL | 0.0001 | 5.3153 |  | 0.0003
|  | -0.0001 | 2.6576
0
108 | LENS Z FINAL | 0 |  |  | 0
0
-0.2097
109 | LENS SPHERE FINAL | 0 | 10.9769 |  | 0.0001
|  | 0.0004 | 5.4884
5.2788

## Col 4
All linear units are in inches and angular are in degrees
Each cell radial micrometer hole was labeled with 1,2, or 3. Hole 1 into the cell defines the +Y axis. +Z is outward from Surface 1 of Col #4. Hole 2 is 120 degrees CCW from Hole 1. Hole 3 is 240 degrees CCW from Hole 1.
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S1 Radius | Girdle Dia.
1 | Plane 1 | 0.0047 |  | 0 | 0.0005 | 1 | 3.6491 | 5.5123
|  | -0.0376 |  | 90 |  | 2 | 3.6491 | 5.512
|  | 0 |  | 0 |  | 3 | 3.6491 | 5.512
2 | Point 2 | 0.0047 |  |  | 0 | 4 | 3.6491 | 5.5121
|  | -0.0376 |  |  |  | 5 | 3.6493 | 5.5124
|  | 0 |  |  |  | 6 | 3.6491 | 5.5122
3 | Circle 3 | 0 | 8.2492 |  | 0.0002 | 7 | 3.6491 | 5.5123
|  | 0 | 4.1246 |  |  | 8 | 3.6493 | 5.512
|  | 0 |  |  |  | 9 |  | 5.5122
4 | Circle 4 | -2.2326 | 0.3744 |  | 0.0002 | 10 |  | 5.5123
|  | 8.3321 | 0.1872 |  |  | 11 |  | 5.5121
|  | -0.0007 |  |  |  | 12 |  | 5.5119
5 | Line 5 | -1.1163 |  | 105 | 0 | 13 |  | 5.5118
|  | 4.166 |  | 359.9951 |  | 14 |  | 5.5122
|  | -0.0004 |  | 269.9819 |  | 15 |  | 5.5122
6 | DATUM A | 0.0047 |  | 0 | 0 | 16 |  | 5.5119
|  | -0.0376 |  | 90 |  | 17
|  | 0 |  | 0 |  | 18
7 | DATUM C | -1.1163 |  | 105 | 0
|  | 4.166 |  | 359.9951 |  | Average | 3.6492 | 5.5121
|  | -0.0004 |  | 269.9819 |  | Stdev | 9.2582e-05 | 0.00017212
8 | DATUM B | 0 |  |  | 0 | Min | 3.6491 | 5.5118
|  | 0 |  |  |  | Max | 3.6493 | 5.5124
|  | 0 |  |  |  | Range | 0.0002 | 0.0006
9 | MECH AXIS | 0 |  | 0 | 0
|  | 0 |  | 90
|  | 0 |  | 0
22 | FIXTURE DC | -0.0009 | 5.1999 |  | 0.0015
|  | 0 | 2.6
0
23 | FIXTURE TT | 0.0311 |  | 357.2603 | 0.0005
|  | 0.0477 |  | 90.0002
|  | -1.7766 |  | 0.0052
24 | CELL TT | 0.0756 |  | 131.515 | 0.0005
|  | -0.1289 |  | 89.9994
|  | 0.6548 |  | 359.9995
25 | CELL DC | -0.0003 | 8.2486 |  | 0.0002
|  | 0.0003 | 4.1243
0
26 | GIRDLE 1 | -0.0008 | 5.5123 |  | 0.0006
|  | 0.0004 | 2.7562
0
27 | GIRDLE 2 | 0.0014 | 5.512 |  | 0.0002
|  | 0.0005 | 2.756
0
28 | GIRDLE 3 | -0.0011 | 5.512 |  | 0.0008
|  | 0.0002 | 2.756
0
29 | GIRDLE 4 | -0.001 | 5.5121 |  | 0.0006
|  | 0 | 2.7561
0
30 | GIRDLE 5 | -0.0008 | 5.5124 |  | 0.0001
|  | -0.0001 | 2.7562
0
31 | GIRDLE 6 | -0.0007 | 5.5122 |  | 0.0002
|  | -0.0004 | 2.7561
0
32 | GIRDLE 7 | -0.0004 | 5.5123 |  | 0.0001
|  | -0.0005 | 2.7562
0
33 | Z 1 | 0 |  |  | 0
0
-0.3905
34 | Z 2 | 0 |  |  | 0
0
-0.3449
35 | GIRDLE 8 | -0.0012 | 5.512 |  | 0.0002
|  | -0.0007 | 2.756
0
36 | GIRDLE 9 | -0.0002 | 5.5122 |  | 0.0001
|  | -0.0009 | 2.7561
0
37 | GIRDLE 10 | -0.0003 | 5.5123 |  | 0.0002
|  | -0.0003 | 2.7561
0
39 | Z 3 | 0 |  |  | 0
0
-0.3447
40 | TT 1 | -0.016 |  | 85.2951 | 0
|  | 0.0191 |  | 89.956
|  | 0.6547 |  | 0.0036
41 | SPHERE 1 | 0.0002 | 7.2983 |  | 0.0001
|  | 0.0017 | 3.6491
3.3044
42 | TT 2 | -0.0198 |  | 84.5049 | 0
|  | -0.0121 |  | 89.9709
|  | 0.6547 |  | 0.0028
43 | TT 3 | -0.0148 |  | 94.1639 | 0
|  | -0.0073 |  | 89.9747
|  | 0.6547 |  | 359.9982
44 | TT 4 | -0.0072 |  | 115.8045 | 0
|  | 0.0193 |  | 89.987
|  | 0.6547 |  | 359.9937
45 | TT 6 | 0.0093 |  | 140.9047 | 0
|  | 0.0293 |  | 89.9964
|  | 0.6547 |  | 359.9956
46 | SPHERE 2 | -0.0001 | 7.2983 |  | 0.0001
|  | -0.0005 | 3.6491
3.3044
47 | GIRDLE 11 | -0.0003 | 5.512 |  | 0.0001
|  | -0.0002 | 2.756
0
49 | Z 4 | 0 |  |  | 0
0
-0.3447
50 | GIRDLE 1_3 | -0.0001 | 5.5121 |  | 0.0003
|  | -0.0003 | 2.756
0
51 | GIRDLE 2_3 | 0.0001 | 5.5119 |  | 0.0006
|  | -0.0003 | 2.7559
0
52 | GIRDLE 3_3 | 0 | 5.5118 |  | 0.0006
|  | -0.0004 | 2.7559
0
53 | Z 1_3 | 0 |  |  | 0
0
-0.3447
55 | Z 2_3 | 0 |  |  | 0
0
-0.3447
56 | Z 3_3 | 0 |  |  | 0
0
-0.3447
57 | SPHERE 1_3 | -0.0002 | 7.2982 |  | 0.0001
|  | -0.0005 | 3.6491
3.3044
58 | SPHERE 2_3 | -0.0002 | 7.2982 |  | 0.0001
|  | -0.0004 | 3.6491
3.3044
59 | SPHERE 3_3 | -0.0002 | 7.2986 |  | 0.0001
|  | -0.0005 | 3.6493
3.3046
60 | TT PRE_BOND | 0.0232 |  | 159.0354 | 0
|  | 0.0158 |  | 89.9982
|  | 0.6547 |  | 359.9952
61 | Plane 61 | -0.0056 |  | 205.2343 | 0
|  | -0.0024 |  | 90.0018
|  | 0.6547 |  | 359.9961
62 | Plane 62 | -0.004 |  | 165.0532 | 0
|  | -0.0187 |  | 89.9989
|  | 0.6547 |  | 359.9958
63 | Plane 63 | 0.0057 |  | 157.6358 | 0
|  | 0.0014 |  | 89.9981
|  | 0.6547 |  | 359.9954
64 | GIRDLE POST_BOND | -0.0003 | 5.5122 |  | 0.0002
|  | -0.0002 | 2.7561
0
65 | Z POST_BOND | 0 |  |  | 0
0
-0.3447
66 | SPHERE POST_BOND | -0.0001 | 7.2981 |  | 0.0001
|  | -0.0004 | 3.6491
3.3044
67 | GIRDLE 4_DAY_CURE | -0.0004 | 5.5122 |  | 0.0005
|  | -0.0001 | 2.7561
0
68 | Z 4_DAY_CURE | 0 |  |  | 0
0
-0.3445
70 | SPHERE 4_DAY_CURE | -0.0003 | 7.2983 |  | 0.0001
|  | -0.0001 | 3.6491
3.3047
71 | GIRDLE FINAL | -0.0003 | 5.5119 |  | 0.0006
|  | -0.0001 | 2.756
0
72 | Z FINAL | 0 |  |  | 0
0
-0.3445
73 | SPHERE FINAL | -0.0002 | 7.2986 |  | 0.0001
|  | -0.0001 | 3.6493
3.3049
74 | GIRDLE SURFACE_2 | 0.0176 | 5.5121 |  | 0.0004
|  | 0.0461 | 2.7561
0
75 | SPHERE SURFACE_2 | 0.0176 | 10.2475 |  | 0.0001
|  | 0.0467 | 5.1237
-3.8061

## Col 5
All linear units are in inches and angular are in degrees
Each cell radial micrometer hole was labeled with 1,2, or 3. Hole 1 into the cell defines the +Y axis. +Z is outward from Surface 1 of Col #5. Hole 2 is 120 degrees CCW from Hole 1. Hole 3 is 240 degrees CCW from Hole 1.
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S1 Radius | Girdle Dia.
1 | Plane 1 | 0.0104 |  | 0 | 0.0007 | 1 | 5.0772 | 5.8267
|  | -0.0196 |  | 90 |  | 2 | 5.0773 | 5.8269
|  | 0 |  | 0 |  | 3 | 5.077 | 5.827
2 | Point 2 | 0.0104 |  |  | 0 | 4 | 5.0769 | 5.8268
|  | -0.0196 |  |  |  | 5 | 5.077 | 5.8267
|  | 0 |  |  |  | 6 | 5.077 | 5.8269
3 | Circle 3 | 0 | 8.2493 |  | 0.0002 | 7 | 5.0767 | 5.827
|  | 0 | 4.1247 |  |  | 8 | 5.0773 | 5.8269
|  | 0 |  |  |  | 9 | 5.0773 | 5.8269
4 | Circle 4 | -2.2324 | 0.3751 |  | 0.0002 | 10 | 5.0775 | 5.827
|  | 8.3315 | 0.1876 |  |  | 11 | 5.0772 | 5.827
|  | -0.0017 |  |  |  | 12 | 5.0772 | 5.8269
5 | Line 5 | -1.1162 |  | 105 | 0 | 13 | 5.0772 | 5.8271
|  | 4.1658 |  | 359.9886 |  | 14 | 5.0773 | 5.827
|  | -0.0008 |  | 269.9574 |  | 15 | 5.077 | 5.8268
6 | DATUM A | 0.0104 |  | 0 | 0 | 16 | 5.0772
|  | -0.0196 |  | 90 |  | 17 | 5.0769
|  | 0 |  | 0 |  | 18 | 5.0771
7 | DATUM C | -1.1162 |  | 105 | 0 | 19 | 5.0774
|  | 4.1658 |  | 359.9886 |  | 20 | 5.0771
|  | -0.0008 |  | 269.9574 |  | 21 | 5.0769
8 | DATUM B | 0 |  |  | 0 | 22 | 5.0773
0
|  | 0 |  |  |  | Average | 5.0771 | 5.8269
9 | MECH AXIS | 0 |  | 0 | 0 | Stdev | 0.00019407 | 0.00011629
|  | 0 |  | 90 |  | Min | 5.0767 | 5.8267
|  | 0 |  | 0 |  | Max | 5.0775 | 5.8271
23 | FIXTURE DC | -0.0003 | 5.7409 |  | 0.0034 | Range | 0.0008 | 0.0004
|  | -0.0004 | 2.8705
0
24 | FIXTURE TT | 0.0097 |  | 313.2257 | 0.0001
|  | 0.0455 |  | 90.003
|  | -1.6486 |  | 0.0028
25 | CELL TT | 0.0489 |  | 268.4767 | 0.0007
|  | -0.0076 |  | 90.0059
|  | 0.8255 |  | 359.9998
26 | CELL DC | -0.0001 | 8.2487 |  | 0.0003
|  | -0.0002 | 4.1244
0
40 | DUMMY Z | 0 |  |  | 0
0
-0.1523
41 | DUMMY DC 1 | 0 | 5.8275 |  | 0.0002
|  | 0.0001 | 2.9138
0
49 | DUMMY SPHERE | -0.0005 | 10.1641 |  | 0.0002
|  | 0.0006 | 5.082
4.9294
50 | DUMMY DC 2 | -0.0002 | 5.8275 |  | 0.0001
|  | 0.0004 | 2.9138
0
51 | DUMMY Z 2 | 0 |  |  | 0
0
-0.1522
52 | RE DATUM A | 0.0031 |  | 132.4989 | 0.0006
|  | -0.0872 |  | 89.9982
|  | 0 |  | 359.9984
53 | RE DATUM B | 0 | 8.2493 |  | 0.0002
|  | 0 | 4.1246
0
54 | RE CELL DC | -0.0001 | 8.2489 |  | 0.0003
|  | -0.0001 | 4.1244
0
55 | RE CELL TT | -0.0694 |  | 278.7761 | 0.0007
|  | -0.001 |  | 90.0068
|  | 0.8256 |  | 0.001
58 | LENS GIRDLE 1 | 0.0003 | 5.8267 |  | 0.0004
|  | 0 | 2.9134
0
60 | LENS Z 1 | 0 |  |  | 0
0
-0.1522
61 | LENS GIRDLE 2 | 0.0003 | 5.8269 |  | 0.0003
|  | 0 | 2.9134
0
62 | LENS SPHERE 1 | 0.0055 | 10.1544 |  | 0.0001
|  | -0.0031 | 5.0772
4.925
64 | LENS SPHERE 2 | -0.0026 | 10.1546 |  | 0.0002
|  | -0.004 | 5.0773
4.9252
65 | LENS SPHERE 3 | -0.0009 | 10.1541 |  | 0.0001
|  | -0.0038 | 5.077
4.9249
66 | LENS SPHERE 4 | -0.0007 | 10.1538 |  | 0.0001
|  | -0.0018 | 5.0769
4.9249
67 | LENS SPHERE 5 | -0.0005 | 10.154 |  | 0.0001
|  | -0.0009 | 5.077
4.9249
68 | LENS SPHERE 6 | -0.0002 | 10.1541 |  | 0.0001
|  | -0.0004 | 5.077
4.925
69 | LENS GIRDLE 3 | 0.0006 | 5.827 |  | 0.0003
|  | -0.0002 | 2.9135
0
70 | LENS GIRDLE 4 | 0.0007 | 5.8268 |  | 0.0006
|  | -0.0003 | 2.9134
0
71 | LENS GIRDLE 5 | 0.0005 | 5.8267 |  | 0.0005
|  | -0.0002 | 2.9134
0
72 | LENS GIRDLE 6 | 0.0001 | 5.8269 |  | 0.0002
|  | -0.0002 | 2.9135
0
73 | LENS SPHERE 7 | 0.0006 | 10.1534 |  | 0.0001
|  | -0.0018 | 5.0767
4.9246
74 | LENS SPHERE 8 | 0.0007 | 10.1547 |  | 0.0001
|  | -0.0007 | 5.0773
4.9253
75 | LENS SPHERE 9 | 0.0012 | 10.1547 |  | 0.0001
|  | -0.0009 | 5.0773
4.9253
76 | LENS SPHERE 10 | 0.0013 | 10.155 |  | 0.0001
|  | -0.0005 | 5.0775
4.9255
77 | LENS GIRDLE 7 | 0 | 5.827 |  | 0.0002
|  | -0.0002 | 2.9135
0
78 | LENS SPHERE 11 | 0.0006 | 10.1545 |  | 0.0001
|  | -0.0006 | 5.0772
4.9252
79 | LENS SPHERE 12 | 0.0001 | 10.1544 |  | 0.0001
|  | -0.0006 | 5.0772
4.9252
80 | LENS SPHERE 13 | 0.0002 | 10.1543 |  | 0.0001
|  | -0.0004 | 5.0772
4.9252
81 | LENS GIRDLE 8 | 0 | 5.8269 |  | 0.0002
|  | -0.0002 | 2.9135
0
82 | LENS Z 2 | 0 |  |  | 0
0
-0.152
83 | LENS Z 1_3 | 0 |  |  | 0
0
-0.152
84 | LENS Z 2_3 | 0 |  |  | 0
0
-0.152
87 | LENS Z 3_3 | 0 |  |  | 0
0
-0.152
88 | LENS GIRDLE 1_3 | 0.0001 | 5.8269 |  | 0.0003
|  | -0.0003 | 2.9135
0
89 | LENS GIRDLE 2_3 | 0.0002 | 5.827 |  | 0.0002
|  | -0.0003 | 2.9135
0
90 | LENS GIRDLE 3_3 | 0.0001 | 5.827 |  | 0.0001
|  | -0.0002 | 2.9135
0
94 | LENS SPHERE 1_3 | -0.0002 | 10.1546 |  | 0.0001
|  | 0.0001 | 5.0773
4.9253
95 | LENS SPHERE 2_3 | -0.0003 | 10.1541 |  | 0.0001
|  | 0.0001 | 5.077
4.925
96 | LENS SPHERE 3_3 | -0.0003 | 10.1544 |  | 0.0001
|  | 0 | 5.0772
4.9253
97 | LENS GIRDLE 9 | 0.0001 | 5.8269 |  | 0.0002
|  | -0.0003 | 2.9134
0
99 | LENS Z 3 | 0 |  |  | 0
-0.0001
-0.152
100 | Sphere 100 | 0.0001 | 10.1539 |  | 0.0001
|  | -0.0002 | 5.0769
4.925
101 | Sphere 101 | 0 | 10.1541 |  | 0.0001
|  | -0.0001 | 5.0771
4.9252
102 | Sphere 102 | 0 | 10.1548 |  | 0.0001
|  | -0.0001 | 5.0774
4.9255
103 | LENS SPHERE POST_BOND | 0 | 10.1543 |  | 0.0001
|  | -0.0002 | 5.0771
4.9252
104 | LENS GIRDLE POST_BOND | -0.0002 | 5.8271 |  | 0
|  | -0.0001 | 2.9136
0
105 | LENS Z POST_BOND | 0 |  |  | 0
0
-0.1519
107 | LENS GIRDLE AFTER 5 DAY CURE | -0.0002 | 5.827 |  | 0
|  | -0.0003 | 2.9135
0
109 | LENS Z AFGTER 5 DAY CURE | 0 |  |  | 0
0
-0.1523
110 | LENS SPHERE AFTER 5 DAY CURE | -0.0001 | 10.1539 |  | 0.0001
|  | -0.0003 | 5.0769
4.9247
111 | LENS GIRDLE FINAL | -0.0002 | 5.8268 |  | 0.0003
|  | -0.0003 | 2.9134
0
112 | LENS Z FINAL 1_3 | 0 |  |  | 0
0
-0.1525
113 | LENS Z FINAL 2_3 | 0 |  |  | 0
0
-0.1525
114 | LENS Z FINAL 3_3 | 0 |  |  | 0
0
-0.1525
115 | LENS SPHERE FINAL | 0 | 10.1546 |  | 0.0001
|  | -0.0003 | 5.0773
4.9249

## Col 6
All linear units are in inches and angular are in degrees
Each cell radial micrometer hole was labeled with 1,2, or 3. Hole 1 into the cell defines the +Y axis. +Z is outward from Surface 2 of Col #6. Hole 2 is 120 degrees CCW from Hole 1. Hole 3 is 240 degrees CCW from Hole 1.
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S2 Radius | Girdle Dia.
1 | Plane 1 | 0.0536 |  | 0 | 0.0006 | 1 | 9.464 | 6.5486
|  | -0.0516 |  | 90 |  | 2 | 9.4649 | 6.5486
|  | 0 |  | 0 |  | 3 | 9.4649 | 6.5488
2 | Point 2 | 0.0536 |  |  | 0 | 4 | 9.4642 | 6.5487
|  | -0.0516 |  |  |  | 5 | 9.4644 | 6.5489
|  | 0 |  |  |  | 6 | 9.4646 | 6.5488
3 | Circle 3 | 0 | 8.2495 |  | 0.0002 | 7 | 9.4659 | 6.5487
|  | 0 | 4.1247 |  |  | 8 | 9.465 | 6.5487
|  | 0 |  |  |  | 9 | 9.4636 | 6.5487
4 | Circle 4 | -2.2324 | 0.3751 |  | 0.0002 | 10 | 9.4641 | 6.5488
|  | 8.3314 | 0.1876 |  |  | 11 | 9.4646 | 6.5487
|  | -0.0014 |  |  |  | 12 | 9.4646 | 6.5487
5 | Line 5 | -1.1162 |  | 105 | 0 | 13 | 9.4641 | 6.5488
|  | 4.1657 |  | 359.9902 |  | 14 | 9.4644
|  | -0.0007 |  | 269.9635 |  | 15
6 | DATUM A | 0.0536 |  | 0 | 0 | 16
|  | -0.0516 |  | 90 |  | 17
|  | 0 |  | 0 |  | 18
7 | DATUM C | -1.1162 |  | 105 | 0 | 19
|  | 4.1657 |  | 359.9902 |  | 20
|  | -0.0007 |  | 269.9635 |  | 21
8 | DATUM B | 0 |  |  | 0 | 22
0
|  | 0 |  |  |  | Average | 9.4645 | 6.5487
9 | MECH AXIS | 0 |  | 0 | 0 | Stdev | 0.00055771 | 8.5485e-05
|  | 0 |  | 90 |  | Min | 9.4636 | 6.5486
|  | 0 |  | 0 |  | Max | 9.4659 | 6.5489
28 | FIXTURE TT | -0.0036 |  | 10.2032 | 0.0001 | Range | 0.0023 | 0.0003
|  | 0.0164 |  | 89.9997
|  | -1.4672 |  | 0.0019
29 | FIXTURE DC | -0.0003 | 6.4934 |  | 0.0009
|  | 0.0005 | 3.2467
0
30 | CELL DC 1 | 0.0001 | 8.5046 |  | 0.0004
|  | -0.0001 | 4.2523
0
31 | CELL TT 1 | 0.0734 |  | 103.0418 | 0.0004
|  | 0.0208 |  | 89.9982
|  | 1.0026 |  | 359.9996
36 | DUMMY DC 1 | 0 | 6.5479 |  | 0
|  | 0.0001 | 3.274
0
42 | DUMMY Z | 0 |  |  | 0
0
1.3809
43 | DUMMY DC 2 | -0.0002 | 6.5481 |  | 0
|  | 0.0001 | 3.274
0
44 | DUMMY SPHERE 1 | -0.0006 | 18.9252 |  | 0.0002
|  | 0.0002 | 9.4626
-8.0825
45 | DUMMY SPHERE 2 | -0.0006 | 18.9217 |  | 0.0003
|  | 0.0002 | 9.4608
-8.0806
46 | DUMMY SPHERE 3 | -0.0007 | 18.9249 |  | 0.0002
|  | 0.0002 | 9.4624
-8.0823
47 | DATUM A TT | 0.018 |  | 262.6298 | 0.0006
|  | -0.0995 |  | 90.0007
|  | 0 |  | 359.9999
48 | DATUM B DC | 0 | 8.2495 |  | 0.0002
|  | -0.0001 | 4.1247
0
49 | CELL DC 2 | 0 | 8.5045 |  | 0.0004
|  | 0 | 4.2522
0
50 | CELL TT 2 | -0.0103 |  | 114.8667 | 0.0003
|  | 0.0327 |  | 89.997
|  | 1.0027 |  | 359.9986
53 | LENS GIRDLE 1 | 0 | 6.5486 |  | 0
|  | 0.0004 | 3.2743
0
54 | LENS GIRDLE 2 | 0.0001 | 6.5486 |  | 0.0002
|  | 0.0004 | 3.2743
0
55 | LENS Z 1 | 0 |  |  | 0
0
1.3808
56 | LENS SPHERE 1 | -0.0032 | 18.928 |  | 0.0001
|  | -0.0007 | 9.464
-8.0832
57 | LENS SPHERE 2 | -0.0009 | 18.9298 |  | 0.0001
|  | -0.0006 | 9.4649
-8.0841
58 | LENS SPHERE 3 | -0.0003 | 18.9299 |  | 0.0001
|  | -0.0007 | 9.4649
-8.0841
59 | LENS GIRDLE 3 | 0.0001 | 6.5488 |  | 0.0001
|  | 0.0005 | 3.2744
0
60 | LENS SPHERE 4 | -0.0003 | 18.9285 |  | 0.0001
|  | -0.0001 | 9.4642
-8.0834
61 | LENS GIRDLE 4 | 0.0001 | 6.5487 |  | 0.0001
|  | 0.0005 | 3.2744
0
62 | LENS SPHERE 5 | 0 | 18.9288 |  | 0.0001
|  | 0.0004 | 9.4644
-8.0835
63 | LENS GIRDLE 5 | 0 | 6.5489 |  | 0
|  | 0.0006 | 3.2745
0
64 | LENS Z 2 | 0 |  |  | 0
0
1.3808
65 | LENS GIRDLE 1_3 | 0.0002 | 6.5488 |  | 0.0001
|  | 0.0005 | 3.2744
0
66 | LENS GIRDLE 2_3 | 0.0002 | 6.5487 |  | 0.0001
|  | 0.0004 | 3.2744
0
67 | LENS GIRDLE 3_3 | 0.0002 | 6.5487 |  | 0
|  | 0.0004 | 3.2743
0
68 | LENS Z 1_3 | 0 |  |  | 0
0
1.3808
71 | LENS Z 2_3 | 0 |  |  | 0
0
1.3808
72 | LENS Z 3_3 | 0 |  |  | 0
0
1.3808
73 | LENS SPHERE 1_3 | 0.0001 | 18.9292 |  | 0.0001
|  | 0.0005 | 9.4646
-8.0837
74 | LENS SPHERE 2_3 | 0 | 18.9318 |  | 0.0001
|  | 0.0005 | 9.4659
-8.0851
75 | LENS SPHERE 3_3 | 0 | 18.9301 |  | 0.0001
|  | 0.0005 | 9.465
-8.0842
76 | Sphere 76 | 0.0001 | 18.9271 |  | 0.0001
|  | 0.0007 | 9.4636
-8.0827
77 | Sphere 77 | 0.0002 | 18.9282 |  | 0.0001
|  | 0.0009 | 9.4641
-8.0832
78 | Circle 78 | 0.0002 | 6.5487 |  | 0.0001
|  | 0.0007 | 3.2743
0
79 | Sphere 79 | 0.0002 | 18.9291 |  | 0.0001
|  | 0.0008 | 9.4646
-8.0837
80 | Circle 80 | 0.0002 | 6.5488 |  | 0.0001
|  | 0.0008 | 3.2744
0
81 | LENS SPHERE POST_BOND | 0.0004 | 18.9292 |  | 0.0001
|  | 0.0008 | 9.4646
-8.0837
82 | LENS DC POST_BOND | 0.0004 | 6.5487 |  | 0
|  | 0.0007 | 3.2744
0
83 | LENS Z POST_BOND | 0 |  |  | 0
0
1.3809
84 | Circle 84 | 0.0003 | 6.5487 |  | 0.0001
|  | 0.0007 | 3.2743
0
85 | Point 85 | 0 |  |  | 0
0
1.3809
86 | Sphere 86 | 0.0005 | 18.9282 |  | 0.0001
|  | 0.001 | 9.4641
-8.0832
87 | LENS DC AFTER_4 DAY_CURE | 0.0003 | 6.5488 |  | 0.0001
|  | 0.0008 | 3.2744
0
89 | LENS Z AFTER_4 DAY_CURE | 0 |  |  | 0
0
1.3807
90 | LENS SPHERE AFTER_4 DAY_CURE | 0.0004 | 18.9288 |  | 0.0001
|  | 0.0009 | 9.4644
-8.0837

## Cam 1
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | Points | [Date,Time] | # | S1 Radius | Girdle Dia.
16 | Plane 16 | 0.0138 |  | 0 | 0.002 | 40 | 2009-07-09 | 1 | 15.1888 | 10.9598
|  | 0.017 |  | 90 |  |  | 14:50 | 2 | 15.1879 | 10.96
|  | 0 |  | 0 |  |  |  | 3 | 15.1874 | 10.9599
18 | Point 18 | 0.0138 |  |  | 0 | 0 | 2009-07-09 | 4 | 15.1878 | 10.9597
|  | 0.017 |  |  |  |  | 14:55 | 5 | 15.188 | 10.9599
|  | 0 | [5 empty] | 6 | 15.1888 | 10.9599
19 | Circle 19 | 0 | 13.2492 |  | 0.0008 | 24 | 2009-07-09 | 7 | 15.1879 | 10.9597
|  | 0 | 6.6246 |  |  |  | 14:57 | 8 | 15.1875 | 10.9598
|  | 0 | [5 empty] | 9 | 15.1881 | 10.96
21 | Circle 21 | 0 | 0.2506 |  | 0 | 4 | 2009-07-09 | 10 | 15.1887 | 10.9598
|  | -10.0003 | 0.1253 |  |  |  | 14:59 | 11 | 15.1886 | 10.9598
|  | 0.0004 | [5 empty] | 12 | 15.1886 | 10.9599
22 | Line 22 | 0 |  | 270 | 0 | 0 | 2009-07-09 | 13 | 15.1879 | 10.9599
|  | -5.0002 |  | 179.9979 |  |  | 15:00 | 14 | 15.189 | 10.9599
|  | 0.0002 |  | 0 |  |  |  | 15 | 15.1887 | 10.9599
23 | DATUM A | 0.0138 |  | 0 | 0 | 0 | 2009-07-09 | 16 | 15.188
|  | 0.017 |  | 90 |  |  | 15:00 | 17 | 15.1874
|  | 0 |  | 0 |  |  |  | 18 | 15.1888
24 | DATUM C | 0 |  | 270 | 0 | 0 | 2009-07-09 | 19 | 15.1886
|  | -5.0002 |  | 179.9979 |  |  | 15:00 | 20 | 15.1882
|  | 0.0002 |  | 0 |  |  |  | 21 | 15.188
25 | DATUM B | 0 |  |  | 0 | 0 | 2009-07-09 | 22 | 15.1881
|  | 0 |  |  |  |  | 15:00 | 23 | 15.1888
|  | 0 | [5 empty] | 24 | 15.1883
32 | TOP CELL DC | -0.0002 | 13.1231 |  | 0.0001 | 7 | 2009-07-09 | 25 | 15.188
|  | -0.0003 | 6.5615 |  |  |  | 15:32 | 26 | 15.188
|  | 0 | [5 empty] | 27 | 15.1882
33 | TOP CELL TT | 0.0517 |  | 240.3873 | 0.0016 | 13 | 2009-07-09 | 28 | 15.1887
|  | 0.0455 |  | 90.0021 |  |  | 15:36 | 29 | 15.1887
|  | 1.0902 |  | 359.9988 |  |  |  | 30 | 15.1883
43 | FIXTURE DC | -0.0001 | 10.4969 |  | 0.0009 | 4 | 2009-07-09 | 31 | 15.1881
|  | -0.0002 | 5.2484 |  |  |  | 15:54 | 32 | 15.1887
|  | 0 | [5 empty] | 33 | 15.1885
44 | FIXTURE TT | -0.0271 |  | 341.3128 | 0.0016 | 4 | 2009-07-09 | 34 | 15.1882
|  | -0.0275 |  | 90.0009 |  |  | 15:55 | 35 | 15.1884
|  | -0.9892 |  | 0.0027 |  |  |  | 36 | 15.1884
52 | DUMMY SPHERE | -0.0009 | 30.3522 |  | 0.0002 | 12 | 2009-07-09 | 37 | 15.1885
|  | 0.0009 | 15.1761 |  |  |  | 16:51
|  | -13.1584 | [5 empty] | Average | 15.1883 | 10.9599
53 | DUMMY DC | 0.0002 | 10.9615 |  | 0 | 4 | 2009-07-09 | Stdev | 0.00041644 | 9.1026e-05
|  | -0.0001 | 5.4807 |  |  |  | 16:53 | Min | 15.1874 | 10.9597
|  | 0 | [5 empty] | Max | 15.189 | 10.96
54 | DUMMY Z | 0 |  |  | 0 | 1 | 2009-07-09 | Range | 0.0016 | 0.0003
|  | 0 |  |  |  |  | 16:55
2.0203
55 | RE DATUM B | -0.0001 | 13.2492 |  | 0.0009 | 12 | 2009-07-09
|  | 0 | 6.6246 |  |  |  | 18:09
0
56 | RE DATUM A | 0.0733 |  | 185.3675 | 0.0018 | 12 | 2009-07-09
|  | 0.022 |  | 90 |  |  | 18:10
|  | 0.0001 |  | 359.9997
59 | RE TOP CELL TT | 0.0305 |  | 307.4427 | 0.0005 | 12 | 2009-07-09
|  | -0.0127 |  | 90.0005 |  |  | 18:29
|  | 1.0911 |  | 0.0004
66 | LENS DC 1 | -0.0023 | 10.9598 |  | 0.0001 | 4 | 2009-07-09
|  | -0.0031 | 5.4799 |  |  |  | 18:38
0
69 | LENS DC 2 | -0.0002 | 10.96 |  | 0.0001 | 4 | 2009-07-10
|  | 0.0001 | 5.48 |  |  |  | 11:22
0
70 | LENS SPHERE 1 | 0.005 | 30.3775 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0057 | 15.1888 |  |  |  | 11:24
-13.1723
71 | LENS SPHERE 2 | 0.003 | 30.3759 |  | 0.0002 | 12 | 2009-07-10
|  | -0.0051 | 15.1879 |  |  |  | 11:47
-13.1715
72 | LENS SPHERE 3 | 0.0017 | 30.3749 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0048 | 15.1874 |  |  |  | 11:51
-13.171
73 | LENS SPHERE 4 | 0.001 | 30.3756 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0049 | 15.1878 |  |  |  | 11:55
-13.1713
74 | LENS SPHERE 5 | 0.0012 | 30.3761 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0033 | 15.188 |  |  |  | 11:58
-13.1715
75 | LENS SPHERE 6 | 0.0013 | 30.3776 |  | 0.0001 | 12 | 2009-07-10
|  | -0.002 | 15.1888 |  |  |  | 0:04
-13.1723
76 | LENS SPHERE 7 | 0.0005 | 30.3759 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0006 | 15.1879 |  |  |  | 0:07
-13.1714
77 | LENS SPHERE 8 | 0.0002 | 30.3751 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0001 | 15.1875 |  |  |  | 0:10
-13.171
78 | LENS DC 3 | -0.0003 | 10.9599 |  | 0.0001 | 4 | 2009-07-10
|  | 0.0004 | 5.4799 |  |  |  | 0:12
0
88 | LENS Z 1 | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0 |  |  |  |  | 0:19
2.0234
89 | LENS DC 4 | -0.0001 | 10.9597 |  | 0 | 4 | 2009-07-10
|  | 0.0003 | 5.4799 |  |  |  | 0:21
0
90 | LENS SPHERE 9 | -0.0039 | 30.3762 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0041 | 15.1881 |  |  |  | 0:23
-13.1647
91 | LENS SPHERE 10 | -0.002 | 30.3775 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0043 | 15.1887 |  |  |  | 13:40
-13.1654
92 | LENS SPHERE 11 | -0.0011 | 30.3771 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0037 | 15.1886 |  |  |  | 13:43
-13.1652
93 | LENS SPHERE 12 | -0.0007 | 30.3772 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0021 | 15.1886 |  |  |  | 13:53
-13.1652
94 | LENS SPHERE 13 | -0.0003 | 30.3758 |  | 0.0001 | 12 | 2009-07-10
|  | 0.002 | 15.1879 |  |  |  | 13:56
-13.1645
95 | LENS SPHERE 14 | -0.0003 | 30.378 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0019 | 15.189 |  |  |  | 13:58
-13.1656
96 | LENS DC 5 | -0.0002 | 10.9599 |  | 0.0002 | 4 | 2009-07-10
|  | 0.0002 | 5.48 |  |  |  | 14:00
0
97 | LENS SPHERE 15 | -0.0003 | 30.3773 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0018 | 15.1887 |  |  |  | 14:03
-13.1653
98 | LENS SPHERE 16 | -0.0004 | 30.376 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0019 | 15.188 |  |  |  | 14:06
-13.1646
99 | LENS DC 6 | -0.0002 | 10.9599 |  | 0.0002 | 4 | 2009-07-10
|  | 0.0003 | 5.48 |  |  |  | 14:08
0
100 | LENS SPHERE 17 | -0.0003 | 30.3749 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0019 | 15.1874 |  |  |  | 14:12
-13.164
101 | LENS DC 7 | -0.0001 | 10.9597 |  | 0.0001 | 4 | 2009-07-10
|  | 0 | 5.4799 |  |  |  | 14:20
0
102 | LENS SPHERE 18 | 0.0016 | 30.3777 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0119 | 15.1888 |  |  |  | 14:22
-13.1652
103 | LENS SPHERE 19 | 0.0023 | 30.3773 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0054 | 15.1886 |  |  |  | 14:26
-13.1649
104 | LENS SPHERE 20 | 0.0011 | 30.3763 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0022 | 15.1882 |  |  |  | 14:29
-13.1644
105 | LENS SPHERE 21 | 0.0003 | 30.3761 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0014 | 15.188 |  |  |  | 14:33
-13.1643
106 | LENS SPHERE 22 | 0.0007 | 30.3762 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0007 | 15.1881 |  |  |  | 14:37
-13.1642
107 | LENS SPHERE 23 | 0.0004 | 30.3777 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0002 | 15.1888 |  |  |  | 14:40
-13.1649
109 | LENS DC 8 | -0.0001 | 10.9598 |  | 0 | 4 | 2009-07-10
|  | 0.0003 | 5.4799 |  |  |  | 14:44
0
120 | LENS Z 2 | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0 |  |  |  |  | 14:50
2.0234
123 | LENS SPHERE 24 | 0.0004 | 30.3766 |  | 0.0001 | 12 | 2009-07-10
|  | 0 | 15.1883 |  |  |  | 14:54
-13.1648
124 | LENS DC 9 | 0 | 10.96 |  | 0.0002 | 4 | 2009-07-10
|  | 0.0004 | 5.48 |  |  |  | 14:57
0
125 | LENS DC 1_3 | 0 | 10.9598 |  | 0 | 4 | 2009-07-10
|  | 0.0004 | 5.4799 |  |  |  | 15:11
0
126 | LENS DC 2_3 | -0.0001 | 10.9598 |  | 0.0001 | 4 | 2009-07-10
|  | 0.0003 | 5.4799 |  |  |  | 15:13
0
127 | LENS DC 3_3 | -0.0001 | 10.9599 |  | 0.0001 | 4 | 2009-07-10
|  | 0.0003 | 5.4799 |  |  |  | 15:14
0
129 | LENS Z 1_3 | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0 |  |  |  |  | 15:17
2.0234
130 | LENS Z 2_3 | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0 |  |  |  |  | 15:17
2.0234
131 | LENS Z 3_3 | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0 |  |  |  |  | 15:18
2.0234
132 | LENS SPHERE 1_3 | 0.0004 | 30.3761 |  | 0.0001 | 12 | 2009-07-10
|  | -0.0001 | 15.188 |  |  |  | 15:21
-13.1646
133 | LENS SPHERE 2_3 | 0.0003 | 30.3761 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0001 | 15.188 |  |  |  | 15:23
-13.1646
134 | LENS SPHERE 3_3 | 0.0003 | 30.3764 |  | 0.0001 | 12 | 2009-07-10
|  | 0 | 15.1882 |  |  |  | 15:25
-13.1648
135 | Sphere 135 | 0.0004 | 30.3774 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0002 | 15.1887 |  |  |  | 15:51
-13.1653
136 | Sphere 136 | 0.0005 | 30.3774 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0003 | 15.1887 |  |  |  | 16:06
-13.1653
137 | Sphere 137 | 0.0005 | 30.3766 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0004 | 15.1883 |  |  |  | 16:19
-13.1649
138 | Sphere 138 | 0.0005 | 30.3762 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0005 | 15.1881 |  |  |  | 16:31
-13.1647
139 | Sphere 139 | 0.0005 | 30.3774 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0004 | 15.1887 |  |  |  | 16:46
-13.1653
140 | Sphere 140 | 0.0006 | 30.3771 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0003 | 15.1885 |  |  |  | 16:57
-13.1652
141 | LENS SPHERE POST BOND | 0.0006 | 30.3763 |  | 0.0001 | 12 | 2009-07-10
|  | 0.0002 | 15.1882 |  |  |  | 17:04
-13.1648
142 | LENS DC POST BOND | -0.0001 | 10.9599 |  | 0.0001 | 4 | 2009-07-10
|  | 0.0001 | 5.48 |  |  |  | 17:06
0
143 | LENS Z POST BOND | 0 |  |  | 0 | 1 | 2009-07-10
|  | 0.0001 |  |  |  |  | 17:08
2.0234
144 | LENS DC POST CURE 7 DAYS | -0.0002 | 10.9599 |  | 0.0001 | 4 | 2009-07-16
|  | 0.0003 | 5.4799 |  |  |  | 0:09
0
145 | LENS Z POST CURE 7 DAYS | 0 |  |  | 0 | 1 | 2009-07-16
|  | 0 |  |  |  |  | 0:12
2.0233
146 | LENS SPHERE POST CURE 7 DAYS | 0.0003 | 30.3768 |  | 0.0001 | 12 | 2009-07-16
|  | 0.0005 | 15.1884 |  |  |  | 0:15
-13.1652
147 | LENS DC FINAL | -0.0002 | 10.9599 |  | 0.0001 | 4 | 2009-07-16
|  | 0.0003 | 5.4799 |  |  |  | 0:39
0
148 | LENS Z FINAL | 0 |  |  | 0 | 1 | 2009-07-16
|  | 0 |  |  |  |  | 0:41
2.0229
149 | LENS SPHERE FINAL 1 | 0.0005 | 30.3769 |  | 0.0001 | 12 | 2009-07-16
|  | 0.0005 | 15.1884 |  |  |  | 0:46
-13.1656
150 | LENS SPHERE FINAL 2 | 0.0004 | 30.377 |  | 0.0001 | 12 | 2009-07-16
|  | 0.0005 | 15.1885 |  |  |  | 0:49
-13.1656

## Cam 2
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | Points | [Date,Time] | # | S1 Radius | Girdle Dia.
1 | Plane 1 | 0.0465 |  | 0 | 0.0019 | 42 | 2009-08-13 | 1 | 12.7608 | 10.9092
|  | 0.0409 |  | 90 |  |  | 0:04 | 2 | 12.7609 | 10.909
|  | 0 |  | 0 |  |  |  | 3 | 12.7598 | 10.9091
2 | Point 2 | 0.0465 |  |  | 0 | 0 | 2009-08-13 | 4 | 12.7601 | 10.9092
|  | 0.0409 |  |  |  |  | 0:04 | 5 | 12.76 | 10.9091
|  | 0 | [5 empty] | 6 | 12.7596 | 10.9091
3 | Circle 3 | 0 | 13.249 |  | 0.0008 | 25 | 2009-08-13 | 7 | 12.7596 | 10.9091
|  | 0 | 6.6245 |  |  |  | 0:06 | 8 | 12.7603 | 10.909
|  | 0 | [5 empty] | 9 | 12.7604 | 10.9091
4 | Circle 4 | 0 | 0.2506 |  | 0.0001 | 4 | 2009-08-13 | 10 | 12.7604 | 10.9091
|  | -10.0002 | 0.1253 |  |  |  | 0:06 | 11 | 12.7602 | 10.9093
|  | 0.0012 | [5 empty] | 12 | 12.7603 | 10.9093
5 | Line 5 | 0 |  | 270 | 0 | 0 | 2009-08-13 | 13 | 12.7602 | 10.9093
|  | -5.0001 |  | 179.9932 |  |  | 0:06 | 14 | 12.7604 | 10.9092
|  | 0.0006 |  | 0 |  |  |  | 15 | 12.7599 | 10.9091
6 | DATUM A | 0.0465 |  | 0 | 0 | 0 | 2009-08-13 | 16 | 12.7603 | 10.9092
|  | 0.0409 |  | 90 |  |  | 0:06 | 17 | 12.7603 | 10.9093
|  | 0 |  | 0 |  |  |  | 18 | 12.7611 | 10.9092
7 | DATUM C | 0 |  | 270 | 0 | 0 | 2009-08-13 | 19 | 12.76
|  | -5.0001 |  | 179.9932 |  |  | 0:07 | 20 | 12.7604
|  | 0.0006 |  | 0 |  |  |  | 21 | 12.76
8 | DATUM B | 0 |  |  | 0 | 0 | 2009-08-13 | 22
|  | 0 |  |  |  |  | 0:07 | 23
|  | 0 | [5 empty] | 24
9 | TOP CELL DC | 0 | 13.249 |  | 0.0012 | 20 | 2009-08-13 | 25
|  | 0.0001 | 6.6245 |  |  |  | 13:59 | 26
|  | 0 | [5 empty] | 27
10 | TOP CELL TT | 0.0551 |  | 21.9119 | 0.0015 | 35 | 2009-08-13 | 28
|  | -0.077 |  | 89.9992 |  |  | 14:03 | 29
|  | 1.5004 |  | 0.002 |  |  |  | 30
11 | LENS DC 1 | -0.0304 | 10.9092 |  | 0.0002 | 4 | 2009-08-13 | 31
|  | -0.0074 | 5.4546 |  |  |  | 14:04 | 32
|  | 0 | [5 empty] | 33
12 | LENS DC 2 | -0.0262 | 10.909 |  | 0 | 4 | 2009-08-13 | 34
|  | 0.0001 | 5.4545 |  |  |  | 14:06 | 35
|  | 0 | [5 empty] | 36
13 | LENS DC 3 | -0.0229 | 10.9091 |  | 0 | 4 | 2009-08-13 | 37
|  | 0.0004 | 5.4546 |  |  |  | 14:10
|  | 0 | [5 empty] | Average | 12.7602 | 10.9092
14 | LENS DC 4 | -0.0126 | 10.9092 |  | 0 | 4 | 2009-08-13 | Stdev | 0.00038272 | 9.7853e-05
|  | 0.0004 | 5.4546 |  |  |  | 14:12 | Min | 12.7596 | 10.909
|  | 0 | [5 empty] | Max | 12.7611 | 10.9093
15 | LENS DC 5 | -0.0034 | 10.9091 |  | 0.0002 | 4 | 2009-08-13 | Range | 0.0015 | 0.0003
|  | 0.0005 | 5.4545 |  |  |  | 14:14
0
16 | LENS DC 6 | -0.0017 | 10.9091 |  | 0.0001 | 4 | 2009-08-13
|  | 0.0005 | 5.4545 |  |  |  | 14:16
0
17 | LENS DC 7 | -0.0003 | 10.9091 |  | 0.0001 | 4 | 2009-08-13
|  | 0.0006 | 5.4546 |  |  |  | 14:17
0
18 | LENS DC 8 | -0.0001 | 10.909 |  | 0.0001 | 4 | 2009-08-13
|  | 0.0005 | 5.4545 |  |  |  | 14:19
0
19 | LENS DC 9 | 0.0003 | 10.9091 |  | 0.0002 | 4 | 2009-08-13
|  | 0.0006 | 5.4546 |  |  |  | 14:20
0
20 | LENS DC 10 | 0.0002 | 10.9091 |  | 0.0001 | 4 | 2009-08-13
|  | 0.0002 | 5.4546 |  |  |  | 14:22
0
21 | LENS Z 1 | 0 |  |  | 0 | 1 | 2009-08-13
|  | 0 |  |  |  |  | 14:24
2.0857
22 | LENS SPHERE 1 | -0.0085 | 25.5216 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0091 | 12.7608 |  |  |  | 14:27
-10.675
23 | LENS SPHERE 2 | -0.008 | 25.5218 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0075 | 12.7609 |  |  |  | 14:35
-10.6752
24 | LENS SPHERE 3 | -0.007 | 25.5195 |  | 0.0002 | 12 | 2009-08-13
|  | -0.0056 | 12.7598 |  |  |  | 14:40
-10.6739
25 | LENS SPHERE 4 | -0.0063 | 25.5203 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0026 | 12.7601 |  |  |  | 14:43
-10.6743
26 | LENS SPHERE 5 | -0.0028 | 25.5199 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0022 | 12.76 |  |  |  | 14:47
-10.6742
27 | LENS SPHERE 6 | -0.0002 | 25.5193 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0023 | 12.7596 |  |  |  | 14:52
-10.6738
28 | LENS SPHERE 7 | -0.0002 | 25.5192 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0009 | 12.7596 |  |  |  | 14:55
-10.6738
29 | LENS SPHERE 8 | 0 | 25.5207 |  | 0.0001 | 12 | 2009-08-13
|  | -0.0001 | 12.7603 |  |  |  | 14:58
-10.6745
30 | LENS DC 11 | 0.0001 | 10.9093 |  | 0.0002 | 4 | 2009-08-13
|  | -0.0001 | 5.4547 |  |  |  | 15:00
0
31 | LENS Z 2 | 0 |  |  | 0 | 1 | 2009-08-13
|  | 0 |  |  |  |  | 15:01
2.0859
33 | LENS Z 3 | 0 |  |  | 0 | 1 | 2009-08-13
|  | -0.0001 |  |  |  |  | 15:04
2.0857
36 | LENS Z 4 | 0 |  |  | 0 | 1 | 2009-08-13
|  | 0 |  |  |  |  | 15:05
2.0855
40 | LENS Z 5 | 0 |  |  | 0 | 1 | 2009-08-13
|  | -0.0001 |  |  |  |  | 15:06
2.0853
44 | LENS Z 6 | 0 |  |  | 0 | 1 | 2009-08-13
|  | 0 |  |  |  |  | 15:07
2.0852
45 | LENS DC 12 | 0.0002 | 10.9093 |  | 0.0001 | 4 | 2009-08-13
|  | -0.0001 | 5.4547 |  |  |  | 15:08
0
46 | LENS SPHERE 9 | 0.0002 | 25.5209 |  | 0.0001 | 12 | 2009-08-13
|  | 0.0002 | 12.7604 |  |  |  | 15:10
-10.6753
47 | LENS DC 1_3 | 0.0001 | 10.9093 |  | 0.0002 | 4 | 2009-08-14
|  | 0 | 5.4546 |  |  |  | 11:03
0
48 | LENS DC 2_3 | 0.0001 | 10.9092 |  | 0.0002 | 4 | 2009-08-14
|  | -0.0001 | 5.4546 |  |  |  | 11:04
0
49 | LENS DC 3_3 | 0.0001 | 10.9091 |  | 0.0002 | 4 | 2009-08-14
|  | -0.0001 | 5.4546 |  |  |  | 11:06
0
50 | LENS Z 1_3 | 0 |  |  | 0 | 1 | 2009-08-14
|  | -0.0001 |  |  |  |  | 11:07
2.085
51 | LENS Z 2_3 | 0 |  |  | 0 | 1 | 2009-08-14
|  | 0 |  |  |  |  | 11:07
2.085
54 | LENS Z 3_3 | 0 |  |  | 0 | 1 | 2009-08-14
|  | -0.0001 |  |  |  |  | 11:08
2.085
55 | LENS SPHERE 1_3 | 0.0006 | 25.5207 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0002 | 12.7604 |  |  |  | 11:11
-10.6753
56 | LENS SPHERE 2_3 | 0.0007 | 25.5204 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0003 | 12.7602 |  |  |  | 11:13
-10.6751
57 | LENS SPHERE 3_3 | 0.0006 | 25.5205 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0002 | 12.7603 |  |  |  | 11:15
-10.6752
58 | Sphere 58 | 0.0006 | 25.5205 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0002 | 12.7602 |  |  |  | 0:23
-10.6753
59 | Sphere 59 | 0.0006 | 25.5208 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0001 | 12.7604 |  |  |  | 0:37
-10.6754
60 | Sphere 60 | 0.0007 | 25.5199 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0003 | 12.7599 |  |  |  | 0:51
-10.6749
61 | Sphere 61 | 0.0007 | 25.5206 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0003 | 12.7603 |  |  |  | 13:04
-10.6753
62 | Sphere 62 | 0.0007 | 25.5206 |  | 0.0002 | 12 | 2009-08-14
|  | 0.0003 | 12.7603 |  |  |  | 13:17
-10.6753
63 | Sphere 63 | 0.0007 | 25.5222 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0003 | 12.7611 |  |  |  | 13:29
-10.6761
64 | LENS SPHERE POST BOND | 0.0007 | 25.5199 |  | 0.0001 | 12 | 2009-08-14
|  | 0.0003 | 12.76 |  |  |  | 13:33
-10.6749
65 | LENS DC POST BOND | 0.0001 | 10.9092 |  | 0.0002 | 4 | 2009-08-14
|  | -0.0001 | 5.4546 |  |  |  | 13:35
0
67 | LENS Z POST BOND | 0 |  |  | 0 | 1 | 2009-08-14
|  | 0 |  |  |  |  | 13:37
2.085
68 | LENS DC 7 DAY CURE | 0.0001 | 10.9093 |  | 0.0003 | 4 | 2009-08-20
|  | -0.0002 | 5.4547 |  |  |  | 11:58
0
69 | LENS Z 7 DAY CURE | 0 |  |  | 0 | 1 | 2009-08-20
|  | 0 |  |  |  |  | 0:00
2.085
70 | LENS SPHERE 7 DAY CURE | 0.0008 | 25.5207 |  | 0.0001 | 12 | 2009-08-20
|  | 0.0003 | 12.7604 |  |  |  | 0:03
-10.6754
71 | LENS DC FINAL | 0.0002 | 10.9092 |  | 0.0001 | 4 | 2009-08-20
|  | -0.0002 | 5.4546 |  |  |  | 0:24
0
73 | LENS Z FINAL | 0 |  |  | 0 | 1 | 2009-08-20
|  | 0 |  |  |  |  | 0:26
2.0844
74 | LENS SPHERE FINAL | 0.0006 | 25.5201 |  | 0.0001 | 12 | 2009-08-20
|  | 0.0002 | 12.76 |  |  |  | 0:30
-10.6756

## Cam 4
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | Points | [Date,Time] | # | S1 Radius | Girdle Dia.
1 | Plane 1 | 0.0119 |  | 223.4375 | 0.0008 | 40 | 2009-06-30 | 1 | 8.4555 | 10.0378
|  | -0.028 |  | 90.0012 |  |  | 13:59 | 2 | 8.4554 | 10.0376
|  | -0.0004 |  | 359.9987 |  |  |  | 3 | 8.4555 | 10.0379
2 | Point 2 | 0.0119 |  |  | 0 | 0 | 2009-06-30 | 4 | 8.4555 | 10.0377
|  | -0.028 |  |  |  |  | 14:02 | 5 | 8.4553 | 10.0378
|  | -0.0004 | [5 empty] | 6 | 8.4556 | 10.0377
3 | Circle 3 | -0.0006 | 13.9979 |  | 0.0003 | 35 | 2009-06-30 | 7 | 8.4554 | 10.0378
|  | 0.0001 | 6.9989 |  |  |  | 14:07 | 8 | 8.4552 | 10.0377
|  | -0.0004 | [5 empty] | 9 | 8.4552 | 10.0377
4 | Circle 4 | 0 | 0.2506 |  | 0.0001 | 4 | 2009-06-30 | 10 | 8.4556 | 10.0375
|  | -10.0005 | 0.1253 |  |  |  | 14:09 | 11 | 8.4558 | 10.0377
|  | 0 | [5 empty] | 12 | 8.4552 | 10.0379
5 | Line 5 | -0.0003 |  | 270.0035 | 0 | 0 | 2009-06-30 | 13 | 8.4556
|  | -5.0002 |  | 179.9981 |  |  | 14:09 | 14 | 8.4552
|  | -0.0002 |  | 61.2183 |  |  |  | 15 | 8.4553
6 | DATUM A | 0.0119 |  | 223.4375 | 0 | 0 | 2009-06-30 | 16 | 8.4554
|  | -0.028 |  | 90.0012 |  |  | 14:10 | 17 | 8.4553
|  | -0.0004 |  | 359.9987 |  |  |  | 18 | 8.4556
7 | DATUM C | -0.0003 |  | 270.0035 | 0 | 0 | 2009-06-30 | 19 | 8.4552
|  | -5.0002 |  | 179.9981 |  |  | 14:10 | 20 | 8.4556
|  | -0.0002 |  | 61.2183 |  |  |  | 21 | 8.4554
8 | DATUM B | -0.0006 |  |  | 0 | 0 | 2009-06-30 | 22 | 8.4555
|  | 0.0001 |  |  |  |  | 14:10 | 23 | 8.4555
|  | -0.0004 | [5 empty] | 24
9 | TOP CELL TT | -0.0023 |  | 231.1404 | 0.0006 | 30 | 2009-06-30 | 25
|  | -0.0045 |  | 90.0012 |  |  | 14:25 | 26
|  | 1.5593 |  | 359.999 |  |  |  | 27
10 | TOP CELL DC | -0.0005 | 13.2495 |  | 0.0003 | 29 | 2009-06-30 | 28
|  | 0.0001 | 6.6247 |  |  |  | 14:32 | 29
|  | -0.0004 | [5 empty] | 30
14 | FIXTURE DC | -0.0005 | 9.9941 |  | 0.0014 | 4 | 2009-06-30 | 31
|  | 0.0004 | 4.9971 |  |  |  | 15:07 | 32
|  | -0.0004 | [5 empty] | 33
42 | DUMMY SPHERE | -0.0014 | 16.8892 |  | 0.0005 | 12 | 2009-06-30 | 34
|  | 0.0009 | 8.4446 |  |  |  | 16:30 | 35
|  | -6.288 | [5 empty] | 36
43 | DUMMY DC | -0.0005 | 10.0412 |  | 0.0001 | 4 | 2009-06-30 | 37
|  | -0.0003 | 5.0206 |  |  |  | 16:32
|  | -0.0004 | [5 empty] | Average | 8.4554 | 10.0377
44 | DUMMY Z | -0.0006 |  |  | 0 | 1 | 2009-06-30 | Stdev | 0.00016846 | 0.00011547
|  | 0.0001 |  |  |  |  | 16:33 | Min | 8.4552 | 10.0375
|  | 2.1574 | [5 empty] | Max | 8.4558 | 10.0379
52 | Plane 52 | 0.023 |  | 0 | 0.0011 | 40 | 2009-07-01 | Range | 0.0006 | 0.0004
|  | 0.0901 |  | 90 |  |  | 16:18
|  | 0 |  | 0
53 | Point 53 | 0.023 |  |  | 0 | 0 | 2009-07-01
|  | 0.0901 |  |  |  |  | 16:18
0
54 | Circle 54 | 0 | 13.9979 |  | 0.0002 | 34 | 2009-07-01
|  | 0 | 6.999 |  |  |  | 16:23
0
55 | Circle 55 | 0 | 0.2507 |  | 0.0001 | 4 | 2009-07-01
|  | -10.0005 | 0.1254 |  |  |  | 16:23
-0.0002
56 | Line 56 | 0 |  | 270 | 0 | 0 | 2009-07-01
|  | -5.0003 |  | 180.0012 |  |  | 16:23
|  | -0.0001 |  | 180
57 | NEW DATUM A | 0.023 |  | 0 | 0 | 0 | 2009-07-01
|  | 0.0901 |  | 90 |  |  | 16:24
|  | 0 |  | 0
58 | NEW DATUM C | 0 |  | 270 | 0 | 0 | 2009-07-01
|  | -5.0003 |  | 180.0012 |  |  | 16:24
|  | -0.0001 |  | 180
59 | NEW DATUM B | 0 |  |  | 0 | 0 | 2009-07-01
|  | 0 |  |  |  |  | 16:25
0
60 | RE TOP CELL TT | 0.0633 |  | 112.966 | 0.0008 | 40 | 2009-07-01
|  | -0.0154 |  | 89.9997 |  |  | 16:29
|  | 1.5596 |  | 359.9999
61 | RE TOP CELL DC | 0 | 13.2495 |  | 0.0003 | 28 | 2009-07-01
|  | 0.0001 | 6.6247 |  |  |  | 16:32
0
71 | LENS DC 1 | 0 | 10.0378 |  | 0 | 4 | 2009-07-01
|  | -0.0002 | 5.0189 |  |  |  | 17:25
0
75 | LENS SPHERE 1 | 0.007 | 16.9109 |  | 0.0001 | 12 | 2009-07-01
|  | -0.0012 | 8.4555 |  |  |  | 17:30
-6.2998
76 | LENS SPHERE 2 | 0.0048 | 16.9108 |  | 0.0001 | 12 | 2009-07-01
|  | -0.0015 | 8.4554 |  |  |  | 17:35
-6.2997
77 | LENS SPHERE 3 | 0.0026 | 16.911 |  | 0.0001 | 12 | 2009-07-01
|  | -0.0019 | 8.4555 |  |  |  | 17:39
-6.2997
78 | LENS SPHERE 4 | 0.0014 | 16.911 |  | 0 | 12 | 2009-07-01
|  | -0.002 | 8.4555 |  |  |  | 17:43
-6.2997
79 | LENS SPHERE 5 | 0.0016 | 16.9106 |  | 0.0001 | 12 | 2009-07-01
|  | -0.0011 | 8.4553 |  |  |  | 17:49
-6.2994
80 | LENS DC 2 | 0.0004 | 10.0376 |  | 0.0001 | 4 | 2009-07-01
|  | -0.0004 | 5.0188 |  |  |  | 17:50
0
88 | LENS Z 1 | 0 |  |  | 0 | 1 | 2009-07-01
|  | 0 |  |  |  |  | 17:56
2.1577
89 | LENS DC 3 | 0.0006 | 10.0379 |  | 0 | 4 | 2009-07-01
|  | -0.0002 | 5.0189 |  |  |  | 17:57
0
90 | LENS SPHERE 6 | 0.0011 | 16.9112 |  | 0.0001 | 12 | 2009-07-01
|  | -0.001 | 8.4556 |  |  |  | 18:00
-6.2979
92 | LENS DC 4 | -0.0001 | 10.0377 |  | 0 | 4 | 2009-07-01
|  | 0 | 5.0189 |  |  |  | 18:04
0
94 | LENS Z 2 | 0 |  |  | 0 | 1 | 2009-07-01
|  | 0 |  |  |  |  | 18:06
2.1577
95 | LENS SPHERE 7 | 0.0009 | 16.9109 |  | 0.0001 | 12 | 2009-07-01
|  | -0.0009 | 8.4554 |  |  |  | 18:09
-6.2977
96 | LENS DC 5 | -0.0002 | 10.0378 |  | 0.0001 | 4 | 2009-07-02
|  | -0.0001 | 5.0189 |  |  |  | 11:18
0
98 | LENS Z 3 | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 11:20
2.1574
104 | LENS SPHERE 8 | 0.0009 | 16.9105 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0009 | 8.4552 |  |  |  | 11:24
-6.2978
106 | LENS SPHERE 9 | 0.0004 | 16.9103 |  | 0.0001 | 13 | 2009-07-02
|  | -0.0006 | 8.4552 |  |  |  | 11:34
-6.2976
107 | LENS SPHERE 10 | 0.0004 | 16.9111 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4556 |  |  |  | 11:37
-6.2981
108 | LENS SPHERE 11 | 0.0001 | 16.9116 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0004 | 8.4558 |  |  |  | 11:42
-6.2983
109 | LENS DC 6 | -0.0002 | 10.0377 |  | 0.0002 | 4 | 2009-07-02
|  | -0.0001 | 5.0188 |  |  |  | 11:44
0
111 | LENS Z 4 | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 11:46
2.1575
112 | LENS Z 1_3 | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 11:59
2.1576
113 | LENS Z 2_3 | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 12:00
2.1576
114 | LENS Z 3_3 | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 0:00
2.1575
115 | LENS DC 1_3 | -0.0004 | 10.0378 |  | 0.0001 | 4 | 2009-07-02
|  | 0.0001 | 5.0189 |  |  |  | 0:02
0
116 | LENS DC 2_3 | -0.0004 | 10.0377 |  | 0.0001 | 4 | 2009-07-02
|  | 0 | 5.0189 |  |  |  | 0:03
0
117 | LENS DC 3_3 | -0.0002 | 10.0377 |  | 0.0001 | 4 | 2009-07-02
|  | 0 | 5.0188 |  |  |  | 0:04
0
118 | LENS SPHERE 1_3 | 0.0002 | 16.9103 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4552 |  |  |  | 0:06
-6.2976
119 | LENS SPHERE 2_3 | 0.0001 | 16.9111 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4556 |  |  |  | 0:09
-6.298
120 | LENS SPHERE 3_3 | 0.0002 | 16.9103 |  | 0.0002 | 12 | 2009-07-02
|  | -0.0003 | 8.4552 |  |  |  | 0:11
-6.2976
121 | Sphere 121 | 0.0002 | 16.9107 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0005 | 8.4553 |  |  |  | 0:46
-6.2977
122 | Sphere 122 | 0.0001 | 16.9109 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0005 | 8.4554 |  |  |  | 0:58
-6.2978
123 | Sphere 123 | 0.0002 | 16.9106 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4553 |  |  |  | 13:11
-6.2977
124 | Sphere 124 | 0.0001 | 16.9112 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4556 |  |  |  | 13:24
-6.2979
125 | Sphere 125 | 0.0002 | 16.9104 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0003 | 8.4552 |  |  |  | 13:36
-6.2975
126 | Sphere 126 | 0.0002 | 16.9111 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0004 | 8.4556 |  |  |  | 13:47
-6.2979
127 | LENS SPHERE POST BOND | 0.0002 | 16.9108 |  | 0.0001 | 12 | 2009-07-02
|  | -0.0004 | 8.4554 |  |  |  | 13:55
-6.2977
128 | LENS DC POST BOND | -0.0002 | 10.0375 |  | 0 | 4 | 2009-07-02
|  | 0 | 5.0188 |  |  |  | 13:56
0
130 | LENS Z POST BOND | 0 |  |  | 0 | 1 | 2009-07-02
|  | 0 |  |  |  |  | 13:58
2.1577
131 | TOP CELL DC POST BOND | 0 | 13.2494 |  | 0.0003 | 4 | 2009-07-02
|  | 0 | 6.6247 |  |  |  | 13:59
0
132 | LENS DC POST CURE 5 DAYS | -0.0001 | 10.0377 |  | 0 | 4 | 2009-07-07
|  | -0.0001 | 5.0188 |  |  |  | 11:25
0
133 | LENS Z POST CURE 5 DAYS | 0 |  |  | 0 | 1 | 2009-07-07
|  | 0 |  |  |  |  | 11:27
2.1576
134 | LENS SPHERE POST CURE 5 DAYS | 0.0002 | 16.911 |  | 0.0001 | 12 | 2009-07-07
|  | -0.0004 | 8.4555 |  |  |  | 11:30
-6.2979
135 | TOP CELL DC POST CURE 5 DAYS | -0.0001 | 13.2493 |  | 0.0004 | 4 | 2009-07-07
|  | 0 | 6.6247 |  |  |  | 11:31
0
136 | LENS DC FINAL | -0.0001 | 10.0379 |  | 0.0001 | 4 | 2009-07-07
|  | 0.0002 | 5.019 |  |  |  | 0:03
0
137 | LENS Z FINAL | 0 |  |  | 0 | 1 | 2009-07-07
|  | 0 |  |  |  |  | 0:05
2.1573
142 | LENS SPHERE FINAL | 0.0002 | 16.911 |  | 0.0001 | 12 | 2009-07-07
|  | -0.0003 | 8.4555 |  |  |  | 0:09
-6.2983
143 | TOP CELL DC FINAL | -0.0001 | 13.2494 |  | 0.0004 | 4 | 2009-07-07
|  | 0 | 6.6247 |  |  |  | 0:10
0

## Cam 5
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F]
1 | Plane 1 | 0.0351 |  | 0 | 0.0004
|  | 0.0362 |  | 90
|  | 0 |  | 0
2 | Point 2 | 0.0351 |  |  | 0
0.0362
0
3 | Circle 3 | 0 | 9.7495 |  | 0.0002
|  | 0 | 4.8747
0
4 | Circle 4 | 0 | 0.2507 |  | 0.0001
|  | -10 | 0.1253
0
5 | Line 5 | 0 |  | 270 | 0
|  | -5 |  | 180.0002
|  | 0 |  | 180
6 | DATUM A | 0.0351 |  | 0 | 0
|  | 0.0362 |  | 90
|  | 0 |  | 0
7 | DATUM C | 0 |  | 270 | 0
|  | -5 |  | 180.0002
|  | 0 |  | 180
8 | DATUM B | 0 |  |  | 0
0
0
18 | FIXTURE DC | 0.0001 | 7.4859 |  | 0.0004
|  | -0.0002 | 3.743
0
20 | FIXTURE TT | 0.0057 |  | 100.4568 | 0.0003
|  | -0.1418 |  | 89.9992
|  | -1.3394 |  | 359.9999
21 | CELL TT | -0.0476 |  | 75.8773 | 0.0005
|  | 0.0147 |  | 89.9993
|  | 1.2503 |  | 0.0002
22 | CELL DC | 0.0003 | 9.7494 |  | 0.0003
|  | 0.0001 | 4.8747
0
52 | DUMMY Z | 0 |  |  | 0
0
1.0527
53 | DUMMY TT | 0.0196 |  | 275.2196 | 0
|  | 0.1341 |  | 90.0021
|  | 1.0523 |  | 0.0002
54 | DUMMY DC | -0.0003 | 7.6098 |  | 0.0001
|  | 0 | 3.8049
0
55 | RE DATUM A | 0.1121 |  | 36.6623 | 0.0004
|  | 0.0231 |  | 89.9999
|  | -0.0002 |  | 0.0002
56 | RE DATUM B | -0.0001 | 9.7492 |  | 0.0004
|  | 0.0001 | 4.8746
0
57 | RE CELL TT | 0.0048 |  | 104.6275 | 0.0003
|  | 0.0208 |  | 89.9993
|  | 1.25 |  | 359.9998
58 | RE CELL DC | 0.0002 | 9.7494 |  | 0.0002
|  | 0.0001 | 4.8747
0
62 | LENS DC 1 | 0.0003 | 7.6131 |  | 0.0001
|  | 0.0002 | 3.8065
0
79 | LENS TT 1 | -0.0495 |  | 245.4483 | 0
|  | 0.0702 |  | 90.0035
|  | 1.0501 |  | 359.9984
81 | LENS DC 2 | 0 | 7.6131 |  | 0.0001
|  | 0.0003 | 3.8066
0
83 | LENS TT 2 | 0.0167 |  | 241.3054 | 0
|  | 0.1166 |  | 90.0031
|  | 1.0501 |  | 359.9983
109 | LENS Z 1 | 0 |  |  | 0
-0.0001
1.0527
113 | LENS TT 3 | 0.0321 |  | 212.6089 | 0.0001
|  | 0.2185 |  | 90.0011
|  | 1.0527 |  | 359.9982
114 | LENS DC 3 | 0 | 7.613 |  | 0.0001
|  | 0.0002 | 3.8065
0
122 | LENS Z 2 | 0 |  |  | 0
0
1.0527
123 | LENS TT 1_3 | 0.0573 |  | 206.9957 | 0.0001
|  | 0.1427 |  | 90.0013
|  | 1.0527 |  | 359.9974
124 | LENS TT 2_3 | 0.0424 |  | 203.8116 | 0
|  | 0.0572 |  | 90.0012
|  | 1.0527 |  | 359.9973
125 | LENS TT 3_3 | 0.0126 |  | 206.6277 | 0
|  | 0.0521 |  | 90.0013
|  | 1.0527 |  | 359.9973
126 | LENS DC 1_3 | 0.0001 | 7.6131 |  | 0
|  | 0.0002 | 3.8066
0
127 | LENS DC 2_3 | 0 | 7.6131 |  | 0.0001
|  | 0.0003 | 3.8066
0
128 | LENS DC 3_3 | 0 | 7.6132 |  | 0.0001
|  | 0.0002 | 3.8066
0
129 | LENS Z 1_3 | 0 |  |  | 0
0.0001
1.0527
130 | LENS Z 2_3 | 0 |  |  | 0
0.0001
1.0527
131 | LENS Z 3_3 | 0 |  |  | 0
0
1.0527
132 | Plane 132 | -0.0059 |  | 207.4808 | 0
|  | 0.0346 |  | 90.0017
|  | 1.0527 |  | 359.9967
133 | Plane 133 | -0.1082 |  | 203.9043 | 0.0001
|  | 0.0517 |  | 90.0019
|  | 1.0526 |  | 359.9958
134 | Plane 134 | 0.0037 |  | 211.9882 | 0
|  | 0.0398 |  | 90.0027
|  | 1.0526 |  | 359.9957
135 | Plane 135 | 0.0136 |  | 207.936 | 0
|  | 0.0895 |  | 90.0027
|  | 1.0526 |  | 359.9949
136 | LENS TT POST BOND | -0.0208 |  | 206.7261 | 0
|  | 0.1221 |  | 90.0029
|  | 1.0526 |  | 359.9942
137 | LENS DC POST BOND | 0.0001 | 7.613 |  | 0
|  | 0.0001 | 3.8065
0
138 | LENS Z POST BOND | 0 |  |  | 0
0
1.0526
139 | LENS TT AFTER CURE | -0.008 |  | 215.4549 | 0
|  | -0.0074 |  | 90.0036
|  | 1.0525 |  | 359.995
140 | LENS DC AFTER CURE | -0.0001 | 7.613 |  | 0.0001
|  | 0.0001 | 3.8065
0
141 | LENS Z AFTER CURE | 0 |  |  | 0
0
1.0525
144 | LENS TT FINAL | 0.0307 |  | 213.7612 | 0
|  | -0.0217 |  | 90.0036
|  | 1.052 |  | 359.9946
145 | LENS DC FINAL | 0.0002 | 7.6131 |  | 0.0001
|  | 0.0001 | 3.8065
0
147 | LENS Z FINAL 1 | 0 |  |  | 0
0
1.052
155 | LENS Z FINAL 2 | 0 |  |  | 0
0
1.052

## Cam 6
# | Description | [X,Y,Z]T | [D,R]T | [XYa, YZa, ZXa]T | [F] | # | S2 Radius | Girdle Dia.
1 | Plane 1 | 0.0155 |  | 0 | 0.0008 | 1 | 10.0367 | 4.8803
|  | 0.0096 |  | 90 |  | 2 | 10.038 | 4.8807
|  | 0 |  | 0 |  | 3 | 10.0374 | 4.8803
2 | Point 2 | 0.0155 |  |  | 0 | 4 | 10.0395 | 4.8807
|  | 0.0096 |  |  |  | 5 | 10.0372 | 4.8805
|  | 0 |  |  |  | 6 | 10.0361 | 4.8806
3 | Circle 3 | 0 | 7.4995 |  | 0.0002 | 7 | 10.0333 | 4.8807
|  | 0 | 3.7498 |  |  | 8 | 10.0361 | 4.8806
|  | 0 |  |  |  | 9 |  | 4.8803
4 | Circle 4 | 0 | 0.2506 |  | 0 | 10 |  | 4.8807
|  | -9.9998 | 0.1253 |  |  | 11 |  | 4.8805
|  | 0.0014 |  |  |  | 12 |  | 4.8808
5 | Line 5 | 0 |  | 270 | 0 | 13
|  | -4.9999 |  | 179.9922 |  | 14
|  | 0.0007 |  | 0 |  | 15
6 | DATUM A | 0.0155 |  | 0 | 0 | 16
|  | 0.0096 |  | 90 |  | 17
|  | 0 |  | 0 |  | 18
7 | DATUM C | 0 |  | 270 | 0 | 19
|  | -4.9999 |  | 179.9922 |  | 20
|  | 0.0007 |  | 0 |  | 21
8 | DATUM B | 0 |  |  | 0 | 22
|  | 0 |  |  |  | 23
|  | 0 |  |  |  | 24
36 | FIXTURE DC | -0.0002 | 4.8743 |  | 0.0008 | 25
|  | -0.0001 | 2.4372 |  |  | 26
|  | 0 |  |  |  | 27
37 | FIXTURE TT | 0.0046 |  | 231.9855 | 0.0005 | 28
|  | 0.0097 |  | 90.0028 |  | 29
|  | -1.1482 |  | 359.9978 |  | 30
38 | CELL TOP DATUM DIA | 0.0002 | 7.5007 |  | 0.0006 | 31
|  | -0.0002 | 3.7503 |  |  | 32
|  | 0 |  |  |  | 33
39 | CELL TOP DATUM FLAT | 0.0524 |  | 111.6907 | 0.0007 | 34
|  | 0.0269 |  | 89.9985 |  | 35
|  | 1.2444 |  | 359.9994 |  | 36
46 | LENS DC 1 | 0.0001 | 4.8803 |  | 0.0002 | 37
|  | 0.0001 | 2.4402
|  | 0 |  |  |  | Average | 10.0368 | 4.8806
73 | LENS Z 1 | 0 |  |  | 0 | Stdev | 0.0017924 | 0.00017816
|  | 0 |  |  |  | Min | 10.0333 | 4.8803
|  | 1.185 |  |  |  | Max | 10.0395 | 4.8808
75 | LENS DC 2 | 0.0003 | 4.8807 |  | 0 | Range | 0.0062 | 0.0005
|  | 0.0002 | 2.4403
0
77 | LENS TT 1 | 0.0344 |  | 50.3467 | 0
|  | -0.0087 |  | 89.8909
|  | 1.3047 |  | 0.0904
78 | LENS SPHERE 1 | 0.0161 | 20.0734 |  | 0.0001
|  | 0.02 | 10.0367
11.2217
79 | LENS DC 3 | 0.0003 | 4.8803 |  | 0.0002
|  | 0.0003 | 2.4402
0
98 | LENS DC 4 | -0.0001 | 4.8807 |  | 0.0001
|  | 0.0001 | 2.4403
0
103 | LENS TT 2 | 0.0024 |  | 71.4997 | 0.0001
|  | 0.0482 |  | 89.9987
|  | 1.3047 |  | 0.0004
106 | LENS Z 2 | 0 |  |  | 0
0
1.185
107 | Point 107 | 0 |  |  | 0
0.0001
1.3047
114 | LENS DC 5 | -0.0001 | 4.8805 |  | 0.0001
|  | -0.0001 | 2.4403
0
115 | LENS TT 3 | -0.0525 |  | 353.0717 | 0.0001
|  | 0.0579 |  | 90.0002
|  | 1.3047 |  | 0.0015
116 | LENS Z 3 | 0 |  |  | 0
0
1.185
117 | LENS SPHERE 2 | 0.0003 | 20.076 |  | 0.0001
|  | 0.0002 | 10.038
11.223
118 | Point 118 | 0 |  |  | 0
1.915
1.3048
119 | Point 119 | 0 |  |  | 0
-0.0162
1.3046
120 | Point 120 | 0 |  |  | 0
-0.0169
1.3048
121 | Point 121 | 0 |  |  | 0
-0.0171
1.244
122 | Point 122 | 0 |  |  | 0
0
1.3047
123 | LENS SPHERE 1_3 | 0 | 20.0749 |  | 0.0001
|  | 0.0003 | 10.0374
11.2223
124 | LENS SPHERE 2_3 | 0.0003 | 20.079 |  | 0.0001
|  | 0.0002 | 10.0395
11.2244
125 | LENS SPHERE 3_3 | 0.0002 | 20.0745 |  | 0.0001
|  | 0.0002 | 10.0372
11.2222
126 | LENS DC 1_3 | -0.0001 | 4.8806 |  | 0
|  | -0.0002 | 2.4403
0
127 | LENS DC 2_3 | 0 | 4.8807 |  | 0
|  | -0.0003 | 2.4403
0
128 | LENS DC 3_3 | -0.0002 | 4.8806 |  | 0.0001
|  | -0.0002 | 2.4403
0
130 | LENS Z 1_3 | 0 |  |  | 0
0
1.185
131 | LENS Z 2_3 | 0 |  |  | 0
0
1.185
138 | LENS Z 3_3 | 0 |  |  | 0
0
1.185
139 | Plane 139 | 0.0168 |  | 322.555 | 0
|  | -0.0083 |  | 90.0028
|  | 1.3048 |  | 0.0036
140 | Plane 140 | 0.0118 |  | 327.4918 | 0
|  | -0.0194 |  | 90.0029
|  | 1.3048 |  | 0.0046
141 | Plane 141 | 0.0086 |  | 317.9637 | 0.0001
|  | 0.0233 |  | 90.0034
|  | 1.3047 |  | 0.0038
142 | Plane 142 | 0.0082 |  | 310.7486 | 0
|  | 0.0145 |  | 90.0034
|  | 1.3047 |  | 0.003
143 | Circle 143 | 0.0002 | 4.8803 |  | 0.0003
|  | 0 | 2.4401
0
144 | Plane 144 | 0.0122 |  | 314.4757 | 0
|  | 0.0297 |  | 90.0043
|  | 1.3048 |  | 0.0043
145 | LENS TT POST BOND | 0.0123 |  | 308.0771 | 0
|  | 0.0345 |  | 90.0044
|  | 1.3048 |  | 0.0034
146 | LENS DC POST BOND | 0.0001 | 4.8807 |  | 0
|  | 0.0001 | 2.4403
0
147 | LENS Z POST BOND | 0 |  |  | 0
0
1.185
148 | LENS SPHERE POST BOND | 0.0006 | 20.0722 |  | 0.0001
|  | -0.0005 | 10.0361
11.2211
149 | LENS DC AFTER CURE | -0.0002 | 4.8805 |  | 0.0002
|  | 0 | 2.4403
0
150 | LENS TT AFTER CURE | 0.0254 |  | 288.5323 | 0
|  | -0.0056 |  | 90.0054
|  | 1.3047 |  | 0.0018
153 | LENS Z AFTER CURE | 0 |  |  | 0
0
1.185
154 | LENS SPHERE AFTER CURE | 0.0004 | 20.0665 |  | 0.0001
|  | -0.0008 | 10.0333
11.2182
155 | LENS DC FINAL | 0 | 4.8808 |  | 0.0001
|  | -0.0002 | 2.4404
0
156 | LENS TT FINAL | 0.0505 |  | 299.2516 | 0
|  | -0.0427 |  | 90.0066
|  | 1.3045 |  | 0.0037
157 | LENS Z FINAL | 0 |  |  | 0
0
1.1848
159 | LENS SPHERE FINAL | 0.0008 | 20.0722 |  | 0.0001
|  | -0.0009 | 10.0361
11.2209