Meeting 4 Action Items (Status as of 3/16/07)

Attended by Adkins, Bouchez, Clare, Dekany, Flicker, Gavel, Max, Moore, Neyman, Velur, Wizinowich (Meguro & van Dam attended part)

Polycom/phone: Bauman, Le Mignant, Marchis

Complete

Incomplete

Comments

Action item removed

Action Items:

- Management topics

  - Move out proposal and fundraising WBS element when replan.

  - Need reports/presentations posted well enough in advance to allow advanced review of materials in order to reduce presentation time and increase discussion time (and to be better prepared).

  - Get teams more together during meetings

  - Need work scope planning sheets for all items due at next meeting by 1/30.

  - Include reviewer name on work scope planning sheet.  They should review the penultimate draft.  Disagreements or increases in scope should be brought to the attention of the EC.  Decision to not have assigned reviewers.

  - Include a linked list of KAONs on Twiki.

  - Schedule a separate meeting(s) for replanning.

- Science Case Requirements

  - Contiguous Field of View

    - Need to understand need for deployable imagers (as part of d-IFUs?)

  - Should add a TDAWG category to science case requirements

  - Need to understand science benefit of lower emissivity.  Choose the appropriate science cases for use with emissivity performance budget.

  - Determine if we are missing an IFU behind a coronagraph for high contrast science.

- Science Operations

  - At some point we need to understand the cost/benefit trade for different observing models and different observing efficiencies and uptimes.

  - DLM proposed delaying WBS 3.4.2.1.  Needs discussion with EC to determine when this needs to be done.

  - Need to think about whether NIR and visible science instruments need different observing models and/or observing efficiency budgets.

  - Would like to understand the required number of hot science instruments and the switching time between instruments and between science modes (i.e., LGS and NGS)

  - Are alternate AO modes useful for backup?  For example in poor seeing conditions should L-band be used and would this increase its priority?

  - Could double science return on photometric nights by having AO capabilities on both telescopes.  Should we consider different science capabilities on the two telescopes?

  - Determine how DLM can work effectively with science teams on generating the observing scenarios.

  - Should make sure that the observing model supports targets of opportunity for transient objects.

- Performance Budgets

  - Publish assumptions for each science case.

  - Need to make current version of spreadsheet, along with changes, available to team.

  - Need additional guidance on what best case to include and to include it.

  - Same for worst case.

  - Astrometry error budget needs to consider breathing in an MCAO system.

  - Make draft photometry document available on Twiki.

  - Add another person to polarimetry team (Graham or Perrin or Metchev)?

  - Need to complete planning sheets for many of the performance budgets (have for WFE & EE, observing efficiency and uptime + throughput & background & companion sensitivity).

  - May want to use more inclusive PSFs in evaluating the EE budget.

  - Evaluate sensitivity of EE budget to changes in Strehl.

  - Consider different treatment of a wider field tip/tilt star for just windshake correction in WFE.

  - Include AO amplification in WFE.

  - Include focus errors from M2 piston vibrations in WFE.

- Telescope Wavefront Errors

  - Consider use of additional information such as segment edge sensors or frequency of vibrations.

  - Consider a NGAO budget item for reducing Observing vibration environment or improving ACS or ?

  - Evaluate tip/tilt due to wind and/or telescope structural vibrations.

  - Evaluate secondary piston vibrations impact.

  - Need to understand tip/tilt requirements to deal with tip/tilt vibrations (whether correcting with tip/tilt stage or DM).  Also consider use of a parametric oscillator or Kalman filter.

  - Summarize TS in a KAON.  Draft near completion.

- LGS Wavefront Sensor

  - Presentation needs corrections in a number of places; especially bad seeing plot.

  - Use 8 LGS asterism for wide field SHWFS case to check number of subapertures.  If this is quick it is worth doing.

  - Summarize TS in a KAON. Draft posted.

  - Get results of pulsed vs CW study with radial format CCD (SA to provide in 4-6 weeks).

- Low Order Wavefront Sensor

  - Summarize TS in a KAON.

  - Where is the plateau in lower tip/tilt error vs number of tip/tilt sensors? In KAON, but at 2 or 3.

  - Are there ways to deal with the null modes such that a TTFA is not needed for this purpose (can use a slow WFS for Na distance)?  Unresolved.

  - What is the magnitude and required bandwidth for dealing with null modes?  Unresolved.

  - Determine impact of TT sensors using multiple wavelength.  In KAON, large improvement if use multiple (i.e., J+H bands).

- On-sky experiments in 07A

  - Understand what NGWFC telemetry should be recorded for next GC observations to help understand astrometry performance budget.  Or additional observations and/or engineering time.

  - Consider whether we need to have a PSF reconstruction trade study (Chris has done a literature search).  Consider whether we want to try this with NGWFC telemetry.

  - Need to consider whether/how we want to get better measurements of outer scale and/or isokinetic angle.

- Instrument Reuse Trade Study

  - Need to answer science requirements questions in presentation.

    - In near term Claire to understand L & M band science requirements.

  - Change name to “L and M band imager” per request.

  - Write up NIRC2 reuse KAON in near term (as 1st light instrument, NIR imager and L&M band imager) to close out this item for the time being (seems scientifically low priority right now).  This could be part of a larger instrument reuse TS or a separate KAON.

  - Add NIRSPEC reuse to instrument reuse TS.

  - Include what the reused instruments would be capable of doing behind NGAO (without or with upgrades).

- Instruments

  - Sean and Don to talk to Eikenberry about possible NGAO involvement.