## Science Cases
# | Key Science Drivers | NGS Configuration |  | LGS Configuration |  | Notes
|  | Primary | Secondary | Primary | Secondary
1 | Minor planets as remnants of early Solar System |  |  |  |  | Differential tracking option needed for LOWFS & truth WFS
| Survey |  |  | 4e | 4a-d,4f
| Orbit Determination |  |  | 5a | 4ef,5b
2 | Planets around low-mass stars
| Survey |  |  | 4c-f,6c-f
| Spectra |  |  | 6c-f,4c-f |  | Narrow band imaging filters may be adequate
3 | General Relativity at the Galactic Center
| Astrometry |  |  | 4a | 4c
| Radial Velocities with dIFS |  |  | 1
| Radial Velocities with OSIRIS |  |  | 6ac
4 | Black hole masses in nearby AGNs |  |  | Vis spectra | 6ce
5 | High-redshift galaxies |  |  | 1
# | Science Drivers
1 | Asteroid size, shape, composition |  |  | 5a | 4e | Differential tracking option needed for LOWFS & truth WFS
2 | Giant Planets and their moons |  |  |  |  | Differential tracking option needed for LOWFS & truth WFS
| Imaging | 4a | 5a, 7a | 4ace | 5a, 7ace
| Spectroscopy | 6a |  | 6ace
3 | Debris disks and Young Stellar Objects
| Imaging | 4ab |  | 4a-f |  | Need coronagraph. Polarimetry useful.
| Spectroscopy | 6ab |  | 6a-f
4 | Astrometry in sparse fields |  |  | 4ace
5 | Resolved stellar populations in crowded fields |  |  | 4ace
6 | QSO host galaxies
| Imaging |  |  | 4ace
| Spectroscopy |  |  | 6ace
7 | Gravitationally lensed galaxies by other galaxies
| Imaging |  |  | 4ace | 5a
| Spectroscopy |  |  | 6ace
8 | Gravitationally lensed galaxies by clusters
| Imaging |  |  | 4ace
| Spectroscopy |  |  | 1
9 | Backup Science
| Faint NGS science | 9ab
Seeing-limited science with acquisition camera
Notes:
The numbers (i.e., 4e) in the NGS & LGS Config columns refer to column A in the "System Configs" tab.
Science does not need simultaneous imaging & spectroscopy.

## System Configs
# | Configuration | Science λ | Science Field Diameter | Rotator Mode | Projected LGS Asterism | LGS Asterism Rotation | Woofer | LGS dichroic | LGS Acquis Fold | LGS WFSs | Post Relay 1 Dichroic | Interfer-ometer Fold | NGS Acquis Fold | LOWFS/TWFS Diff Tracking | LOWFS & PSF ADC | LOWFS + Tweeter | 1st relay Truth Sensor | PSF Monitor +Tweeter | d-IFS | Interferometer | OHANA | 2nd Relay Tweeter | NGS WFS Dichroic | NGS Visible ADC | Field Steering Tracking | 2nd FSM Position | NGS WFS | 2nd relay Truth Sensor | Visible Imager Dichroic | Visible Imager ADC | Visible Imager | NIR ADC | OSIRIS Fold | OSIRIS | NIR Camera
NGS Science Modes
2a | Interferometry of bright on-axis NGS | H - L | ≤ 2" | Fixed field |  |  | Yes | Out |  |  | J-L transmit / vis reflect | Mirror | Out | [6 empty] | Single object |  | Flat | Vis reflect | Track or out |  | NGS WFS | Yes
2b |  |  |  | Fixed pupil
3 | Dual star Interferometry | H - L | ≤ 60" | Fixed field |  |  | Yes | Out |  |  | J-L transmit / vis reflect | Mirror | Out | [6 empty] | Dual object |  | Flat | Vis reflect | Track or out |  | NGS WFS | Yes
4a | NIR Camera | z - K | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Yes | Vis reflect /IR trans | Track or out | Option | NGS WFS | Yes |  | Out or IR transmit |  |  | Track or out | Out |  | Yes
4b |  |  | ≤ 2" | Fixed pupil
5a | Visible Camera | I - Y | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Yes | I transmit / <I reflect | Track or out | Option | NGS WFS | Yes |  | Vis reflect | Track or out | Yes
5b |  |  | ≤ 2" | Fixed pupil
6a | OSIRIS | z - K | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Yes | Vis reflect /IR trans | Track or out | Option | NGS WFS | Yes |  | Out or IR transmit |  |  | Track or out | Mirror | Yes
6b |  |  | ≤ 2" | Fixed pupil
7a | NIR & Vis Cameras | I - K | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Yes | I transmit / <I reflect | Track or out | Option | NGS WFS | Yes |  | Vis reflect /IR trans | Track or out | Yes | Track or out | Out |  | Yes
7b |  |  | ≤ 2" | Fixed pupil
8a | NIR Camera & OSIRIS | z - K | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Yes | Vis reflect /IR trans | Track or out | Option | NGS WFS | Yes |  | Out or IR transmit |  |  | Track or out | Need options | Yes | Yes
8b |  |  | ≤ 2" | Fixed pupil
9a | Faint NGS + NIR Cam or OSIRIS | J-K | ≤ 30" | Fixed field |  |  | Yes | Out |  |  | Mirror | [10 empty] | Flat | Vis reflect /IR trans | Track or out | Option | NGS WFS | Yes |  | Out or IR transmit |  |  | Track or out | Out or Mirror | Option | Option
9b |  |  | ≤ 2" | Fixed pupil
TBD
10 | Field Acquisition | Current | Full | Current |  |  | Flat | Out |  |  | Vis transmit | Out | Mirror | [6 empty] | Current | Current |  | Current | Current | Option | NGS WFS | Current |  | Current | Current | Current | Current | Current | Current | Current
LGS Science Modes
1 | d-IFS | z - K | ≤ 120" | Fixed field | Wide | Yes for field | Yes | In | Out | 9 | Out | Out | Out | No | Tracking | 3 | Yes | Option | Yes
2a | Interferometry of faint on-axis NGS | H - L | ≤ 2" | Fixed field | Narrow | Yes for field | Yes | In | Out | 6 | Out | J transmit / HK reflect | Out | No | Tracking | 1 on-axis | Yes, on-axis | Option |  | Single object
2b |  |  |  | Fixed pupil |  | No, fixed | [6 empty] | Out |  |  |  |  | Unlikely
3 | Dual star Interferometry | H - L | ≤ 60" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | Out | J transmit / HK reflect | Out | No | Tracking | 3 | Yes | Option |  | Dual object
4a | NIR Camera | K | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | JH transmit / K reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes | Out |  | Option | TWFS |  | Yes | Out or IR trans |  |  | Track or out | Out |  | Yes
4b |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
4c |  | H | ≤ 30" | Fixed field | ≤ Medium | Yes for field |  |  |  | 9 | J transmit / H reflect |  |  | Option |  | 3 | Option | Option | [9 empty] | Yes
4d |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
4e |  | z - J | ≤ 30" | Fixed field | ≤ Medium | Yes for field |  |  |  | 9 | H transmit /zJ refl |  |  | Option |  | 3 | Option | Option | [9 empty] | Yes
4f |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
5a | Visible Camera | 0.7-1µm | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | JH transmit / vis reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes | Out | Track or out | Option | TWFS |  | Yes | Vis reflect | Track or out | Yes
5b |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
6a | OSIRIS | K | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | JH transmit / K reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes | Out |  | Option | TWFS |  | Yes | Out or IR trans |  |  | Track or out | Mirror | Yes
6b |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
6c |  | H | ≤ 30" | Fixed field | ≤ Medium | Yes for field |  |  |  | 9 | J transmit / H reflect |  |  | Option |  | 3 | Option | Option | [9 empty] | Yes
6d |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
6e |  | z - J | ≤ 30" | Fixed field | ≤ Medium | Yes for field |  |  |  | 9 | H transmit /zJ refl |  |  | Option |  | 3 | Option | Option | [9 empty] | Yes
6f |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
7a | NIR & Vis Cameras | I,K | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | JH transmit / IK reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes | Out | Track or out | Option | TWFS |  | Yes | Vis reflect /IR trans | Track or out | Yes | Track or out | Out |  | Yes
7b |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
7c |  | I,H | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | J transmit / IH reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes |  | Track or out |  |  |  | Yes |  | Track or out | Yes | Track or out | Out |  | Yes
7d |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
7e |  | I,J | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | H transmit / IJ reflect | Out | Out | Option | Tracking | 3 | Option | Option |  |  |  | Yes |  | Track or out |  |  |  | Yes |  | Track or out | Yes | Track or out | Out |  | Yes
7f |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [9 empty] | on-axis
8a | NIR Camera & OSIRIS | z-K | ≤ 30" | Fixed field | ≤ Medium | Yes for field | Yes | In | Out | 9 | Same as NIR Cam | Out | Out | No | Tracking | 3 | Option | Option |  |  |  | Yes | Out | Track or out |  | TWFS |  | Yes | Out or IR trans |  |  | Track or out | Need options | Yes | Yes
8b |  |  | ≤ 2" | Fixed pupil | Narrow | No, fixed |  |  |  | 6 |  |  |  | No |  | 1 on-axis | Unlikely | Unlikely | [6 empty] | Option |  |  | on-axis
TBD
10 | Field Acquisition | Current | Full | Current |  |  | Flat | In |  |  | Vis transmit | Current | Mirror | Current | Current | Current | Current | Current | Current | Current | Current |  | Current | Current | Current | TWFS |  | Yes | Current | Current | Current | Current | Current | Current | Current
11 | LGS Acquisition | Current | Full | Current | Current | Current | Flat | In | Mirror | Current | Current | Current | [6 empty] | Current | Current | Current |  | Current | Current | Current | TWFS |  | Current | Current | Current | Current | Current | Current | Current | Current
Note on B15: Grayed out because this is not a required mode.
Note on B47: Grayed out because this is not a required mode.
Note on P1: Each LOWFS head & the PSF monitoring head have an ADC. The ADC is nominally not removable.
Note on Q1: Low Order Wavefront Sensor: 2 tip-tilt sensors. 1 tip-tilt,focus, astigmatism sensor sharing light with an IR truth sensor on the same mechanism. Each LOWFS arm has a tweeter DM.
Note on S1: peterw: IR PSF monitor with a tweeter DM with the same number of actuators as the 2nd relay tweeter.
Note on Y1: Needs to track when in.
Note on AA1: The 2nd field steering mirror is on a rotary stage to feed either the NGS WFS or TWFS.

## Dichroics
Dichroic or Fold | # | Options | NGS | LGS | Transmit | Reflect | R (extra) | Notes
LGS dichroic | 1 | Out | All |  | All | None
| 2 | In |  | All | 0.4-L | 589 nm |  | Notch filter ideal. ≥ 600nm an option
LGS Acquis Fold | 1 | Out | n/a | 1-6 | All | None
| 2 | Mirror | n/a | 11 | None | 589 nm
Post Relay 1 Dichroic | 1 | IR transmit / vis reflect | 2,3 | 5 | JH | ≤ 1 µm | K
| 2 | Mirror | 4-8 |  | None | All
| 3 | Out |  | 1-3 | All | None
| 4 | JH transmit / K reflect |  | 4ab, 6ab | JH | K | ≤ 1 µm | Address with #1 (if can do R (extra))
| 5 | J transmit / H reflect |  | 4cd, 6cd | J | HK | ≤ 1 µm
| 6 | H transmit / IJ reflect |  | 4ef, 6ef, 7ef | H | < H | K
|  | JH transmit / IK reflect |  | 7ab |  |  |  | Address with #1 (if can do R (extra))
|  | J transmit / IH reflect |  | 7cd |  |  |  | Address with #5 (if can do R (extra))
Interfer-ometer Fold | 1 | Mirror | 2,3 |  | None | All
| 2 | Out | 10 | 1,4-6 | All | None
| 3 | J transmit / HKL reflect |  | 2,3 | J | HKL
NGS Acquis Fold | 1 | Out | 2,3 | 1-6 | All | None |  | May need to replace mirror w/ a beamsplitter or to provide a 3rd position
| 2 | Mirror | 10 | 10 | None | All
NGS WFS Dichroic | 1 | IR transmit / vis reflect | All | 5 | Y-K | 0.4-0.95µm
| 2 | I transmit / < I reflect |  |  | ≥ 0.7 µm | 0.4-0.7µm
| 3 | Out |  | 4,6 | All | None
Visible Imager Dichroic | 1 | IR transmit / vis reflect |  |  | ≥ 1 µm | 0.7-1.0µm
| 2 | Out |  |  | All | None
| 3 | Mirror |  |  | None | 0.7-1.0µm |  | If #1 good then may not be needed.
OSIRIS Fold | 1 | Out | 4,7 | 4 | All | None
| 2 | Mirror | 6 | 6 | None | z-K
Notes:
The numbers (i.e., 4e) in the NGS & LGS columns refer to column A in the "System Configs" tab.
Decision not to provide simultaneous OSIRIS with NIR Camera.

## AO Opto-mechanical PBS
Product Breakdown Structure Components | Assembly | Alignment | Testing | Motion Control DOF | Spares
Rotator | Y | Y | Y
Mirror Box | Y | Y
Mirror Housing
Bearing |  |  | Y
Fabricated Parts
OTS Hardware
M1 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
M2 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
M3 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Rotation Assembly | Y
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling | Y
Shielded Cable
Connectors
Rotator Support | Y
Baseplate | Y
Fabricated Parts
OTS Hardware
Rotation Stage Support | Y
Fabricated Parts
OTS Hardware
Bearing Support | Y
Fabricated Parts
OTS Hardware
Specialized Tools
Reference Targets
Documentation
Vendor
Procedures
Test Results
Optical Relays
Entrance Window | Y |  | Y
Optic
Polished Substrate |  |  | Y
AR Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
OAP1 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Commercial 5-DOF Mount
Baseplate
Fabricated Parts
OTS Hardware
Fold Mirror | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Commercial 2-DOF Mount
Baseplate
Fabricated Parts
OTS Hardware
Woofer DM Mount
Baseplate | Y
Fabricated Parts
OTS Hardware
OAP2 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Commercial 5-DOF Mount
Baseplate
Fabricated Parts
OTS Hardware
OAP3 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Commercial 5-DOF Mount
Baseplate
Fabricated Parts
OTS Hardware
Tweeter DM Mount
Baseplate | Y
Fabricated Parts
OTS Hardware
OAP3 | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Commercial 5-DOF Mount
Baseplate
Fabricated Parts
OTS Hardware
Specialized Tools
Reference Targets
Documentation
Vendor
Procedures
Test Results
Optical Switchyard
LGS WFS Dichroic Switcher | Y |  | Y
Sodium Notch Dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
LGS Acquisition Fold Switcher | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mirror Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
Narrow Field Science Dichroic Switcher | Y | Y | Y
IR transmit / vis reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
JH transmit / K reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
J transmit / H reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
H transmit / IJ reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Dichroic Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
Interferometer Dichroic Switcher | Y | Y | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
J transmit / HKL reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Dichroic Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
NGS Acquisition Dichroic Switcher | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
NGS WFS Dichroic Switcher | Y |  | Y
IR transmit / vis reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
I transmit / < I reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
Visible Camera Dichroic Switcher | Y | Y | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
IR transmit / vis reflect dichroic
Polished Substrate |  |  | Y
Dichroic Coating |  |  | Y
AR Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
OSIRIS Fold Switcher | Y |  | Y
Mirror
Polished Substrate |  |  | Y
Coating |  |  | Y
Mount
Fabricated Parts
OTS Hardware
Switching Mechanism
Rotation Stage |  |  | Y | 1
Motor
Encoder
Limit Switch
Cabling
Shielded Cable
Connectors
Baseplate
Fabricated Parts
OTS Hardware
Documentation
Vendor
Procedures
Test Results
AO Support Structure
LGS Wavefront Sensors
NGS Wavefront Sensors
Field Steering Mirror Assembly | Y | Y | Y
FSM1
Mirror
Az/El Stage | Y |  | Y
Commercial Stage |  |  |  | 2
Motors (2)
Encoders (2)
Fabricated Parts
Cabling
FSM2
Mirror
Az/El Stage | Y |  | Y
Commercial Stage |  |  |  | 2
Motors (2)
Encoders (2)
Fabricated Parts
Cabling
FSM2 El Rotation Stage
Rotation Stage |  |  | Y | 1
Motor
Limit Switches
Cabling
Support
Fabricated Parts
COTS Parts
NGS WFS Camera | Y | Y | Y
Field Stop |  |  |  | 1
Pupil Relay Optics
Lenslets |  |  |  | 2
Image Reducer Optics
Camera
NGS WFS Plate Scale Focus Stage |  |  |  | 1
NGS WFS Focus Stage |  |  |  | 1
Low Order Wavefront Sensors
Object Selection Mechanism
Truth Wavefront Sensors
NIR TWFS
Visible TWFS
DMs & Tip/Tilt Stages
Woofer DM & TT | Y
DM
TT Stage
Mechanical Interface
Tweeter DM & TT | Y
DM
TT Stage
Mechanical Interface
LOWFS DM & TT (3) | Y
DM
TT Stage
Mechanical Interface
NIR TWFS DM & TT | Y
DM
TT Stage
Mechanical Interface
PSF Monitor DM & TT | Y
DM
TT Stage
Mechanical Interface
Tip/Tilt Vibration Mitigation
Acquisition Cameras
NGS Acquisition Camera
LGS Acquisition Camera
Atmospheric Dispersion Correctors
LOWFS ADCs (3) |  |  |  | 6
PSF Monitor ADC |  |  |  | 2
NGS WFS ADC |  |  |  | 3
Visible Camera ADC |  |  |  | 3
NIR Science ADC |  |  |  | 3
Total DOF = |  |  |  | 36