NGAO

Electronics Architecture mini-Review

Jan-2010

Response to Reviewer Comments: Velur

KAON 668: Device Control Architecture

Suggest adding a timing card to the RTC camera controllers

The timing system needs significant work. The relevant sections will be updated as the designs mature.

Suggest that two interface cards can be used to allow independent command and data communication links

Thomas Stalcup made a similar comment. Will continue to research the camera controllers and the possible interfaces for commands and data.

KAON 701: Preliminary Electronics Architecture

Section 4.5: Additional input on camera configuration, timing and cabling

Input will be included in document revision. Thank you.