- NGAO

- Electronics Architecture mini-Review

Jan-2010

- Response to Reviewer Comments: Wallace

KAON 668: Device Control Architecture

LOWFS section of Table 1

Reminder that strain-gauge feedback required for T/T PZT stages and that AC excitation is preferred to avoid low-frequency drift.

Noted.

Comment on detector readout electronics baseline: Leach controller set – boards for clocks, biases and signals will be required.

Noted.

TWFS is fundamentally different; suggest separating it from the IR section

Will be included in document update.

Comment on preference to avoid ion pumps on cryostats.

Noted. Given the state of the design, this table was based on equipment that might be required.

Comment regarding heater/controller for cryostat

This was intended, but not clear. Table will be revised.

Updated paragraph on LOWFS design, section 3.10.

Will be included in document revision.

KAON 701: Preliminary Electronics Design

Updates for section 4.7, including optical schematic, cabling, support equipment, etc.

Thank you. This will be reviewed and included in document revision.