## Template
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category | WBS | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified | Comments
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | text | text | text | selection | selection | string | date | date | text string
comments | Just a unique number in the database (leave blank) |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006) |  |  | What part of the system is the requirement assigned to (by WBS) | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification | anything else
|  |  | pick one from list: | pick one from list: | pick one from list: | pick one from list: |  |  |  | pick one from list: | pick one from list:
|  | Chris Neyman | Mechanical | Implementation Requirements | Feature | 3.2 AO System | Location: AO system is located on the Nasmyth platform. | Design decision of NGAO team. Reference: KAON 499 | KAON 499 "NGAO System Architecture Definition" | draft | inspection | 0.3 | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Mechanical | Performance Requirements | Parametric | 3.2 AO System | Motion control: For devices that must track paralactic angle changes, the rate of compensation will be consistent with the zenith “dead zone” of Keck telescope’s maximum tracking rate in azimuth. | Telescope's maximum azimuth tracking speed set required tracking speed for devices that track paralactic angle changes, otherwise device is over specified. | Engineering decision by Chris Neyman
|  | Chris Neyman | Electronic/Electrical | Performance Requirements | Parametric | 3.2 AO System | Power consumption: Allowable power consumption is TBD | Allowable power consumption has implication for removal of waste heat from the AO enclosure and from associated area in the observatory. | Engineering decision by Chris Neyman | draft | analysis | 0.3 | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Electronic/Electrical | Design requirements | Integration | 3.2 AO System | Azimuth cable wrap: Electrical connections between the NGAO systems on the Nasmyth platform to other location in the observatory will be through the azimuth cable wrap | This is the standard cable routing between Nasmyth platform and other locations at the observatory. | Engineering decision by Chris Neyman, implied by use of Nasmyth platform | draft | inspection | 0.3 | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Reliability | Performance Requirements | Operational | 3.2 AO System | Downtime: NGAO shall be designed to minimize downtime. The current SRD requires ≤ 5% of observing time lost to problems and the median time between faults during observing time should be ≥ 3 hrs | Maximize observational opportunities for NGAO. | System requirements document v1.15, section 13 reliability requirements | draft | analysis | 0.3 | 2007-09-11 | 2007-10-10
|  |  | Reliability | Implementation Requirements | Feature | 3.2 AO System | NGAO will provide built-in diagnostics and be fully operable and maintainable by observatory staff | Implication of requirements for facility class instrumentation | System requirements document v 1.15 requirement 21.1
|  | Chris Neyman | Reliability | Performance Requirements | Parametric | 3.2 AO System | Operational readiness: The system shall be designed for operation on a TBD basis. The system shall be designed to be deployed at night with TBD hours of preparation for setup and calibration, so that it can support both classical and semi queue scheduled modes. Setup and preparation times: Daytime prep time TBD Nighttime setup time TBD Object setup TBD | Maximize observational opportunities for NGAO | System requirements document, v1.15, section 6.2.5 Observatory Operational Requirements | draft | analysis | 0.3 | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Spares | Implementation Requirements | Common Practices | 3.2 AO System | TBD pending results of a failure analysis of system. | Implication of requirements for facility class instrumentation | listed as TBD in SRD v1.15, see sections 13-15, Instrument Baseline Requirements, Sean Adkins, Version 0.1, January 15, 2007 |  |  |  | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Service and Maintenance | Implementation Requirements | Common Practices | 3.2 AO System | TBD pending results of a failure analysis of system. | Implication of requirements for facility class instrumentation | listed as TBD in SRD v1.15, see sections 13-15, Instrument Baseline Requirements, Sean Adkins, Version 0.1, January 15, 2007 |  |  |  | 2007-09-11 | 2007-10-10
|  | Chris Neyman | Documentation | Design requirements | Standards | 3.2 AO System | Documentation: Standard documentation provided including: Mechanical drawings, Electrical schematics, Optical design prescription and Optical alignment plan | Observatory requirement for new instrumentation | Instrument Baseline Requirements, Sean Adkins, Version 0.1, January 15, 2007 | draft | inspection | 0.3 | 2007-09-11 | 2007-10-10

## AdkinsTaxonomy
See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
Adkins requirements taxonomy
Document Sections (roughly by engineering discipline) | Categories | Sub Categories
Performance Requirements
Overall |  | Parametric Performance Requirements
Optical |  | Operational Performance Requirements
Mechanical | Implementation Requirements
Electronic/Electrical |  | Feature Implementation Requirements
Safety |  | Common Practices Implementation Requirements
Software |  | Standards Implementation Requirements
Interface |  | Regulatory Implementation Requirements
Reliability | Design requirements
Spares |  | Technological Design Requirements
Service and Maintenance |  | Regulatory Design Requirements
Documentation |  | Standards Related Design Requirements
Integration Related Design Requirements

## RequirementsOutline
| Outline of requirements document | See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
1 | Introduction
2 | Scope and Applicability
3 | Related Documents
4 | Revision History
5 | Background
6 | Overall System Requirements
Performance Requirements
Implementation Requirements
Design Requirements
7 | Optical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
8 | Mechanical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
9 | Electronic/Electrical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
10 | Safety Requirements
Performance Requirements
Implementation Requirements
Design Requirements
11 | Software Requirements
12 | Interface Requirements
Performance Requirements
Implementation Requirements
Design Requirements
13 | Reliability Requirements
14 | Spares Requirements
15 | Service and Maintenance Requirements
16 | Documentation Requirements
Glossary

## DataBaseFields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | int | int | int | int | text | text | text | selection | selection | string | date | date
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  | What part of the system is the requirement assigned to (by WBS) | What part of the system is the requirement assigned to (by WBS) |  |  |  | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification
Selections |  |  | pick one: | pick one: | pick one: | pick one: | [7 empty] | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | [8 empty] | draft | inspection
|  |  | Optical |  | Parametric | [8 empty] | final | analysis
|  |  | Mechanical |  | Operational | [8 empty] | approved | demonstration
|  |  | Electronic/Electrical | Implementation Requirements | if implementation: | [8 empty] | pending approval | test
|  |  | Safety |  | Feature | [8 empty] | disapprove
|  |  | Software |  | Common Practices
|  |  | Interface |  | Standards
|  |  | Reliability |  | Regulatory
|  |  | Spares | Design requirements | if design:
|  |  | Service and Maintenance |  | Technological
|  |  | Documentation |  | Regulatory
Standards
Integration

## pickfields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Status | Verification method
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection | int | int | int | int | selection | selection
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  |  | What part of the system is the requirement assigned to (by WBS) |  |  |  |  | How the requirement is tested
Selections |  |  | pick one: | pick one: | pick one: | pick one |  |  |  |  | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | 3.2 AO System |  |  |  |  | draft | inspection
|  |  | Optical | Implementation Requirements | Parametric | 3.2.1 AO System Architecture |  |  |  |  | final | analysis
|  |  | Mechanical | Design requirements | Operational | 3.2.2 AO Enclosure |  |  |  |  | approved | demonstration
|  |  | Electronic/Electrical |  | if implementation: | 3.2.3 Opto-mechanical |  |  |  |  | pending approval | test
|  |  | Safety |  | Feature | 3.2.3.1 Field Rotation |  |  |  |  | disapprove
|  |  | Software |  | Common Practices | 3.2.3.2 Optical Relay
|  |  | Interface |  | Standards | 3.2.3.3 Optical Switchyard
|  |  | Reliability |  | Regulatory | 3.2.3.4 Optical Support Structure
|  |  | Spares |  | if design: | 3.2.3.5 Wavefront Sensors
|  |  | Service and Maintenance |  | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors
|  |  | Documentation |  | Regulatory | 3.2.3.5.2 High Order NGS Wavefront Sensor
[5 empty] | Standards | 3.2.3.5.3 Low Order NGS Wavefront Sensors
[5 empty] | Integration | 3.2.3.5.4 Calibration Wavefront Sensor
3.2.3.6 Wavefront Correctors
3.2.3.6.1 Tip/Tilt Corrector
3.2.3.6.2 Deformable Mirror
3.2.3.6.3 Tip/tilt Vibration Mitigation
3.2.3.7 Acquisition Cameras
3.2.3.7.1 NGS Acquisition Camera
3.2.3.7.2 LGS Acquisition Camera
3.2.3.8 Atmospheric Dispersion Correction
3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring
3.2.3.10 Atmospheric Profiler
3.2.3.11 d-IFU & LOWFS AO & Object Selection
3.2.3.12 PSF Monitoring Camera
3.2.4 Non-real-time Control
3.2.4.1 Non-RTC Software
3.2.4.2 Non-RTC Electronics
3.2.5 Real-time Control
3.2.5.1 RTC Architecture Analysis and Design Study
3.2.5.2 RTC Software Module Definition
3.2.5.3 RTC Hardware Module Definition
3.3 Laser Facility
3.3.1 Laser System Architecture
3.3.2 Laser Enclosure
3.3.3 Laser
3.3.4 Laser Launch Facility
3.3.4.1 Laser Beam Transport
3.3.4.2 Laser Pointing & Diagnostics
3.3.4.3 Laser Launch Telescope
3.3.5 Laser Safety Systems
3.3.5.1 Personnel and Equipment Safety Systems
3.3.5.2 Aircraft, Satellite & Laser Traffic Control Safety Systems
3.3.6 Laser System Control
3.3.6.1 Laser System Software
3.3.6.2 Laser System Electronics