## Template
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category | WBS | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified | Comments
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | text | text | text | selection | selection | string | date | date | text
comments | Just a unique number in the database (leave blank) |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006) |  |  | What part of the system is the requirement assigned to (by WBS) | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification | history of modification
|  |  | pick one from list: | pick one from list: | pick one from list: | pick one from list: |  |  |  | pick one from list: | pick one from list:
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Purpose: the laser guide star (LGS) wavefront sensor (LGSWFS) shall be able to measurement the wavefront using several sodium laser guide stars as reference sources. | need LGS to achieve high Strehl over large percentage of the sky | Architecture requirements summary spreadsheet (row 10) sky coverage. KAON 499 "NGAO System Architecture Definition" | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | LGS configuration: The laser guider star wavefront sensors shall operate in a configuration with one wavefront sensor channel per laser guide star | standard configuration for multiple LGS systems, note: "layer oriented" wavefront sensing is at yet unproven, see ESO MAD test in 2008. | KAON 499 "NGAO System Architecture Definition" | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Multiple laser guider star operation: the LGS WFS shall support up to 9 laser guide stars. The current NGAO architecture assumes six lasers arranged in a regular pattern or constellation on the sky. Of these lasers, one is located at the center of the field of view and the other five are arranged in a regular pentagon around the central star. The remaining 3 guide stars can be positioned at random around the field of view for AO correction of natural guide stars used in sensing the tip tilt and other low spatial order aberrations. | Large number of LGS need to minimize the tomography error for wide field instruments. Roving LGS needed for low tip tilt errors high sky coverage. | Architecture requirements summary spreadsheet (row 10) sky coverage and (row 11) high order wavefront error. KAON 499 "NGAO System Architecture Definition", wavefront error budget spreadsheet | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | LGS Wavefront sensor performance: The exact performance level of the LGS wavefront sensor system is TBD | The level of performance for this wavefront sensor is necessary to meet the NGAO overall wavefront error budget | Wavefront error budget spreadsheet v1.26 | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Location: The LGS WFS wavefront sensor will be located at a dedicated output port of the first stage optical relay. The 589 nm light will be separated from the other output ports of the cascaded relay by a dedicated dichroic beamsplitter that reflects 589 nm light | Design decision to use large dichroic beam splitter to separate LGS light from the other outputs of the first stage of the cascaded relay ( detailed specification of the dichroic are include in AO relay section of the requirements) | KAON 499 "NGAO System Architecture Definition" | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Cooling: The optical components of the LGS wavefront sensor shall be capable of operation at -20 C or must be located on the other side of the optical window that isolates the cooled area of the AO enclosure. If needed, parts of the LGS WFS, such as electronics that do not require a direct interface to the optical path, might be located in nearby housing and kept at a warmer temperature | Sensitivity in K band requires cooling AO system to -20 C to achieve emissivity, Reference: KAON 501 | Science K band sensitivity SRD sections 2.4, 14.1,6.7, see also KAON 501 for temperature derivation | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Laser guide star range related focus correction mechanism: The laser guide star wavefront sensor shall provide a means to focus its sensors on the sodium layer. This mechanism must compensate for slow range changes in the sodium layer distance. | These changes arise both from structural changes in the sodium density profile and zenith dependent changes as the telescope elevation changes. | Wavefront error budget spreadsheet v1.26, cell Residual Na Layer Focus Change | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Laser guide star range related focus correction control: This mechanism will be driven by commands from the Calibration WFS and Low order WFS that have been processed by the AO real time control | These changes arise both from structural changes in the sodium density profile and zenith dependent changes as the telescope elevation changes. | Engineering decision (C. Neyman), and KAON 499 "NGAO System Architecture Definition" | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | LGS range related higher order aberration mitigation: The LGSWFS will provide a means (calibration or correction) for range dependent aberrations created by the LGS traveling through the telescope and first stage optical relay at the incorrect optical conjugate (i.e. defocused). | If not accounted for results in large LGS wavefront sensing error | Engineering decision (C. Neyman), and KAON 499 "NGAO System Architecture Definition" | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | LGS on rotator stage: The laser guide star wavefront sensor will be mounted on a rotating stage in order to track the motion of the LGS spots on the sky. | In modes of observation where LGS are not stabilized by input K-mirror, LGS wavefront sensors must track this motion. | KAON 499 "NGAO System Architecture Definition" | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Design requirements | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors | Type of wavefront sensor and geometry: The LGSWFS will be composed of nine wavefront sensors of a Shack-Hartmann configuration, utilizing square lenslets in a rectangular array. | At this time no studies support an advantage for curvature or pyramid wavefront sensors over shack Hartmann when measuring extended laser guide stars. This may change is higher order uplink ago correction and or pulse tracking is adopted. | Engineering decision (C. Neyman) | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Pupil sampling: The pupil sampling for the LGS NGS wavefront will have one mode that has 64 subapertures across the Keck (10.949 m) pupil. Options for other pupil sampling values is a goal, exact values are TBD, but might include 48, 32, and 20 subapertures across the Keck telescope pupil. | The 64 apertures driven by the balancing of the wavefront error budget between fitting, measurement and servo bandwidth errors. | KAON 499 "NGAO System Architecture Definition" | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Deployable about the field of view: The LGSWFS will be able to make measurements on any LGS that is in the field of view passed by the first stage of the Cascaded Relay. | Large number of LGS need to minimize the tomography error for wide field instruments. Roving LGS needed for low tip tilt errors high sky coverage. | KAON 499 "NGAO System Architecture Definition" | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Elevation distance: The LGSWFS will meet its performance goals at elevations of 30 degrees and higher. Requirement for differential atmospheric refraction compensation (DAR) is TBD. | The NGAO system must meet performance when operating at low elevations. | ScRD, galactic center science case | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | LGS uplink tip tilt compensation: The LGS wavefront sensor must provide a measurement of the LGS full aperture tilt for driving the LGS tip tilt control loop. This is often referred to as uplink tip tilt compensation. | Need to stabilize the LGS images on their respective wavefront sensors. The current design calls for compensation of the atmospheric tip tilt on the LGS beams to occur on the uplink just before the LGS light leaves the launch telescope. This compensation could also occur on the down link with tip tilt mirrors inside each LGSWFS channel This compensation could also occur on the down link with tip tilt mirrors inside each LGSWFS channel. | Engineering decision (C. Neyman) | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Natural guide star mode: As a goal, the channels of the LGSWFS will be able to sense light from natural guide stars for testing purposes. There is no requirement on minimum NGS brightness. There is no requirement on measurements from multiple natural guide stars simultaneously. | Advantageous to test performance of LGS wavefront sensor on natural stars. | Engineering decision (C. Neyman) | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Wavelength of operation: The LGSWFS will be optimized to work with light from the sodium D2a line. | The LGS wavefront sensor must be optimized to work with sodium laser guider stars. | KAON 499 "NGAO System Architecture Definition", Architecture requirements summary spreadsheet (row 10) sky coverage and (row 11) high order wavefront error. wavefront error budget spreadsheet | draft | analysis | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | Transmission: The LGS wavefront sensor transmission should be optimized for the D2a line as much as possible. See overall transmission requirements | Need to make efficient use of expensive LGS photons. | KAON 499 "NGAO System Architecture Definition", wavefront error budget spreadsheet measurement v1.26 | draft | analysis | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS optics must reimage the DM onto the LGSWFS lenslets to an accuracy of TBD mm in focus. |  |  | draft | analysis | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS optics must register the DM actuators onto the LGSWFS lenslets to an accuracy of  TBD % of a subaperture. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS shall have lenslets corresponding to 0.171 m on the telescope primary mirror. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS shall have lenslets corresponding to 0.0855 m on the telescope primary mirror. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS shall provide a plate scale of TBD arc sec/pixel. |  |  |  | test
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS shall provide TBD pixels per subaperture. |  |  |  | demonstration
|  | Peter Wizinowich | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | The LGSWFS shall provide spatial filtering with field stops. |  |  |  | test
|  | Chris Neyman | Optical | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Input focal ratio: The optical input to the Laser guider star wavefront sensor will be from the first stage of the Cascaded Relay. | The laser guide star wavefront sensor was placed after the first stage relay for space considerations. The laser guide star wavefront sensor was placed after the first deformable mirror in order that it need less dynamic range for measuring the laser guide star aberrations. | KAON 499 "NGAO System Architecture Definition" | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | Static calibration errors: The static wavefront calibration errors are TBD |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | Pupil distortion: The level of pupil distortion on the lenslet array is TBD. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | WFS dynamic range: The dynamic range of the wavefront sensor is TBD. |  |  | draft | analysis | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Optical | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | Athermalization: The optical relay shall be able to satisfy its optical requirements at both cooled (-20 C) and ambient temperatures (0 C). |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Peter Wizinowich | Optical | Performance Requirements | Operational | 3.2.3.5.1 High Order LGS Wavefront Sensors | CCD window: Flatness, wedge and AR coating requirements. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Mechanical | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Packaging: The optics, mechanisms, and electronics of the LGS WFS will be compatible with the AO enclosure and main optical relays |  |  | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Mechanical | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Mechanisms: The LGSWFS will have mechanisms for the exchange of optics for the purpose of configuring the pupil sampling and dynamic range (plate scale). Control of these mechanisms will under direction of the AO non-real time control software. |  |  | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Mechanical | Performance Requirements | Parametric | 3.2.3.5.1 High Order LGS Wavefront Sensors | Mechanism motions: Number and type of mechanisms is TBD. Speed of mechanism motions is TBD. Accuracy of the mechanism motions is TBD. Focus tracking accuracy is TBD. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Mechanical | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | No mechanism vignetting of optical beam: Mechanical systems inside and around the AO enclosure will not obscure the optical beam from a 202 arc second transferred field of view from the first relay and a 40 arc second transferred field of view from the second relay. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Electronic/Electrical | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Mechanism controller: As determined from the optical design, the LGS WFS will provide a means of controlling all mechanisms inside the WFS subsystem. This controller may or may not be common to the rest of the NGAO system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Electronic/Electrical | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | CCD requirements: The exact requirements on CCD pixel size, dark current, read noise, and quantum efficiency are TBD at this time. |  |  | draft | test | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Software | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Mechanism control software: The mechanism control software for the LGS WFS will be part of AO non real-time control system | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Software | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Real time control: The focal plane arrays that are part of the LGS WFS will have a means to be externally controlled and send pixel data streams to the AO system RTC | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Interface to AO non real-time control: The mechanism control and other status information (temperate, humidity, etc.) will be reported to the AO non real-time control system. The input optical pickoff will be controlled by the AO non real-time control system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Interface to AO acquisition system: The LGSWFS will interface to the AO acquisition system, the subsystem of the AO control software that is responsible for coordinating this task between AO subsystems, and the telescopes. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.5.1 High Order LGS Wavefront Sensors | Interface to AO real-time control system: The LGS WFS will be interfaced to the AO real-time control system. The AO RTC will be able to set the readout rate and other parameters of the detector focal plane. The pixel data from the focal plane will be interface to the RTC for the purpose of reconstruction the wavefront. The mechanism and optics for LGS focus and higher order aberration correction will interface with the AO RTC for control commands. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15

## AdkinsTaxonomy
See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
Adkins requirements taxonomy
Document Sections (roughly by engineering discipline) | Categories | Sub Categories
Performance Requirements
Overall |  | Parametric Performance Requirements
Optical |  | Operational Performance Requirements
Mechanical | Implementation Requirements
Electronic/Electrical |  | Feature Implementation Requirements
Safety |  | Common Practices Implementation Requirements
Software |  | Standards Implementation Requirements
Interface |  | Regulatory Implementation Requirements
Reliability | Design requirements
Spares |  | Technological Design Requirements
Service and Maintenance |  | Regulatory Design Requirements
Documentation |  | Standards Related Design Requirements
Integration Related Design Requirements

## RequirementsOutline
| Outline of requirements document | See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
1 | Introduction
2 | Scope and Applicability
3 | Related Documents
4 | Revision History
5 | Background
6 | Overall System Requirements
Performance Requirements
Implementation Requirements
Design Requirements
7 | Optical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
8 | Mechanical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
9 | Electronic/Electrical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
10 | Safety Requirements
Performance Requirements
Implementation Requirements
Design Requirements
11 | Software Requirements
12 | Interface Requirements
Performance Requirements
Implementation Requirements
Design Requirements
13 | Reliability Requirements
14 | Spares Requirements
15 | Service and Maintenance Requirements
16 | Documentation Requirements
Glossary

## DataBaseFields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | int | int | int | int | text | text | text | selection | selection | string | date | date
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  | What part of the system is the requirement assigned to (by WBS) | What part of the system is the requirement assigned to (by WBS) |  |  |  | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification
Selections |  |  | pick one: | pick one: | pick one: | pick one: | [7 empty] | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | [8 empty] | draft | inspection
|  |  | Optical |  | Parametric | [8 empty] | final | analysis
|  |  | Mechanical |  | Operational | [8 empty] | approved | demonstration
|  |  | Electronic/Electrical | Implementation Requirements | if implementation: | [8 empty] | pending approval | test
|  |  | Safety |  | Feature | [8 empty] | disapprove
|  |  | Software |  | Common Practices
|  |  | Interface |  | Standards
|  |  | Reliability |  | Regulatory
|  |  | Spares | Design requirements | if design:
|  |  | Service and Maintenance |  | Technological
|  |  | Documentation |  | Regulatory
Standards
Integration

## pickfields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Status | Verification method
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection | int | int | int | int | selection | selection
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  |  | What part of the system is the requirement assigned to (by WBS) |  |  |  |  | How the requirement is tested
Selections |  |  | pick one: | pick one: | pick one: | pick one |  |  |  |  | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | 3.2 AO System |  |  |  |  | draft | inspection
|  |  | Optical | Implementation Requirements | Parametric | 3.2.1 AO System Architecture |  |  |  |  | final | analysis
|  |  | Mechanical | Design requirements | Operational | 3.2.2 AO Enclosure |  |  |  |  | approved | demonstration
|  |  | Electronic/Electrical |  | if implementation: | 3.2.3 Opto-mechanical |  |  |  |  | pending approval | test
|  |  | Safety |  | Feature | 3.2.3.1 Field Rotation |  |  |  |  | disapprove
|  |  | Software |  | Common Practices | 3.2.3.2 Optical Relay
|  |  | Interface |  | Standards | 3.2.3.3 Optical Switchyard
|  |  | Reliability |  | Regulatory | 3.2.3.4 Optical Support Structure
|  |  | Spares |  | if design: | 3.2.3.5 Wavefront Sensors
|  |  | Service and Maintenance |  | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors
|  |  | Documentation |  | Regulatory | 3.2.3.5.2 High Order NGS Wavefront Sensor
[5 empty] | Standards | 3.2.3.5.3 Low Order NGS Wavefront Sensors
[5 empty] | Integration | 3.2.3.5.4 Calibration Wavefront Sensor
3.2.3.6 Wavefront Correctors
3.2.3.6.1 Tip/Tilt Corrector
3.2.3.6.2 Deformable Mirror
3.2.3.6.3 Tip/tilt Vibration Mitigation
3.2.3.7 Acquisition Cameras
3.2.3.7.1 NGS Acquisition Camera
3.2.3.7.2 LGS Acquisition Camera
3.2.3.8 Atmospheric Dispersion Correction
3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring
3.2.3.10 Atmospheric Profiler
3.2.3.11 d-IFU & LOWFS AO & Object Selection
3.2.3.12 PSF Monitoring Camera
3.2.4 Non-real-time Control
3.2.4.1 Non-RTC Software
3.2.4.2 Non-RTC Electronics
3.2.5 Real-time Control
3.2.5.1 RTC Architecture Analysis and Design Study
3.2.5.2 RTC Software Module Definition
3.2.5.3 RTC Hardware Module Definition
3.3 Laser Facility
3.3.1 Laser System Architecture
3.3.2 Laser Enclosure
3.3.3 Laser
3.3.4 Laser Launch Facility
3.3.4.1 Laser Beam Transport
3.3.4.2 Laser Pointing & Diagnostics
3.3.4.3 Laser Launch Telescope
3.3.5 Laser Safety Systems
3.3.5.1 Personnel and Equipment Safety Systems
3.3.5.2 Aircraft, Satellite & Laser Traffic Control Safety Systems
3.3.6 Laser System Control
3.3.6.1 Laser System Software
3.3.6.2 Laser System Electronics