## Template
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category | WBS | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified | Comments
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | text | text | text | selection | selection | string | date | date | text
comments | Just a unique number in the database (leave blank) |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006) |  |  | What part of the system is the requirement assigned to (by WBS) | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification | Any comments or problems
|  |  | pick one from list: | pick one from list: | pick one from list: | pick one from list: |  |  |  | pick one from list: | pick one from list:
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Radiometric calibration source: A radiometric calibration source will be provided for radiometric calibration of the various instruments in NGAO. Ideally, one source would be provided for calibration of all instruments, alternatively separate calibration sources could be installed in each instrument separately. The light output from these sources will be spatial and temporally stable. Additionally, these sources will produce light consistent with the optical passband of the instruments they are intended to calibrate. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Source and atmospheric simulator: A LGS and NGS point source simulator will be provided at the telescope focus (input of first optical relay in NGAO Cascaded Relay design). The simulator will be able to simulate both infinite conjugate sources (NGS) and finite conjugate sources (LGS). In addition, the simulator will include provisions for the simulation of atmospheric turbulence. At least two distinct atmospheric phase screens should be simulated: a ground altitude layer and a higher altitude layer at 10km. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-12 | 2007-10-16
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Metrology: The NGAO system will provide a metrology system as needed to ensure the scientific image or spectrum is not degraded by mechanical drift, image rotator errors, or residual vibrations. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-13 | 2007-10-17
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Radiometric source interface to AO non real time control: The radiometric sources will be controlled by an interface to AO non real-time control software. The science instrument’s control software will also be able to control these sources whether directly or through an interface to the AO non real-time control software is TBD | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-14 | 2007-10-18
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Source simulator interface to AO non-real time control: The calibration sources and atmospheric simulator will be controlled by an interface to AO non real time control software. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-15 | 2007-10-19
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring | Metrology interface to AO non real-time software: The metrology system will be interfaced to the AO real-time control system, the AO non real-time control system, and the science instrument’s control system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-16 | 2007-10-20
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.12 PSF Monitoring Camera | PSF monitoring camera: The main NGAO optical relay will include an interface to a camera for recording images of natural sources that have been corrected by the AO system. This camera will provide point spread function for calibration of scientific data for systematic errors in the NGAO performance, Strehl variations, and angular anisoplanatism, etc. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-17 | 2007-10-21
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.12 PSF Monitoring Camera | PSF monitoring camera interface to observatory data archive: The PSF camera will be controlled by the AO non real-time control software. PSF images will be relayed to the observatory data archive for use in AO PSF estimation and calibration of scientific data | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-18 | 2007-10-22
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.10 Atmospheric Profiler | Atmospheric profiler: A monitor for atmospheric turbulence will be part of the NGAO system. The monitor should be mounted as close as possible to the telescope hosting the NGAO system. The atmospheric profile will use optical measurements of natural stars to infer the turbulence distribution with height over the telescope. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-19 | 2007-10-23
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.3.10 Atmospheric Profiler | Atmospheric profiler interface to AO non real-time software: The AO non real-time software will be able to report the pointing of the telescope to the profiler and request that it use the most appropriate (nearby) star. The AO control software will relay the profile data to the AO real-time control system (RTC) to assist in tomographic estimation. The AO software will also relay the profile information to the observatory data archive for use in AO PSF estimation. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-20 | 2007-10-24

## AdkinsTaxonomy
See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
Adkins requirements taxonomy
Document Sections (roughly by engineering discipline) | Categories | Sub Categories
Performance Requirements
Overall |  | Parametric Performance Requirements
Optical |  | Operational Performance Requirements
Mechanical | Implementation Requirements
Electronic/Electrical |  | Feature Implementation Requirements
Safety |  | Common Practices Implementation Requirements
Software |  | Standards Implementation Requirements
Interface |  | Regulatory Implementation Requirements
Reliability | Design requirements
Spares |  | Technological Design Requirements
Service and Maintenance |  | Regulatory Design Requirements
Documentation |  | Standards Related Design Requirements
Integration Related Design Requirements

## RequirementsOutline
| Outline of requirements document | See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
1 | Introduction
2 | Scope and Applicability
3 | Related Documents
4 | Revision History
5 | Background
6 | Overall System Requirements
Performance Requirements
Implementation Requirements
Design Requirements
7 | Optical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
8 | Mechanical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
9 | Electronic/Electrical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
10 | Safety Requirements
Performance Requirements
Implementation Requirements
Design Requirements
11 | Software Requirements
12 | Interface Requirements
Performance Requirements
Implementation Requirements
Design Requirements
13 | Reliability Requirements
14 | Spares Requirements
15 | Service and Maintenance Requirements
16 | Documentation Requirements
Glossary

## DataBaseFields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | int | int | int | int | text | text | text | selection | selection | string | date | date
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  | What part of the system is the requirement assigned to (by WBS) | What part of the system is the requirement assigned to (by WBS) |  |  |  | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification
Selections |  |  | pick one: | pick one: | pick one: | pick one: | [7 empty] | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | [8 empty] | draft | inspection
|  |  | Optical |  | Parametric | [8 empty] | final | analysis
|  |  | Mechanical |  | Operational | [8 empty] | approved | demonstration
|  |  | Electronic/Electrical | Implementation Requirements | if implementation: | [8 empty] | pending approval | test
|  |  | Safety |  | Feature | [8 empty] | disapprove
|  |  | Software |  | Common Practices
|  |  | Interface |  | Standards
|  |  | Reliability |  | Regulatory
|  |  | Spares | Design requirements | if design:
|  |  | Service and Maintenance |  | Technological
|  |  | Documentation |  | Regulatory
Standards
Integration

## pickfields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Status | Verification method
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection | int | int | int | int | selection | selection
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  |  | What part of the system is the requirement assigned to (by WBS) |  |  |  |  | How the requirement is tested
Selections |  |  | pick one: | pick one: | pick one: | pick one |  |  |  |  | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | 3.2 AO System |  |  |  |  | draft | inspection
|  |  | Optical | Implementation Requirements | Parametric | 3.2.1 AO System Architecture |  |  |  |  | final | analysis
|  |  | Mechanical | Design requirements | Operational | 3.2.2 AO Enclosure |  |  |  |  | approved | demonstration
|  |  | Electronic/Electrical |  | if implementation: | 3.2.3 Opto-mechanical |  |  |  |  | pending approval | test
|  |  | Safety |  | Feature | 3.2.3.1 Field Rotation |  |  |  |  | disapprove
|  |  | Software |  | Common Practices | 3.2.3.2 Optical Relay
|  |  | Interface |  | Standards | 3.2.3.3 Optical Switchyard
|  |  | Reliability |  | Regulatory | 3.2.3.4 Optical Support Structure
|  |  | Spares |  | if design: | 3.2.3.5 Wavefront Sensors
|  |  | Service and Maintenance |  | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors
|  |  | Documentation |  | Regulatory | 3.2.3.5.2 High Order NGS Wavefront Sensor
[5 empty] | Standards | 3.2.3.5.3 Low Order NGS Wavefront Sensors
[5 empty] | Integration | 3.2.3.5.4 Calibration Wavefront Sensor
3.2.3.6 Wavefront Correctors
3.2.3.6.1 Tip/Tilt Corrector
3.2.3.6.2 Deformable Mirror
3.2.3.6.3 Tip/tilt Vibration Mitigation
3.2.3.7 Acquisition Cameras
3.2.3.7.1 NGS Acquisition Camera
3.2.3.7.2 LGS Acquisition Camera
3.2.3.8 Atmospheric Dispersion Correction
3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring
3.2.3.10 Atmospheric Profiler
3.2.3.11 d-IFU & LOWFS AO & Object Selection
3.2.3.12 PSF Monitoring Camera
3.2.4 Non-real-time Control
3.2.4.1 Non-RTC Software
3.2.4.2 Non-RTC Electronics
3.2.5 Real-time Control
3.2.5.1 RTC Architecture Analysis and Design Study
3.2.5.2 RTC Software Module Definition
3.2.5.3 RTC Hardware Module Definition
3.3 Laser Facility
3.3.1 Laser System Architecture
3.3.2 Laser Enclosure
3.3.3 Laser
3.3.4 Laser Launch Facility
3.3.4.1 Laser Beam Transport
3.3.4.2 Laser Pointing & Diagnostics
3.3.4.3 Laser Launch Telescope
3.3.5 Laser Safety Systems
3.3.5.1 Personnel and Equipment Safety Systems
3.3.5.2 Aircraft, Satellite & Laser Traffic Control Safety Systems
3.3.6 Laser System Control
3.3.6.1 Laser System Software
3.3.6.2 Laser System Electronics