## Template
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category | WBS | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified | Comments
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | text | text | text | selection | selection | string | date | date | text
comments | Just a unique number in the database (leave blank) |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006) |  |  | What part of the system is the requirement assigned to (by WBS) | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification | problems with requirement
|  |  | pick one from list: | pick one from list: | pick one from list: | pick one from list: |  |  |  | pick one from list: | pick one from list:
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.7 Acquisition Cameras | Acquisition capability: The AO acquisition system is responsible for the acquisition of natural stars for the low order natural guide star wavefront sensors (LOWFS), laser guide stars for the laser guide star wavefront sensor (LGS WFS), and the acquisition of the science target on the science instrument. It is an assumption that these acquisition tasks will occur in an automatic fashion with a minimum of telescope operator input. | Design decision based on current AO practice. | "Cascaded Relay Requirement flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition, SRD v1.15 section 6.15 | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.3.7 Acquisition Cameras | Automatic acquisition: the acquisition tasks shall occur in an automatic fashion with a minimum of telescope operator input. | Design decision based on current AO practice. | SRD table 24.2 and SRD v1.15 section 11.5 #3, | draft | demonstration | 0.3 | 2007-09-12 | 2007-10-16
|  | Chris Neyman | Overall | Performance Requirements | Parametric | 3.2.3.7 Acquisition Cameras | Acquisition time: The maximum time to acquire the science object is TBD seconds. The maximum time to acquire each of three tip tilt star on the low order wavefront sensor is TBD seconds. The maximum time to acquire the LGS on the LGSWFS is TBD seconds. | Need to meet open shutter requirements for NGAO | SRD v1.15 table 24.1 | draft | test | 0.3 | 2007-09-13 | 2007-10-17
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.7 Acquisition Cameras | Sky background limit: The acquisition system should be capable of working in conditions of high background such as at twilight and near a full moon. The limits for these conditions are to be determined. | Need for observation during bright time, near bright sources (Jupiter) and to extend operations into twilight. | SRD section 6.1.2.4 table 4.2 | draft | test | 0.3 | 2007-09-14 | 2007-10-18
|  | Chris Neyman | Overall | Performance Requirements | Operational | 3.2.3.7 Acquisition Cameras | Telescope pointing: The blind telescope point must be good to TBD arc seconds. Otherwise, additional time to correct telescope pointing must be added to the acquisition requirements. | Constraint imposes by Keck telescope | Noted limitation of Keck telescope, various sources. | draft | test | 0.3 | 2007-09-15 | 2007-10-19
|  | Chris Neyman | Optical | Performance Requirements | Parametric | 3.2.3.7 Acquisition Cameras | Field of view: The field of view of the acquisition sensor will be as large as the field of view past by the first stage of the Cascaded Relay. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | test | 0.3 | 2007-09-16 | 2007-10-20
|  | Chris Neyman | Interface | Performance Requirements | Parametric | 3.2.3.7 Acquisition Cameras | Acquisition camera interface to AO non real-time control: AO non real time control is responsible for control of acquisition cameras, including selection of optics and setting the exposure time. AO control will determine when acquisition is successful in an automatic fashion with limited operator oversight | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-17 | 2007-10-21

## AdkinsTaxonomy
See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
Adkins requirements taxonomy
Document Sections (roughly by engineering discipline) | Categories | Sub Categories
Performance Requirements
Overall |  | Parametric Performance Requirements
Optical |  | Operational Performance Requirements
Mechanical | Implementation Requirements
Electronic/Electrical |  | Feature Implementation Requirements
Safety |  | Common Practices Implementation Requirements
Software |  | Standards Implementation Requirements
Interface |  | Regulatory Implementation Requirements
Reliability | Design requirements
Spares |  | Technological Design Requirements
Service and Maintenance |  | Regulatory Design Requirements
Documentation |  | Standards Related Design Requirements
Integration Related Design Requirements

## RequirementsOutline
| Outline of requirements document | See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
1 | Introduction
2 | Scope and Applicability
3 | Related Documents
4 | Revision History
5 | Background
6 | Overall System Requirements
Performance Requirements
Implementation Requirements
Design Requirements
7 | Optical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
8 | Mechanical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
9 | Electronic/Electrical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
10 | Safety Requirements
Performance Requirements
Implementation Requirements
Design Requirements
11 | Software Requirements
12 | Interface Requirements
Performance Requirements
Implementation Requirements
Design Requirements
13 | Reliability Requirements
14 | Spares Requirements
15 | Service and Maintenance Requirements
16 | Documentation Requirements
Glossary

## DataBaseFields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | int | int | int | int | text | text | text | selection | selection | string | date | date
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  | What part of the system is the requirement assigned to (by WBS) | What part of the system is the requirement assigned to (by WBS) |  |  |  | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification
Selections |  |  | pick one: | pick one: | pick one: | pick one: | [7 empty] | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | [8 empty] | draft | inspection
|  |  | Optical |  | Parametric | [8 empty] | final | analysis
|  |  | Mechanical |  | Operational | [8 empty] | approved | demonstration
|  |  | Electronic/Electrical | Implementation Requirements | if implementation: | [8 empty] | pending approval | test
|  |  | Safety |  | Feature | [8 empty] | disapprove
|  |  | Software |  | Common Practices
|  |  | Interface |  | Standards
|  |  | Reliability |  | Regulatory
|  |  | Spares | Design requirements | if design:
|  |  | Service and Maintenance |  | Technological
|  |  | Documentation |  | Regulatory
Standards
Integration

## pickfields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Status | Verification method
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection | int | int | int | int | selection | selection
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  |  | What part of the system is the requirement assigned to (by WBS) |  |  |  |  | How the requirement is tested
Selections |  |  | pick one: | pick one: | pick one: | pick one |  |  |  |  | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | 3.2 AO System |  |  |  |  | draft | inspection
|  |  | Optical | Implementation Requirements | Parametric | 3.2.1 AO System Architecture |  |  |  |  | final | analysis
|  |  | Mechanical | Design requirements | Operational | 3.2.2 AO Enclosure |  |  |  |  | approved | demonstration
|  |  | Electronic/Electrical |  | if implementation: | 3.2.3 Opto-mechanical |  |  |  |  | pending approval | test
|  |  | Safety |  | Feature | 3.2.3.1 Field Rotation |  |  |  |  | disapprove
|  |  | Software |  | Common Practices | 3.2.3.2 Optical Relay
|  |  | Interface |  | Standards | 3.2.3.3 Optical Switchyard
|  |  | Reliability |  | Regulatory | 3.2.3.4 Optical Support Structure
|  |  | Spares |  | if design: | 3.2.3.5 Wavefront Sensors
|  |  | Service and Maintenance |  | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors
|  |  | Documentation |  | Regulatory | 3.2.3.5.2 High Order NGS Wavefront Sensor
[5 empty] | Standards | 3.2.3.5.3 Low Order NGS Wavefront Sensors
[5 empty] | Integration | 3.2.3.5.4 Calibration Wavefront Sensor
3.2.3.6 Wavefront Correctors
3.2.3.6.1 Tip/Tilt Corrector
3.2.3.6.2 Deformable Mirror
3.2.3.6.3 Tip/tilt Vibration Mitigation
3.2.3.7 Acquisition Cameras
3.2.3.7.1 NGS Acquisition Camera
3.2.3.7.2 LGS Acquisition Camera
3.2.3.8 Atmospheric Dispersion Correction
3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring
3.2.3.10 Atmospheric Profiler
3.2.3.11 d-IFU & LOWFS AO & Object Selection
3.2.3.12 PSF Monitoring Camera
3.2.4 Non-real-time Control
3.2.4.1 Non-RTC Software
3.2.4.2 Non-RTC Electronics
3.2.5 Real-time Control
3.2.5.1 RTC Architecture Analysis and Design Study
3.2.5.2 RTC Software Module Definition
3.2.5.3 RTC Hardware Module Definition
3.3 Laser Facility
3.3.1 Laser System Architecture
3.3.2 Laser Enclosure
3.3.3 Laser
3.3.4 Laser Launch Facility
3.3.4.1 Laser Beam Transport
3.3.4.2 Laser Pointing & Diagnostics
3.3.4.3 Laser Launch Telescope
3.3.5 Laser Safety Systems
3.3.5.1 Personnel and Equipment Safety Systems
3.3.5.2 Aircraft, Satellite & Laser Traffic Control Safety Systems
3.3.6 Laser System Control
3.3.6.1 Laser System Software
3.3.6.2 Laser System Electronics