## Template
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category | WBS | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified | Comments
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | text | text | text | selection | selection | string | date | date | text
comments | Just a unique number in the database (leave blank) |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006) |  |  | What part of the system is the requirement assigned to (by WBS) | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification | comments or problems with requirement
|  |  | pick one from list: | pick one from list: | pick one from list: | pick one from list: |  |  |  | pick one from list: | pick one from list:
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4 Non-real-time Control | The AO non real-time control system is defined as the AO control functions that are not directly concerned with the high speed measurement and correction of atmospherically distorted wavefronts. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4 Non-real-time Control | Roles for the AO non real-time control: • A coordination role during setup, calibration, and observations. • Interface role between the AO system, the laser facility, the instruments, the data archive, and the telescope. • User interfaces including graphical, command line, and scripts. • Monitoring completion of commands inside the AO system. • Monitoring the health of the AO sub-systems and relaying the information to the observer or telescope operator. • Logging data about the AO system into an observatory data system for NGAO. • Control of AO enclosure and subsystem mechanisms. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | User interfaces: the AO non real-time control will have graphical, command line, and script based user interfaces. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | inspection | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Monitoring: AO control will monitor health of the AO system including the AO RTC. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Mechanism Control: AO control system will provide control of all AO mechanisms. This will include the following functions: a) Initialize all device mechanisms. b) Control all devices that track the telescope position such as: the rotators for LGS subsystem, K-mirror, and atmospheric dispersion correctors (ADC). c) Control calibration devices (integrating spheres, point source simulators, etc). d) Provide tracking control to the LGS WFS pickoff/selection mechanism. e) Provide tracking control to the LGS focus and aberration correction mechanisms. f) Provide tracking control to the LOWFS pickoffs. g) Provide tracking control to the multi-object deployable near-IR IFU pickoffs. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Truth Wavefront Sensor: AO non real-time control is responsible for control of the TWFS and interfacing the information to the AO RTC. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Acquisition Camera: AO control is responsible for control of acquisition cameras, including selection of optics and setting the exposure time. AO control will determine when acquisition is successful in an automatic fashion with limited operator oversight. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control system will be able to configure (setup) the AO system for observation. This will include selecting the instrument, the AO mode, the configuration and location of LGS wavefront sensors, as well as the configuration of the NGS LOWFS and location of the LOWFS pickoffs. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will also request from the laser facility the correct LGS locations and orientation of the LGS constellation. AO control will request startup of LGS rotation mechanism. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will setup the acquisition mode for science targets and LOWFS natural guider stars. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will setup the RTC by either loading pre-computed reconstruction matrices or initializing an iterative algorithm. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will star/stop the altitude tracking mechanism in LGS WFS (in LGS mode) | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | If the instrument is the multi-object deployable near-IR IFU, the AO control system will configure the pick off and MOAO system in each multi-object deployable near-IR IFU input beam train. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will coordinate daily calibration tasks for the AO facility including: calibrating the deformable mirror actuator gains, calibrating the WFS non-linearity, measuring the deformable mirror to wavefront sensor registration. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will coordinate the background calibration (sky and dark frames) for LGS wavefront sensors, NGS wavefront sensors, the LOWFS, truth wavefront sensors, and acquisitions sensors. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will coordinate the motion control and other tasks need to perform dithering and chopping for science observation. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will initiate recovery steps from a laser traffic control event. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Overall | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | AO control will coordinate the achieving of AO data for science data calibration (i.e. PSF estimation, determine quality of AO correction). | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Interface to telescope: The AO control system will transfer the focus and tip tilt offloads from the AO RTC to the Keck telescope drive control system (DCS). | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Interface to data archive: AO control system will record configuration and status information about the AO system in the observatory data system. An architectural assumption is that NGAO instrument data, AO RTC engineering data and AO RTC data for calibrating scientific data (i.e. PSF estimation) will be archived in an observatory data system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | interface to the multi-object deployable near-IR IFU: The AO control system will receive information about the multi-object deployable near-IR IFU targets and configure the MOAO channels. The AO control system will control the IFU pickoff and other non real-time mechanisms of the MOAO input to each IFU channel. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | Interface to AO RTC: The AO control system will interface with the AO RTC system. The AO control system will be able to make the following requests: a) Configure RTC mode to LGS or NGS mode. b) Configure the RTC reconstruction as required: this could include providing the RTR with previously computed reconstruction matrices or initialization of an iterative RTR algorithm. c) In LGS/NGS mode, set the frame rates for the sensors directly interfaced to the RTC (LGS, NGS, and LOWFS). d) In LGS and NGS mode, request dark and background frames be recorded for any of the sensors directly interfaced to the RTC sensor (LGS, NGS, and LOWFS). e) In LGS mode, open and close the LOWFS tip tilt control loop on any of the three NGS LOWFS channels. f) In LGS mode, open and close the first stage higher order AO atmospheric compensation loop. g) In LGS mode, open and close the second stage higher order AO atmospheric compensation control loop. h) In LGS mode, open and close the MOAO atmospheric correction in any of the LOWFS channels. i) In LGS mode, open and close the MOAO atmospheric correction in any of the IFU instrument channels. j) In LGS and NGS associate a time stamp on the AO RTC engineering data with the start of science instrument exposure. k) In NGS mode open and close the AO loops. l) Check the health and status of the AO RTC system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | interface to the LGS facility: a) AO control system will initiate configuration of the LGS constellation. AO control will initiate rotation compensation for the LGS constellation. AO control will be able to open and close the up link tip tilt compensation loop. b) AO control facility will receive status and diagnostics (i.e. laser power, polarization etc) from the laser facility control system. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15
|  | Chris Neyman | Interface | Implementation Requirements | Feature | 3.2.4.1 Non-RTC Software | interface to the turbulence Profiler: AO non real-time control system will get atmospheric turbulence profile (Cn2) information from an onsite monitor. The information will be transferred to the AO RTC for its tomography algorithm. The data will also be transferred to the observatory data archive for calibration of science and AO engineering data. | Design decision based on current AO practice. | "Cascaded Relay Requirement Flowdown and Open Issues", R. Dekany NGAO Team Meeting #9 and KAON 499 "NGAO System Architecture Definition | draft | demonstration | 0.3 | 2007-09-11 | 2007-10-15

## AdkinsTaxonomy
See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
Adkins requirements taxonomy
Document Sections (roughly by engineering discipline) | Categories | Sub Categories
Performance Requirements
Overall |  | Parametric Performance Requirements
Optical |  | Operational Performance Requirements
Mechanical | Implementation Requirements
Electronic/Electrical |  | Feature Implementation Requirements
Safety |  | Common Practices Implementation Requirements
Software |  | Standards Implementation Requirements
Interface |  | Regulatory Implementation Requirements
Reliability | Design requirements
Spares |  | Technological Design Requirements
Service and Maintenance |  | Regulatory Design Requirements
Documentation |  | Standards Related Design Requirements
Integration Related Design Requirements

## RequirementsOutline
| Outline of requirements document | See Adkins, "Draft Engineering Guideline For the Preparation of Requirements Documents" version 1.1, September 2006
1 | Introduction
2 | Scope and Applicability
3 | Related Documents
4 | Revision History
5 | Background
6 | Overall System Requirements
Performance Requirements
Implementation Requirements
Design Requirements
7 | Optical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
8 | Mechanical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
9 | Electronic/Electrical Requirements
Performance Requirements
Implementation Requirements
Design Requirements
10 | Safety Requirements
Performance Requirements
Implementation Requirements
Design Requirements
11 | Software Requirements
12 | Interface Requirements
Performance Requirements
Implementation Requirements
Design Requirements
13 | Reliability Requirements
14 | Spares Requirements
15 | Service and Maintenance Requirements
16 | Documentation Requirements
Glossary

## DataBaseFields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Description | Rationale | Traceability | Status | Verification method | Version | Created | Modified
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection (string) | int | int | int | int | text | text | text | selection | selection | string | date | date
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  | What part of the system is the requirement assigned to (by WBS) | What part of the system is the requirement assigned to (by WBS) |  |  |  | Text of the requirement | Why requirement is needed, plus technical reference, KAONS, other requirements documents, etc. | What requirements this one is derived from: should be a reference to other data bases or design document |  | How the requirement is tested | What version | Date Created | history of modification
Selections |  |  | pick one: | pick one: | pick one: | pick one: | [7 empty] | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | [8 empty] | draft | inspection
|  |  | Optical |  | Parametric | [8 empty] | final | analysis
|  |  | Mechanical |  | Operational | [8 empty] | approved | demonstration
|  |  | Electronic/Electrical | Implementation Requirements | if implementation: | [8 empty] | pending approval | test
|  |  | Safety |  | Feature | [8 empty] | disapprove
|  |  | Software |  | Common Practices
|  |  | Interface |  | Standards
|  |  | Reliability |  | Regulatory
|  |  | Spares | Design requirements | if design:
|  |  | Service and Maintenance |  | Technological
|  |  | Documentation |  | Regulatory
Standards
Integration

## pickfields (hidden)
[6 empty] | WBS | WBS (Sys. Design Plan)
data base field names | ID # | Who nominated or originated requirement | Section | Category | Sub Category |  | L.1 | L.2 | L.3 | L.4 | Status | Verification method
data type |  | String | Selection (string) | Selection (string) | Selection (string) | Selection | int | int | int | int | selection | selection
comments | Just a unique number in the database |  | Assign to Sean's requirements document sections: should make it easier to draft requirements documents from database (see taxonomy, outline) |  |  |  | What part of the system is the requirement assigned to (by WBS) |  |  |  |  | How the requirement is tested
Selections |  |  | pick one: | pick one: | pick one: | pick one |  |  |  |  | pick one: | pick one:
|  |  | Overall | Performance Requirements | if performance: | 3.2 AO System |  |  |  |  | draft | inspection
|  |  | Optical | Implementation Requirements | Parametric | 3.2.1 AO System Architecture |  |  |  |  | final | analysis
|  |  | Mechanical | Design requirements | Operational | 3.2.2 AO Enclosure |  |  |  |  | approved | demonstration
|  |  | Electronic/Electrical |  | if implementation: | 3.2.3 Opto-mechanical |  |  |  |  | pending approval | test
|  |  | Safety |  | Feature | 3.2.3.1 Field Rotation |  |  |  |  | disapprove
|  |  | Software |  | Common Practices | 3.2.3.2 Optical Relay
|  |  | Interface |  | Standards | 3.2.3.3 Optical Switchyard
|  |  | Reliability |  | Regulatory | 3.2.3.4 Optical Support Structure
|  |  | Spares |  | if design: | 3.2.3.5 Wavefront Sensors
|  |  | Service and Maintenance |  | Technological | 3.2.3.5.1 High Order LGS Wavefront Sensors
|  |  | Documentation |  | Regulatory | 3.2.3.5.2 High Order NGS Wavefront Sensor
[5 empty] | Standards | 3.2.3.5.3 Low Order NGS Wavefront Sensors
[5 empty] | Integration | 3.2.3.5.4 Calibration Wavefront Sensor
3.2.3.6 Wavefront Correctors
3.2.3.6.1 Tip/Tilt Corrector
3.2.3.6.2 Deformable Mirror
3.2.3.6.3 Tip/tilt Vibration Mitigation
3.2.3.7 Acquisition Cameras
3.2.3.7.1 NGS Acquisition Camera
3.2.3.7.2 LGS Acquisition Camera
3.2.3.8 Atmospheric Dispersion Correction
3.2.3.9 Alignment, Calibration, Diagnostics, Metrology and Monitoring
3.2.3.10 Atmospheric Profiler
3.2.3.11 d-IFU & LOWFS AO & Object Selection
3.2.3.12 PSF Monitoring Camera
3.2.4 Non-real-time Control
3.2.4.1 Non-RTC Software
3.2.4.2 Non-RTC Electronics
3.2.5 Real-time Control
3.2.5.1 RTC Architecture Analysis and Design Study
3.2.5.2 RTC Software Module Definition
3.2.5.3 RTC Hardware Module Definition
3.3 Laser Facility
3.3.1 Laser System Architecture
3.3.2 Laser Enclosure
3.3.3 Laser
3.3.4 Laser Launch Facility
3.3.4.1 Laser Beam Transport
3.3.4.2 Laser Pointing & Diagnostics
3.3.4.3 Laser Launch Telescope
3.3.5 Laser Safety Systems
3.3.5.1 Personnel and Equipment Safety Systems
3.3.5.2 Aircraft, Satellite & Laser Traffic Control Safety Systems
3.3.6 Laser System Control
3.3.6.1 Laser System Software
3.3.6.2 Laser System Electronics