Observing Operations Concept Document

at the Preliminary Design Phase

D. Le Mignant, E. McGrath et NGAO team

W. M. Keck Observatory

1.	Introduction	4

2.	Scope and Applicability	4

3.	Related Documents	4

4.	Revision History	4

5.	Background	5

5.1.	On science requirements	5

5.2.	On observatory requirements	5

5.3.	Criteria for observing operations success	5

5.4.	Observing efficiency budget	5

6.	Example observations	6

6.1.	Galaxy Assembly and Star Formation History	6

6.1.1.	Example observations:	6

6.2.	Nearby Active Galactic Nuclei	15

6.2.1.	Imaging	15

6.2.2.	Spectroscopy	15

6.3.	Measurements of General Relativity effects from astrometric imaging of the Galactic Center	15

6.3.1.	Example observations: Near-Infrared Imaging of the Galactic Center	15

6.4.	Measurements of General Relativity effects from radial velocity measurements of the Galactic Center	24

6.5.	Etc	24

6.6.	Interferometry science	24

7.	Use Cases	24

7.1.	Search and selection of AO natural guide stars	24

7.2.	AO performance estimation	24

7.3.	Format and definitions for the star list	24

7.4.	Planning the observing sequences with “INST”	24

7.5.	Planning the observing sequences with IF	24

7.6.	Exposure time estimation with “INST”	24

7.7.	Observing efficiency estimation with “INST”	24

7.8.	Loading the observing sequence	25

7.9.	Field acquisition and centering on “INST” pointing origin	25

7.10.	AO acquisition	25

7.10.1.	NGS AO acquisition	26

7.10.2.	LGS AO acquisition: acquiring the NGS (LOWFS and TWFS)	26

7.10.3.	LGS AO acquisition: acquiring the LGS	26

7.11.	Science target acquisition and fine-centering in narrow field instrument	26

7.12.	Science target acquisition and fine-centering in wide field instrument	26

7.13.	Observing sequences execution	26

7.13.1.	Initiating an observing sequence in NGS mode	27

7.13.2.	Initiating an observing sequence in LGS mode	27

7.13.3.	Dither sequences with the d-IFS	27

7.13.4.	Dither sequences with the narrow field science instruments	27

7.13.5.	Dither sequences in NGS AO	27

7.13.6.	Offset sequences with the d-IFS	27

7.13.7.	Offset sequences with the narrow field science instruments	27

7.13.8.	Offset sequences in NGS AO	27

7.13.9.	Filter sequences with the science instrument	27

7.14.	Calibration observing sequences	27

7.14.1.	PSF sequences	27

7.14.2.	Telluric and photometric standard sequences	27

7.14.3.	Background emission sequences	27

7.14.4.	Twilight sequences	27

7.15.	Switching AO modes and science instruments	27

7.15.1.	From wide to narrow field science	27

7.15.2.	Switching AO modes	27

7.15.3.	Switching to backup instrument	27

7.16.	Troubleshooting common observing situations	27

7.16.1.	Variable counts on NGS sensors	27

7.16.2.	Variable counts on LGS sensor	27

7.16.3.	Laser interrupt from LTCS (including LCH)	27

7.16.4.	Observing interrupt for sub-system fault (AO, Laser, instrument, DCS, etc)	27

7.16.5.	Etc	27

7.17.	Post-observing	27

7.17.1.	Data products	28

7.17.2.	Data storage and archive	28

7.17.3.	PSF reconstruction	28

7.18.	AO/Laser calibrations & alignment  sequences	28

7.18.1.	Day time calibrations	28

7.18.2.	Night time calibrations	28

8.	Observing support effort and technical operations	28

8.1.	Science instruments extra-operational support	28

8.1.1.	Access to the system for maintenance	28

8.1.2.	Preventive maintenance needs	28

8.2.	AO/Laser extra-operational support	28

8.2.1.	Access to the system for maintenance	28

8.2.2.	Preventive maintenance needs	28

8.2.3.	Access to the system for development	28

8.3.	Ancillary systems operational support	28

8.3.1.	Access to the system for maintenance	28

8.3.2.	Preventive maintenance needs	28

8.3.3.	Access to the system for development	28

9.	Glossary	28

9.1.	Acronyms and abbreviations	28

9.2.	Jargon and definitions	28

10.	Appendix	29

LIST OF FIGURES

Figure 1: Example of an observing efficiency budget sheet	5

LIST OF TABLES

Table 1: Summary of the observing parameters for the “galaxy assembly and star formation history” science case	6

Table 2: Pre-observing tasks for example observations	11

Table 3: Observing tasks for example observations	14

Table 4: Post-observing tasks for example observations	15

Table 5: Summary of the observing parameters for the “Galactic Center imaging” science case	16

Table 6: Pre-observing tasks for Galactic Center NIR imaging observations	21

Table 7: Observing tasks for Galactic Center NIR imaging observations	23

Table 8: Post-observing tasks for Galactic Center NIR imaging observations	24

Table 10: Generic acquisition steps for NGAO	26

# Introduction

As defined in the W. M. Keck Observatory instrument development program (KOR xxx), the OCD is written during the second design phase for a new instrument, preliminary design.  It is the third major design document written for a new instrument and follows the creation of the System Requirements Document (SRD – KAON 455 and 548) and the System Design Manual (SDM – KAON 511), both of which were written during the system design phase.

# Scope and Applicability

The OCD describes how the features and functions of the design described in the SDM will be used to carry out the observations described in the science case.

# Related Documents

This sections lists the documents that are keys to developing the example observations:

- KAON 455: In the following sections, the references to the KAON 455 requirements are noted in italic e.g., (reqt #1.2) refers to the science case requirement #1.2 found in the KAON 455 tabulated requirements.

- KAON 548 presents a summary for the science requirements in support of the architecture evaluations.

- KAON 456: The requirements for  the science operations are described in the NGAO System Requirement Document (SRD – KAON 456) under two sections: Sec. 6.1.4 for Science Operations Requirements from the Science Cases and Sec. 6.2.5 for the Observatory Operational Requirements.

- KAON 511: the System Design Manual presents an overview of the system design (AO system, laser facility, controls hardware and software, science operations and science instruments), performance budgets and requirements flow down. The detailed requirements can be found in most of the referenced design KAONs as well as in the Functional Requirements Document (KAON 573).

In addition, we have made some assumptions in developing the example observations, based on the lessons learned for LGS operations at Keck (KAON 463):

  - the fraction of LGS science time lost to weather is 25%.

  - only 55% of the nights year-round are considered fully photometric

  - the software architecture will allow for parallel operations of subsystems, reducing the overall overhead

# Revision History

| Author | Revision Date | Version | Remarks |
| --- | --- | --- | --- |
| D. Le Mignant | June 4, 2008 | 0 | Initial outline based on TMT and GPI OCD |
| D. Le Mignant | July 24, 2008 | 0.1 | Discussed outline with SA and modified along new OCD guidelines for Keck Included content from draft document on Observing Scenarios |
| D. Le Mignant | August 4, 2008 | 0.2 | Revising content to fit the revised Keck OOCD standards from SA |
| D. Le Mignant | Sept. 4-30, 2008 | 0.3 | Revising content (again) to fit the revised Keck OOCD standards from SA |

# Background

## On science requirements

## On observatory requirements

## Criteria for observing operations success

## Observing efficiency budget

We have developed a simple MS excel-based tool to estimate the observing efficiency for the NGAO science cases. Each science case has its own spreadsheet where open shutter time and overhead have been estimated for the science target and the calibration standard. We have made the following assumptions:

- Open shutter time on the sky-calibration (telluric and flux standards, sky background) is considered science time.

- The main contributors to the observing overhead will be the telescope slews, telescope pointing adjustment and field registration, NGAO and science field acquisitions, fine centering and re-centering, dither/offset + instrument setup + readout.

- For each contribution (open shutter and every overhead), we estimate the minimum, median and maximum values and calculate a weighted average with the following weights (1/6, 4/6, 1/6).

- Estimates for the overhead contributions from telescope slews, pointing adjustments and NGS acquisitions are derived from KAON 567.

- Additional overhead has been included for LTCS interrupts in form of an integer number of individual science integration (hence a higher impact for long integration) and subsequent time for re-centering the science target(s). Note that LTCS interrupts will be greatly reduced by the use of the “first-on-target” rule and the use of planning tools to avoid science observing during planned interrupt request from the Laser Clearinghouse.

- The overhead for dither/offset will be reduced compared to the current system if we adopt a different strategy for dither/offset (KAON 558)

- No time loss has been included for NGAO system failure at this point as we know very little about the NGAO failure rate. This could be considered overly optimistic, yet it is counterbalanced by the allocation of maximum values for every overhead.

Figure 1: Example of an observing efficiency budget sheet

The Observing Efficiency Tool can be downloaded from:

http://www.oir.caltech.edu/twiki_oir/bin/view/Keck/NGAO/NGAOObservingScenarios

# Example observations

This section presents the example observations for each of the of the Key Science Drivers as well as the Science Drivers, and other science cases, such as ASTRA, that drive very specific observing modes.

## Galaxy Assembly and Star Formation History

The NGAO Science Case on Galaxy Assembly and Star Formation History is one of the five Key Science Drivers, which place the most restrictive or technologically challenging constrains on the NGAO system.

The requirements for this science case are described in Section 2.1.1 in KAON 455.  The following sub-sections document its example observations.

### Example observations:

#### Description

The observing goal for this science case is to survey more than 200 galaxies over a few years (reqt #1.2) . This is possible by using a deployable NIR spectrograph over a field of ~ 2 arcmin diameter. The number of targets per  field of regard depends on the  number density for the class of objects being studied and varies between 0.1 to 40 arcmin-2  (see KAON 455, table 3). Depending on the object brightness, the NGAO + dIFS will dedicate ~ 1.5 to 4 hours of open shutter time on a set of targets (reqt #1.2).

| Parameters | Value / Method | Comments |
| --- | --- | --- |
| Science instrument | d-IFS |  |
| Instrument setup | IFU FoV: 1 x 3 arcsec J-K wavelength range 70 mas/spaxel 35 mas/pixel TBD |  |
| Total integration time on target | 1.5 - 4 hours | reqt #1.2 |
| Individual integration time on target | 15 - 30 min |  |
| Individual integration time on calibration stars | 20 - 60 sec |  |
| Positioning precision of IFU with respect to the NGS | < 100 milli-arcsec | goal of 20 milli-arcsec ? between LOWFS arms and IFU arms? |
| Background estimation | Dither on IFU | Observer are likely to use a dithering script on the IFU |
|  | One IFU as dedicated sky | One possibility is to use 1 IFU arm as a dedicated sky for all IFU units, but it is unclear if the IFU units can be calibrated well enough to each other to enable this. |
|  | Dedicated background by offsetting the IFU at least once |  |
| Instrumental calibration | Using arc lamps and integrating sphere | Performed during the day |
| PSF calibration | Using an IFU ? | Telemetry-based PSF reconstruction |
| Telluric standard | Using an IFU ? Dedicated observing sequence |  |

Table 1: Summary of the observing parameters for the “galaxy assembly and star formation history” science case

#### Assumptions and pre-requisites

In estimating the observing efficiency, we have made the following assumptions:

- In parallel to observing a set of extragalactic targets, we anticipate the observer will dedicate one of the deployable units on a point-like source to calibrate for the PSF, and possibly for the telluric absorption (depending on the spectral class for the point-like source). This point-like source will also be used to monitor the centering of the field.

- Yet, for every set of targets, we anticipate the observer will calibrate for the telluric absorption after the science spectroscopy observations and within a certain interval in air mass and time. This should add approximately 10 min of observing time to the observations of the set of targets. In addition, we anticipate the observer will want to calibrate the flux by observing flux standards, twice through the night, and possibly including during twilight.

- We assumed individual integration time between 15 and 30 min on the d-IFS for the science targets and between 1 and 3 min for the standards. (70 mas spaxels at K-band may require shorter integrations, perhaps 5 min.)

- For an observation on a set of targets, we find that it will take 12 min on average for the full setup from initiating the telescope slew till first start of science-quality exposure. The open shutter time will be 155 min on average with 3 min of overheads for dither/readout and 5.3 min for re-centering. The observation of the telluric of flux standard will take approximately 9 min including ~ 55% total overhead (telescope slew, acquisition, dither, readouts).

- We anticipate 27 min loss due to LTCS interrupts, mainly a consequence of the long integration time.

Using these assumptions, we derive that it will be possible to observe 3.14 science fields including the telluric standards and two flux standards for an average night of 10.25 hours numbers.

The total observing efficiency (open shutter on science, including standards) is 83%.

Assuming 3, 5 and 6 deployable units used (minimum, median, maximum, respectively) on the science targets, this leads to 9 to 19 observed targets (16 median) per full observing night.

##### Observing model

The PI astronomer and her/his team would need 10 to 21 full observing nights to collect data for ~ 200 objects. Assuming a weather-loss fraction of 0.25 (KAON 463), this requires 14 to 28  allocated nights (spread over a few semester) to collect the needed sample of data.

Astronomers are requesting half to full night(s) for this science case in classical observing mode. The astronomer(s) will be performing the observations remotely (either from Waimea or elsewhere) and assessing the data quality on-the-fly. The observations require less than 1 mag of extinction in the V band (for the use of lasers). The PI and the science team are responsible for the backup observing program.

The science instrument configuration will be detailed during the Preliminary and Detailed Design phases for NGAO in parallel to the studies for the d-IFS.

KAON 548 provide details for the d-IFS: a spaxel size of 70 milli-arcsec (2 pixels of 35 mas/spaxel), a field-of-view of ~ 1.0 x 3.0 arcseconds per units (#reqt 1.8). Six spectrograph units deployable over a field of regard of at least 120 arcseconds in diameter.

#### Pre-observing tasks

During the pre-observing planning process, the astronomer will want to perform the following actions from her/his home institute:

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| d-IFS selection |  |  |
| 1. Review d-IFS performance parameters for anticipated use, e.g., sensitivity limit, wavelength, spatial and spectral resolution, science field of view, multiplexing options, etc. |  | 1. Provides complete list of d-IFS performance parameters, including instrument configurations, relevant constrain for observing and setup, etc. |
| Science fields and targets pre-selection |  |  |
| 1. Using appropriate catalogs and other references, the astronomer pre-selects science fields and individual targets including information on magnitude, color, size (region of interest), line flux, PA, etc. |  |  |
| 2. For each science field, the astronomer obtains and saves coordinates for individual targets |  | 2. Provides information on star list and coordinates format for science field and science target. |
| 3. Determine required S/N for targets of interest. This can be point-source, extended, per spectral channel, etc. |  | 3. Provides an exposure time calculator to aid in sensitivity and background calculations. This should include a basic S/N calculator that uses reasonable assumptions for Strehl based on typical GS brightness and distance, as well as background estimates from models. (There could be a switch to allow more detailed calculations given specific fields. The first step is a simple feasibility check.) |
| Science fields and targets selection |  |  |
| 1. The astronomer reviews main requirements affecting final targets selection for this choice of instrument setup: e.g. maximum distance to guide stars (GS), GS brightness and morphology, telescope pointing limits, etc. |  | 1. Provides a narrative of target selection rules applied by the AO Guide Star tool. |
| 2. For each science field, search and save coordinates for possible AO Natural Guide Stars |  | 2. Provides an AO Guide Star tool that will search catalogs available on the internet (ADS, NASA, etc) and extract the coordinates, brightness (visible and NIR) and color information for a list of science field coordinates. |
|  |  | 3. For each science field information set, the GS tool will derive and save various configurations for the GS selection. - Each science field might present various possibilities for the AO GS configurations. - A set of selection rules will be used to quickly derive the most favorable GS configurations (e.g, based on brightness/distance). |
| 4. Use the available tool and the observing information to derive general NGAO configuration and check for any problem. |  | 4. Given the characteristics of the science target(s) (e.g., number of field(s) and corrected field of view – largely based on the instrument selection/setup), a tool will identify and recommend a general configuration for the NGAO system (e.g., laser asterisms geometry, PnS on AO GS, etc.) |
| 5. Astronomers review the target + AO GS list and prioritize their target list based on science priority, anticipated image quality, and other relevant parameters. The astronomer might choose to keep at least 2 or 3 GS configurations for each science field. |  | 5. For each science field and GS configuration, the tool will return a first-order performance metrics (based on a NGAO performance look-up table as a function of primary observing and system parameters). |
| 6. Given the possible complexity of the star list the astronomer will use a tool to manage, view and consolidate the star list information. The list can be edited by the astronomer to add point-like source coming from other bibliography source; or to edit specific information. The astronomer will use this tool to save the starlist in various required format: LCH submission format, telescope format, astronomer format, or any specific syntax required. |  | 6. A starlist tool allows the user to easily manage the starlist information (including coordinates for science fields, science targets, AO GS configurations, acquisition reference source and science reference source). |
| Pick-off alignments |  |  |
| 1. Review the sources in the science fields and identify: - which source(s) will serve as a reference for fine centering (if applicable) - the reference center for the laser asterism - the methodology for sky background |  | 1. A pick-off alignment tool simulates and overlays the location for the pick-off arms over the sources in the field and the LGS. |
| 2. Selects a geometry for the pick-off alignment for the individual IFS and saves it (with the starlist information - TBC). Three parameters need to be defined: field orientation (PA), coordinate for the center of the LGS asterism and anticipated dither geometry (these values might be easier defined in instrument coordinates as the LGS needs not to move wrt to the science center). |  | 2. A pick-off alignment tool simulates, checks and saves the location for the pick-off arms for the science target(s), the AO GS, and the LGS. Particularly, in the case of n science targets, one needs to define the center of the LGS asterism with respect to the science priority and the IFS used for the science field. |
| Simulate NGAO performance on science fields |  |  |
| 1. The astronomer provides the science fields coordinate list, including individual science targets and NGS guide stars. |  | 1. For each science field and GS configuration, the tool will return a performance metrics (based on a NGAO performance look-up table as a function of primary observing parameters and a library of PSF). |
| 2. The astronomer provides an observing setup including observing wavelength and spectral resolution, an observing date/time (or air-mass), and selects an observing conditions scenario (e.g., x% percentile seeing conditions, wind conditions – cloud cover will certainly not be an option) |  | 2. Includes a library of Mauna Kea atmospheric conditions for the relevant parameters used for the AO simulations. The tool allows the user to define the expected airmass range and a range of observing conditions within the library. |
| 3. The astronomer selects the output format for the AO performance on the science targets. |  | 3. For each observing case, the simulation tool outputs a simulated performance at the location of the science target. The AO performance includes the values for Strehl ratio, FWHM, Ensquared Energy (assuming a pixel geometry), residual TT rms, and TBD. The tool will deliver a model PSF representative of the average AO performance over 5 min with the selected observing conditions. |
| Simulate the instrument performance: SNR tool |  |  |
| 1. The astronomer provides: - The output PSF profile from the NGAO simulation tool - A spatial (and spectral?) model for the object (format TBD, but examples might include selecting from typical galaxy and stellar spectral templates as well as standard r1/4 and exponential surface brightness profiles with specified scale lengths) - A total flux expressed in TBD photometry system (mJ, ergs.s-1, mag/ sq. arcsec) |  | 1. The SNR tool takes as inputs: - The output PSF profile from the NGAO simulation tool - A spatial (and spectral?) model for the object (format TBD) - A total flux expressed in TBD photometry system (mJ, ergs.s-1) |
|  |  | 2. The SNR tool includes routines, data libraries and documentation for: - Sky emission flux model (airglow + continuum) - Transmission and background emission model for the telescope + AO + instrument - Model templates for the spatial (and spectral?) model for the object (format TBD) |
| 3. The astronomer uses the tool to derive signal-to-noise ratio for selected integration time and observing setup. |  | 3. The SNR tool estimates the signal-to-noise per pixel as well as integrated SNR, based on a model for the instrument for the observing setup. The instrument model will include: - A model for the detection noise, depending on detector readout options. - Reference sensitivity numbers for the instrument (e.g., instrument optics transmission, detector QE, % linearity vs. deep-well, zero-points) - Options for errors in sky subtraction (e.g., photon noise only, x% increased residuals due to OH airglow variations) |
| Observing sequences planning |  |  |
| 1. The astronomer enters or selects the observing parameters for each observing sequence for the science object: object name, target list integration time, filter selection, dither pattern (number and coordinates), spatial and spectral observing setup, etc. A good starting reference for planning the observing sequences for the science instrument is the OSIRIS Observations Plannng Gui (OOP Gui). Note that the OOP Gui does not include the full set of information such as location of Guide Stars |  | 1. The tool is used for planning the observations in all possible details, including information on targets and guide star coordinates, field orientation per science target, filter sets, dithers, sky positions, etc. The planning tool uses the coordinate information to display the location of the science fields, the guide stars, and the AO field of regard, hence allowing the user to check the field geometry in either sky or instrument coordinate systems. The tool generates a finding chart for the guider field of view using e.g., DSS, etc. This can be saved/printed and used while observing at the telescope to aid in field identification. |
| 2. The astronomer simulates various observing scenarios and save the final selected planning sequences. |  | 2. The planning tool estimates the observing efficiency for the observing sequence (i.e., not including the AO acquisition or the calibration standards). The accompanying documentation provides information on observing overheads such as detector readout, dithering overhead, etc. |
| 3. During observing, the observer will load up the observing sequences using the same tool, check these sequences one more time, make changes if necessary and command their execution. |  | 3. The planning tool will be used during observations to check the observing sequences and save the file that will be used by the observing sequence execution Gui. |
| Calibration sequences planning |  |  |
| 1. The astronomer reviews the required calibration: fine centering source, telluric standard, photometric standards, darks and flats, skies, PSF. TBD: case of the standard star(s) require AO GS and LGS. |  | 1. The documentation provides information on the required calibrations. |
| 2. The astronomer simulate various calibration sequences and save the planning sequences. Particularly, there could a case where additional source(s) in the science field could serve as reference for fine centering, telluric or photometric standard, and/or PSF calibrations. The source could be observed simultaneously in the science field with one of the d-IFS arms. |  | 2. The planning tool is used to simulate and save the instrument configuration for calibration sequences. |
| 3. The astronomer determines the requirement for the PSF calibrations, and prepares the corresponding observing sequences. |  | 3. Provide documentation on PSF calibration procedures and expected performance. |
| Laser Clearing House target submission |  |  |
| 1. The astronomer produces a list of all science fields requiring laser propagation including coordinate information for the science targets and the AO GS in a TBD format. In addition, the list includes information on brightness, color and morphology for each AO GS in TBD format. At this point, we think it is not necessary to include details from 1) the observing sequences in LGS mode (yet, large offsets with LGS could require an additional pointing for LCH clearance); 2) target information for the observing sequences performed in NGS mode. |  | 1. The star list tool allow the user to save a star list in the coordinate and list format required for LCH. |
| 2. The astronomer sends the list to the Observatory at least TBD (working) days in advance of the observations. | 2. The Observatory staff uses a LCH coordination tool that collects the star list information per night (likely from formatted emails) and consolidate it (e.g., add engineering pointings or other astronomers’ data). The staff uses the LCH coordination tool to send a notice message to the observer(s) that includes the target list information sent for LCH approval. | 2. The star list tool allows the astronomer to submit the star list to Keck. A LCH coordination tool receive the target list from the observer. The tool has access to Keck data base for managing and using observers information for a given observing night. |
| 3. The astronomer checks the list sent by email from Keck, and sends a formatted reply back to Keck. |  | 3. Upon positive reviews from the astronomers, the LCH coordination tool submits the list by email to LCH. |
|  | 4. The LCH coordination tool receives the times where laser propagation is precluded from LCH and format it for the observing planning and execution tools. |  |

Table 2: Pre-observing tasks for example observations

#### Observing tasks

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| Target selection |  |  |
| 1. The astronomer selects the next science targets among the planned observations. The astronomer checks the target field status for observation planning: target field uptime, laser traffic control clearance during the anticipated observing time, etc. | 1. The support staff checks the science field observability status: target field uptime, target submitted to LCH, LCH no-propagation windows, laser traffic control clearance, etc. | 1. A tool provides information and status on observability using LGS for the science targets. The tool displays: telescope limits and target uptime, target LCH status, laser traffic control status on target, etc. |
| Field identification |  |  |
| 1. The astronomer prepares the necessary information to review and ID the field in the R wavelength range: R-band finding chart from the pre-observing planning tool, etc. | 1. Command telescope slew and request setup for NGAO (acquisition, laser, AO, pick-off alignment, instrument) based on observing sequences information. | 1. Given selection of instrument, number and coordinates of science targets and guide stars, pick-off alignment information, the tool output a configuration for NGAO sub-systems (acquisition, laser, AO, etc). This tool can run in a preview mode in the afternoon during observing checkup. Execute setup commands for NGAO (acquisition, laser, AO, pick-off alignment, instrument) based on observing sequences information. |
| 2. Once the telescope is pointing at the science field and the field rotated as requested, the astronomer helps ID the field using the acquisition camera display, a catalog image of the same field and any additional information. Astronomers use the AO guide stars as a reference in the R-band. | 2. Assesses whether the telescope pointing needs to be adjusted on a nearby reference star and find the tar star (note that this could be fully automated by inserting a telescope pointing star for every science field); Based on the AO guide stars, ID the field using the acquisition camera display, a catalog image of the same field and any help from the acquisition system and the astronomer. | 2. The acquisition system displays simultaneously the on-sky recorded image, a catalog image of the field at the same wavelength, orientation and scale, and the coordinates and information for the AO guide stars. The tool attempts to cross-correlate the two fields and ID the brightest objects. The ID information for the brightest GS in the field is overlaid to the recorded image to be viewed by the astronomer and support staff. |
| Science fields and guide stars acquisition |  |  |
| 1. Review the science instrument setup. | 1. Monitors the progress on the science fields acquisition by checking that the AO GS is registered with the location of the probe arms (e.g., counts on LOWFS). Note that this is an off-axis acquisition where the pointing origin is re-defined for each new science field geometry (not currently implemented with Keck AO). | 1. The acquisition software (MAGIQ) estimates the telescope offset and applies this offset. The science field acquisition is performed by registering at least one AO GS with a pixel location on the acquisition camera (pointing origin) such that the science target(s) are registered with the pointing origins corresponding to the center of the science detector(s). |
| 2. Monitor the AO performance during acquisition and wait for go-ahead from support staff and system! | 2. Monitors the progress of NGAO acquisition. There should be any manual acquisition step as it generally slows down efficiency and reliability. Gives the go-ahead to the astronomer when NGAO acquisition completes. | 2. The NGAO software commands the LGS and LOWFS acquisition, closes the loops and optimizes the system performance. The software informs on “AO readiness” when NGAO acquisition is complete and performance is optimized. |
| Fine centering |  |  |
| 1. Fine centering is checked by observing one of the science target (or any identified source in the field) bright enough and visible in one sky-subtracted integration; Case 1: the AO GS are well centered for the pre-defined pick-off coordinates: the fine centering checkout observations will be performed without pre-offset. Case 2: the AO GS are all de-centered for the pre-defined pick-off coordinates: the fine centering checkout observations will be performed after a pre-offset estimated from the average positioning error. | 1. Monitors the execution of the automated observing sequences for Case 1. Inform the observer and coordinate/confirm the re-centering actions for Case 2. | 1. The NGAO system identifies the source(s) used for fine centering from the observer star list information. |
| 2. Blind fine centering: when none of the science target (or any identified source in the field) are bright enough and visible in one sky-subtracted integration; Case 1: the AO GS are well centered for the pre-defined pick-off coordinates: science observations will be performed without pre-offset. Case 2: the AO GS are all de-centered for the pre-defined pick-off coordinates: science observations will be performed after a pre-offset estimated from the average positioning error. | 2. Monitors the execution of the automated observing sequences for Case 1. Inform the observer and coordinate/confirm the re-centering actions for Case 2. | 2. The NGAO system may re-position each pick-off arms to minimize the centering error. |
| Observations on-source science fields |  |  |
| 1. Load the observing sequences | 1. Monitors the execution of the observing sequences. | 1. NGAO system (including instrument) provide the tools to load, execute and monitor the progress for the observing sequences. |
| 2. Monitors the execution of the observing sequences. | 2. Monitors system performance variables such as LOWFS photometry and AO performance. |  |
|  | 3. Monitors NGAO health and fault detector. |  |
| Dither on the science field |  |  |
| 1. Monitors the execution of the observing sequences. The dither pattern is defined in the observing sequences and the pattern cannot be changed on-the-fly. The pattern can be defined in sky or instrument coordinate systems for a given sky orientation. | 1. Monitors the execution of the observing sequences. | 1. The NGAO system dithers the science targets around the science array with minimal overhead - by repositioning the science pick-off only, for move if the pick-off FoV permits - or by repositioning all pick-off (case dither amplitude is larger than pick-off FoV) - See KAON 558 |
| 2. Monitors the image quality as frames are being recorded and display. |  | TBD: requirements for the on-the-fly DRP (minimum—allow observer to select a “sky” frame and provide sky subtracted data cubes of each exposure). |
| Calibrations: telluric and photometry |  |  |
| 1. Performs the necessary calibrations required by the data reduction pipeline. | 1. Provides support for the required calibrations. The requirements for the flat-field and spectral calibrations required by the data reduction pipeline will be detailed during the study and design of the d-IFS. | 1. Provides documentation, characterization and support for the required calibrations. |
| 2. Load and execute the observing sequence for the telluric and photometric calibrations. |  |  |
| 3. Calibrate the PSF possibly using one of these methods: 1) PSF monitoring using one IFU, and/or 2) PSF reconstruction based on ancillary telemetry (WFC and Cn^2 data). The first scenario is costly to science as it requires dedicating one probe arm to the observations of a point-like source but provides a simultaneous PSF calibration for one location in the field. Extrapolating the PSF measured on one location to any location in the corrected field has been demonstrated (Britton 2006). |  | 3. The NGAO system records ancillary data and provide the tool for reconstructing the PSF. |
| Data reduction pipeline |  |  |
| 1. Astronomers use Quicklook DRP to assess the quality of the data. |  |  |

Table 3: Observing tasks for example observations

#### Post-observing tasks

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| Nightly data saving |  |  |
| 1. Burns a DVD or backup the nightly data (science, calibrations and quality logs): - raw and reduced IFS science data - raw and reduced IFS calibrations data - intermediary and final products for PSF calibrations and reconstruction - image quality monitoring data (e.g., TBD time averaged of rms wavefront error, LOWFS photometry, Cn^2 profile, seeing) - system status monitoring data (e..g, pick-off coordinates, telescope coordinates, system faults) - TBD |  | 1. All data used for data reduction, calibrations and scientific analysis are organized hierarchically, referenced and stored in one location, accessible by the user for backup systems: A copy of the entire data set is archived at the Observatory. |
| Data reduction: PSF calibration post-processing |  |  |
| 1. Astronomers reviews the reconstructed PSF for each individual integration frame. | 1. The support staff monitors the cron jobs that produces the PSF calibration files either in pseudo-real time or after the observing night. | 1. The system produces a PSF calibration file by reconstructing the time-averaged PSF for each individual observation file (using NGAO telemetry data and Cn^2 profile). PSF reconstruction methods and intermediary and final PSF calibrations products are TBD. |
| Astronomical data reduction |  |  |
| 1. Astronomers use the Astronomical DRP to produce the final version of the reduced data used for data analysis. Requirements: TBD (should be part of the instrument PD) |  |  |

Table 4: Post-observing tasks for example observations.

#### Simulation results

#### Issues identified

## Nearby Active Galactic Nuclei

### Imaging

### Spectroscopy

## Measurements of General Relativity effects from astrometric imaging of the Galactic Center

The NGAO Science Case on “Measurements of General Relativity effects from astrometric imaging of the Galactic Center” is a Key Science Drivers and places the most restrictive and technologically challenging constrains on the NGAO system astrometry requirements: ≤ 100 µas for objects ≤ 5 arcsec from Sgr A* (reqt #3a.1).

The requirements for this science case are described in Section 2.3 in KAON 455.  The following sub-sections document its example observations.

### Example observations: Near-Infrared Imaging of the Galactic Center

The proposed H and K-band observations of the 10” x 10” field centered on Sgr A* aim at measuring and monitoring the orbits of the closest stars to the massive black hole at the Galactic Center. With Keck NGAO, the orbits can be monitored with sufficient precision to enable a measurement of post-Newtonian general relativistic effects associated with the black hole. The current limitations to the measurements are 1) the confusion limit because the GC is a very crowded field; and 2) field distortions due to the atmospheric refraction, tilt anisoplanatism and instrument distortions.

#### Description

The observing goal for this science case is the H and K-band astrometry and photometry for the 10” x 10” field centered on Sgr A* located at RA 17 45 40.04 DEC -29 00 28.12

K band (2.2 µm) is a priority as Strehl ratio will be higher at this high air mass (≥ 1.5). This reduces the error terms from confusion with the background stars and allow to identify  new stars, which orbits can be of interest.

| Parameters | Value | Comments |
| --- | --- | --- |
| Science instrument | NIR camera |  |
| Instrument setup | FoV: 10 x 10 arcsec H & K wavelength 10 mas/pixel TBD |  |
| Target observability | 3 hours at airmass ≤ 1.7 1 h at 1.7 ≤ airmass ≤ 2 |  |
| Individual integration time on target | ncoadds x ind. integ. time = 1 min | Evaluate linearity and saturation time ? |
| Observing efficiency | Hopefully better than speckle mode…!! | Requires reading smaller array/FoV? Require readout overhead? Requires ND filters? |
| Positioning precision of Sgr A* | < 100 milli-arcsec |  |
| Background estimation | Small random dither in a ~ 1 arcsec x 1 arcsec box Size of the box depends on the amplitude of the camera distortions. | Using randomly generated positions. Size of dither/dithering method that will minimize overheads. |
|  | Dedicated background by observing background at similar telescope pointing |  |
| Instrumental calibration | Flat field and astrometry | Internal calibration during the day, validated by regular on-sky calibrations |
| Field registration against MASER sources | Observe a 40 arcsec x 40 arcsec mosaic to map GC and MASERs | What are the requirements for the registration. Main error terms for astrometry will be: - Pick-off arms registration - Camera(s) distortions (will we be using the small camera than for GC obs.) - TT residuals |
| PSF calibration | From modeling the 2-D field-dependent profile based on star extraction, AO and Cn^2 telemetry. | Telemetry-based PSF reconstruction |
| Field registration | Observe |  |

Table 5: Summary of the observing parameters for the “Galactic Center imaging” science case

#### Assumptions and pre-requisites

In estimating the observing efficiency, we have made the following assumptions:

- The field is observable for 3.5 hours during the night from Keck II.

- Confirm pixel scale/FoV requirements (based on PSF sampling but also SNR/linearity/saturation/observing efficiency)

  - From KAON 548: pixel scale is ≤ 13 mas, Nyquist sampling at J band

- Individual integration times are:

  - Need to simulate the SNR in H, K’ and K for the 10 x 10 arcsec

  - Need to define what’s best H or K band?

- We anticipate no loss due to LTCS interrupts, assuming we will be first on target.

The total observing efficiency (open shutter on science, including standards) is xx%.

There are several challenges for NGAO on this field:

- High extinction towards the target, as illustrated in Figure 2. The high extinction can lead to difficulties in identifying the NIR NGS stars in the R-band images from the acquisition camera. This is a case where a set of R-band source might be needed to ID the field, then center the field on a dynamic pointing origin, such as to allow the NIR guide stars to be aligned with the LOWFS pick off.

Figure 2 : Galactic Center in H (left) and R band. Yellow squares indicate stars with J, H and K < 15 mag. The field of view is ~ 85” x 130”. The intersection of the 3 vectors denotes the location of Sgr A*.

- Optimal selection for the LOWFS NGS:  the yellow squares indicate the stars that are brighter than magnitude 15 in J, H and K band. There are more than 50 stars in a 2 arcmin x 2 arcmin box centered on Sgr A*. Yet the selection will be a function of the stars’ brightness (bright star case without reaching saturation), a function of the morphology of the stars geometry that will minimize the estimation error for the low-order modes. A selection example of very bright stars in the area is presented in Table 6.

- The presence of very bright stars (e.g., K~ 6.5 mag.) in the vicinity of Sgr A * may constrain the NIR detector integration time, and possibly the field-of-view.

| # | IRAS ID | J | H | K | Distance from Sgr A* (arcsec) |
| --- | --- | --- | --- | --- | --- |
| 1 | 17453982-2900539 | 13.6 | 9.5 | 7.4 | 24.6 |
| 2 | 17453593-2900357 | 14.5 | 10.3 | 8.2 | 54.2 |
| 3 | 17454004-2900225 | 14.2 | 9.3 | 6.5 | 6.0 |

Table 6: Example of possible very bright AO guide stars for the Galactic Center

##### Observing model

The PI astronomer and her/his team would need xx half (and full) observing nights each year. Assuming a weather-loss fraction of 0.25 (KAON 463), this requires x1 to x2  allocated nights (spread over  one semester) to collect the needed sample of data.

Astronomers are requesting half to full night(s) for this science case in classical observing mode. The astronomer(s) will be performing the observations remotely (either from Waimea or elsewhere) and assessing the data quality on-the-fly. The observations require less than 1 mag of extinction in the V band (for the use of lasers). The PI and the science team are responsible for the backup observing program.

The science instrument configuration will be detailed during the Preliminary and Detailed Design phases for NGAO.

KAON 548 provide details for the.

#### Pre-observing tasks

During the pre-observing planning process, the astronomer will want to perform the following actions from her/his home institute:

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| Task: instrument selection |  |  |
| 1. Review NIR camera performance parameters for anticipated use, e.g., sensitivity limit, filter, spatial, science field of view, multiplexing options, etc. |  | 1. Provides complete list of NIR camera performance parameters, including instrument distortion calibrations, relevant constrain for observing and setup, etc. |
| Science fields and targets selection |  |  |
| 1. The astronomer reviews main requirements affecting final targets selection for this choice of instrument setup: e.g. maximum distance to guide stars (GS), GS brightness and morphology, telescope pointing limits, etc. |  | 1. Provides a narrative of target selection rules applied by the AO Guide Star tool. |
| 2. Search and save coordinates for AO Natural Guide Stars within the ~ 1 arcmin x 1 arcmin centered on the Sgr A*. Using appropriate catalogs and other references, the astronomer extracts the R, J, H and K band brightness for each NGS. |  | 2. Provides an AO Guide Star tool that will search catalogs available on the internet (ADS, NASA, etc) and extract the coordinates, brightness (visible and NIR) and color information for a list of science field coordinates. |
|  |  | 3. Using Sgr A*, the GS tool will derive and save various configurations for the GS selection. - This science field presents various possibilities for the AO GS configurations. - A set of selection rules will be used to quickly derive the most favorable GS configuration (e.g, based on brightness/distance, known binaries, opening angle, TBD). |
| 3. Use the available tool and the observing information to derive general NGAO configuration and check for any problem. |  | 4. Given the characteristics of the science target(s) (e.g., number of field(s) and corrected field of view – largely based on the instrument selection/setup), a tool will identify and recommend a general configuration for the NGAO system (e.g., laser asterisms geometry, PnS on AO GS, etc.) |
| 4. Astronomers review the target + AO GS list and might choose to keep at least 2 or 3 GS configurations. |  | 5. For each science field and GS configuration, the tool will return a first-order performance metrics (based on a NGAO performance look-up table as a function of primary observing and system parameters). |
| 5. The astronomer will use the starlist tool to save the starlist in various required format: LCH submission format, telescope format, astronomer format, or any specific syntax required. |  | 6. A starlist tool allows the user to easily manage the starlist information (including coordinates for science fields, science targets, AO GS configurations, acquisition reference source and science reference source). |
| Pick-off alignments |  |  |
| 1. Review the information and: - identify source(s) for field ID in R band wrt AO GS. - the methodology for sky background |  | 1. A pick-off alignment tool simulates and overlay the location for the pick-off arms over the sources in the field and the LGS. |
| 2. Selects a geometry for the pick-off alignment for the individual IFS and saves it (with the starlist information - TBC). Two parameters need to be defined: field orientation, coordinate for the center of the LGS asterism and anticipated dither geometry (these values might be easier defined in instrument coordinates as the LGS needs not to move wrt to the science center). |  | 2. A pick-off alignment tool simulates, checks and save the location for the pick-off arms for the science target(s), the AO GS, and the LGS. The center for the LGS asterism will be Sgr A*. |
| Simulate NGAO performance on science fields |  |  |
| 1. The astronomer provides the science fields coordinate list, including individual science targets and NGS guide stars. |  | 1. For each science field and GS configuration, the tool will return a performance metrics (based on a NGAO performance look-up table as a function of primary observing parameters and a library of PSF). |
| 2. The astronomer provides an observing setup including observing wavelength and spectral resolution, an observing date/time (or air-mass), and selects an observing conditions scenario (e.g., x% percentile seeing conditions, wind conditions) |  | 2. Includes a library of Mauna Kea atmospheric conditions for the relevant parameters used for the AO simulations. The tool allows the user to define the expected airmass range and a range of observing conditions within the library. |
| 3. The astronomer selects the output format for the AO performance on the science targets. |  | 3. For each observing case, the simulation tool outputs a simulated performance at the location of the science target. The AO performance includes the values for Strehl ratio, FWHM, Ensquared Energy (assuming a pixel geometry), residual TT rms, and TBD. The tool will deliver a model PSF representative of the average AO performance over 5 min with the selected observing conditions. |
| Simulate the instrument performance: SNR tool |  |  |
| 1. The astronomer provides: - The output PSF profile from the NGAO simulation tool - A spatial (and spectral?) model for the object (format TBD) - A total flux expressed in TBD photometry system (mJ, ergs.s-1) |  | 1. The SNR tool takes as inputs: - The output PSF profile from the NGAO simulation tool - A spatial (and spectral?) model for the object (format TBD) - A total flux expressed in TBD photometry system (mJ, ergs.s-1) |
|  |  | 2. The SNR tool includes routines, data libraries and documentation for: - Sky emission flux model (airglow + continuum) - Transmission and background emission model for the telescope + AO + instrument - Model templates for the spatial (and spectral?) model for the object (format TBD) |
| 3. The astronomer uses the tool to derive signal-to-noise ratio for selected integration time and observing setup. |  | 3. The SNR tool estimates the signal-to-noise per pixel as well as integrated SNR, based on a model for the instrument for the observing setup. The instrument model will include: - A model for the detection noise, depending on detector readout options. - Reference sensitivity numbers for the instrument (e.g., instrument optics transmission, detector QE, % linearity vs. deep-well, zero-points) - Options for errors in sky subtraction (e.g., photon noise only, x% increased residuals due to OH airglow variations) |
| Observing sequences planning |  |  |
| 1. The astronomer enters or selects the observing parameters for each observing sequence for the science object: object name, target list integration time, filter selection, dither pattern (number and coordinates), spatial and spectral observing setup, etc. A good starting reference for planning the observing sequences for the science instrument is the OSIRIS Observations Plannng Gui (OOP Gui). Note that the OOP Gui does not include the full set of information such as location of Guide Stars |  | 1. The tool is used for planning the observations in all possible details, including information on targets and guide star coordinates, field orientation per science target, filter sets, dithers, sky positions, etc. The planning tool uses the coordinate information to display the location of the science fields, the guide stars, and the AO field of regard, hence allowing the user to check the field geometry in either sky or instrument coordinate systems. |
| 2. The astronomer simulates various observing scenarios and save the final selected planning sequences. |  | 2. The planning tool estimates the observing efficiency for the observing sequence (i.e., not including the AO acquisition or the calibration standards). The accompanying documentation provides information on observing overheads such as detector readout, dithering overhead, etc. |
| 3. During observing, the observer will load up the observing sequences using the same tool, check these sequences one more time, make changes if necessary and command their execution. |  | 3. The planning tool will be used during observations to check the observing sequences and save the file that will be used by the observing sequence execution Gui. |
| Calibration sequences planning |  |  |
| 1. The astronomer reviews the required calibration: fine centering source, telluric standard, photometric standards, darks and flats, skies. TBD: case of the standard star(s) require AO GS and LGS. |  | 1. The documentation provides information on the required calibrations. |
| 2. The astronomer simulate various calibration sequences and save the planning sequences. Particularly, there could a case where additional source(s) in the science field could serve as reference for fine centering, telluric or photometric standard, and/or PSF calibrations. The source could be observed simultaneously in the science field with one of the d-IFS arms. |  | 2. The planning tool is used to simulate and save the instrument configuration for calibration sequences. |
| 3. The astronomer determines the requirement for the PSF calibrations, and prepares the corresponding observing sequences. |  | 3. Provide documentation on PSF calibration procedures and expected performance. |
| Laser Clearing House target submission |  |  |
| 1. The astronomer produces a list of all science fields requiring laser propagation including coordinate information for the science targets and the AO GS in a TBD format. In addition, the list includes information on brightness, color and morphology for each AO GS in TBD format. At this point, we think it is not necessary to include details from 1) the observing sequences in LGS mode (yet, large offsets with LGS could require an additional pointing for LCH clearance); 2) target information for the observing sequences performed in NGS mode. |  | 1. The star list tool allow the user to save a star list in the coordinate and list format required for LCH. |
| 2. The astronomer sends the list to the Observatory at least TBD (working) days in advance of the observations. | 2. The Observatory staff uses a LCH coordination tool that collects the star list information per night (likely from formatted emails) and consolidate it (e.g., add engineering pointings or other astronomers’ data). The staff uses the LCH coordination tool to send a notice message to the observer(s) that includes the target list information sent for LCH approval. | 2. The star list tool allows the astronomer to submit the star list to Keck. A LCH coordination tool receive the target list from the observer. The tool has access to Keck data base for managing and using observers information for a given observing night. |
| 3. The astronomer checks the list sent by email from Keck, and sends a formatted reply back to Keck. |  | 3. Upon positive reviews from the astronomers, the LCH coordination tool submits the list by email to LCH. |
|  | 4. The LCH coordination tool receives the times where laser propagation is precluded from LCH and format it for the observing planning and execution tools. |  |

Table 7: Pre-observing tasks for Galactic Center NIR imaging observations

#### Observing tasks

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| Target selection |  |  |
| 1. The astronomer selects the next science targets among the planned observations. The astronomer checks the target field status for observation planning: target field uptime, laser traffic control clearance during the anticipated observing time, etc. | 1. The support staff checks the science field observability status: target field uptime, target submitted to LCH, LCH no-propagation windows, laser traffic control clearance, etc. | 1. A tool provides information and status on observability using LGS for the science targets. The tool displays: telescope limits and target uptime, target LCH status, laser traffic control status on target, etc. |
| Field identification |  |  |
| 1. The astronomer prepares the necessary information to review and ID the field in the R wavelength range: R-band chart, etc. | 1. Command telescope slew and request setup for NGAO (acquisition, laser, AO, pick-off alignment, instrument) based on observing sequences information. | 1. Given selection of instrument, number and coordinates of science targets and guide stars, pick-off alignment information, the tool output a configuration for NGAO sub-systems (acquisition, laser, AO, etc). This tool can run in a preview mode in the afternoon during observing checkup. Execute setup commands for NGAO (acquisition, laser, AO, pick-off alignment, instrument) based on observing sequences information. |
| 2. Once the telescope is pointing at the science field and the field rotated as requested, the astronomer helps ID the field using the acquisition camera display, a catalog image of the same field and any additional information. Astronomers use the AO guide stars as a reference in the R-band. | 2. Assesses whether the telescope pointing needs to be adjusted on a nearby reference star and find the tar star (note that this could be fully automated by inserting a telescope pointing star for every science field); Based on the AO guide stars, ID the field using the acquisition camera display, a catalog image of the same field and any help from the acquisition system and the astronomer. | 2. The acquisition system displays simultaneously the on-sky recorded image, a catalog image of the field at the same wavelength, orientation and scale, and the coordinates and information for the AO guide stars. The tool attempts to cross-correlate the two fields and ID the brightest objects. The ID information for the brightest GS in the field is overlaid to the recorded image to be viewed by the astronomer and support staff. |
| Science fields and guide stars acquisition |  |  |
| 1. Review the science instrument setup. | 1. Monitors the progress on the science fields acquisition by checking that the AO GS is registered with the location of the probe arms (e.g., counts on LOWFS). Note that this is an off-axis acquisition where the pointing origin is re-defined for each new science field geometry (not currently implemented with Keck AO). | 1. The acquisition software (MAGIQ) estimates the telescope offset and applies this offset. The science field acquisition is performed by registering at least one AO GS with a pixel location on the acquisition camera (pointing origin) such that the science target(s) are registered with the pointing origins corresponding to the center of the science detector(s). |
| 2. Monitor the AO performance during acquisition and wait for go-ahead from support staff and system! | 2. Monitors the progress of NGAO acquisition. There should be any manual acquisition step as it generally slows down efficiency and reliability. Gives the go-ahead to the astronomer when NGAO acquisition completes. | 2. The NGAO software commands the LGS and LOWFS acquisition, closes the loops and optimizes the system performance. The software informs on “AO readiness” when NGAO acquisition is complete and performance is optimized. |
| Fine centering |  |  |
| 1. Fine centering is checked by observing one of the science target (or any identified source in the field) bright enough and visible in one sky-subtracted integration; Case 1: the AO GS are well centered for the pre-defined pick-off coordinates: the fine centering checkout observations will be performed without pre-offset. Case 2: the AO GS are all de-centered for the pre-defined pick-off coordinates: the fine centering checkout observations will be performed after a pre-offset estimated from the average positioning error. | 1. Monitors the execution of the automated observing sequences for Case 1. Inform the observer and coordinate/confirm the re-centering actions for Case 2. | 1. The NGAO system identifies the source(s) used for fine centering from the observer star list information. |
| 2. Blind fine centering: when none of the science target (or any identified source in the field) are bright enough and visible in one sky-subtracted integration; Case 1: the AO GS are well centered for the pre-defined pick-off coordinates: science observations will be performed without pre-offset. Case 2: the AO GS are all de-centered for the pre-defined pick-off coordinates: science observations will be performed after a pre-offset estimated from the average positioning error. | 2. Monitors the execution of the automated observing sequences for Case 1. Inform the observer and coordinate/confirm the re-centering actions for Case 2. | 2. The NGAO system may re-position each pick-off arms to minimize the centering error. |
| Observations on-source science fields |  |  |
| 1. Load the observing sequences | 1. Monitors the execution of the observing sequences. | 1. NGAO system (including instrument) provide the tools to load, execute and monitor the progress for the observing sequences. |
| 2. Monitors the execution of the observing sequences. | 2. Monitors system performance variables such as LOWFS photometry and AO performance. |  |
|  | 3. Monitors NGAO health and fault detector. |  |
| Dither on the science field |  |  |
| 1. Monitors the execution of the observing sequences. The dither pattern is defined in the observing sequences and the pattern cannot be changed on-the-fly. The pattern can be defined in sky or instrument coordinate systems for a given sky orientation. | 1. Monitors the execution of the observing sequences. | 1. The NGAO system dithers the science targets around the science array with minimal overhead - by repositioning the science pick-off only, for move if the pick-off FoV permits - or by repositioning all pick-off (case dither amplitude is larger than pick-off FoV) - See KAON 558 |
| 2. Monitors the image quality as frames are being recorded and display. TBD: requirements for the on-the-fly DRP. |  |  |
| Calibrations: telluric and photometry |  |  |
| 1. Performs the necessary calibrations required by the data reduction pipeline. | 1. Provides support for the required calibrations. The requirements for the flat-field and spectral calibrations required by the data reduction pipeline will be detailed during the study and design of the d-IFS. | 1. Provides documentation, characterization and support for the required calibrations. |
| 2. Load and execute the observing sequence for the telluric and photometric calibrations. |  |  |
| 3. Calibrate the PSF possibly using one of these methods: 1) PSF monitoring using one IFU, and/or 2) PSF reconstruction based on ancillary telemetry (WFC and Cn^2 data). The first scenario is costly to science as it requires dedicating one probe arm to the observations of a point-like source but provides a simultaneous PSF calibration for one location in the field. Extrapolating the PSF measured on one location to any location in the corrected field has been demonstrated (Britton 2006). |  | 3. The NGAO system records ancillary data and provide the tool for reconstructing the PSF. |

Table 8: Observing tasks for Galactic Center NIR imaging observations

#### Post-observing tasks

| Astronomer | Support staff | Instrument |
| --- | --- | --- |
| Nightly data saving |  |  |
| 1. The astronomer | 1. The s | 1. A tool provides a log of the d |
| Data reduction pipeline |  |  |
| 1. Astronomers use Quicklook DRP to assess the |  |  |
| 2. Astronomers use the Astronomical DRP to produce the final version of the reduced data used for data analysis. Requirements: TBD (should be part of the instrument PD) |  |  |

Table 9: Post-observing tasks for Galactic Center NIR imaging observations

Save data:

The generic data product includes:

  - The raw science and calibration data

  - The reduced science and calibration data

  - The PSF reconstruction data from the WFC and Cn2 profiler telemetry, if applicable

  - The image quality monitoring data (SR, EE, flux on LOWFS and laser return, fault events log, etc)

The d-IFS will include its own data reduction pipeline. The requirements for the DRP will be developed during the design phase for the d-IFS.

The observatory will save and store at least one copy of the entire set of the data product, defined with the observer. The requirements for the automated archive of the NGAO data will be studied and developed during the Preliminary Phase for NGAO.

The archived data will be proprietary and the release mechanism for technical or scientific purpose after a certain delay will be defined in the Preliminary Design phase of NGAO.

## Measurements of General Relativity effects from radial velocity measurements of the Galactic Center

## Etc

## Interferometry science

# Use Cases

## Search and selection of AO natural guide stars

## AO performance estimation

## Format and definitions for the star list

## Planning the observing sequences with “INST”

## Planning the observing sequences with IF

## Exposure time estimation with “INST”

## Observing efficiency estimation with “INST”

## Loading the observing sequence

## Field acquisition and centering on “INST” pointing origin

## AO acquisition

Three types of targets needs to be acquired on the NGAO photo-sensors:

- the NGS for the LOWFS, the TWFS and/or the WFS

- the astronomical sources for the science instruments:

  - for the d-IFS: target galaxies plus simultaneous science field calibrators

  - for the narrow field science instruments: the science target

- the Laser Guide Stars for the HO WFS.

The LGS acquisition section will be detailed in the next iterations of the example observations, depending of the options selected for the LGS asterisms and the point-and-shoot mode.

The table below presents a generic description for the acquisition sequence (see KAON 567).

| Step | Observing Step | Parallel Steps | Remarks |
| --- | --- | --- | --- |
| 0 | Select next target: - assess science priority - check target elevation range - check observing conditions - check LTCS conditions | Complete integration on current science target or calibrator. When target selected from Planning Tools, then information is loaded in OSC Tools. | It is not clear yet whether the astronomer will have to run these checks manually or whether it will be automated. |
| 1 | Upon completion of readout of science array, LGS is shuttered, AO loops open and key-system feedback parameters are saved then the Science Operations (ScOp) Tools triggers the telescope slew. | OSC Tools parses information, and get ready for execution: - NGS parameters for acquisition - AO configuration - Instrument configuration |  |
| 2 | Telescope slews | The OSC Tools sends command to the subsystem sequencer and setup sequences are executed as appropriate by the AO, Laser, Science Instrument subsequencers. |  |
| 3 | Telescope Pointing Adjustment on one of the NGS (brightness allowing). This steps is automatically performed by the NGS acquisition subsystem with the visual check of the Observing Assistant (OA). Upon success, pointing corrections are applied and next telescope slew is commanded from the OSC. |  | This step is required when the NGS are fainter than R=18 mag. (TBC) or when the telescope slews by more than x deg in elevation/azimuth range. |
| 4 | Telescope coarse registration on the science field. NGS acquisition subsystem runs an automated routine to record and process image, ID the NGS in the field wrt catalog data then compute required offset. Visual check of process by OA. Upon success, position offsets are applied to telescope. | LGS propagation and acquisition steps initiated. If small telescope centering offset (<5 “ – TBC), uplink TT correction closed with very low gain. Pickoff positioning and LOWFS setup complete including background. | Need to implement the acquisition for the vibration/wind shake reference. Need addit’al study for telescope guiding. Not clear if the HOWFS will require a background. |
| 5 | Telescope fine registration on the science field: If photons are not detected at the expected SNR on the LOWFS (or NGS not on Pointing Origin), then NGS acquisition subsystem runs a second iteration. Visual check of process by OA. Iterate if necessary (to be detailed). Upon completion adjust telescope pointing model. | Pick-off mirrors for science and TWFS in position | Need to check the conditions for the dichroic during this step. Need to be able to adjust pointing model for telescope even though PO != REF. |
| 6 | AO subsystem control: 1) low gain on woofer and MEMs, 2) increase gain on UT, 3) start telescope guiding, 4) adjust woofer and MEMs gain, 5) initiate TWFS + tomography optimization | Science instrument is setup: optics and read modes are set and confirmed. May record first exposure to check centering with point-source and expected SNR/coadd. Monitor image quality and assess optimization progress. | UTT control (all/individual?) Assuming redundant information from USNO-B, GSC-II and SDSS, uncertainty in the field centering should be ~0.2” (TBC). |
| 7 | Science integration starts |  |  |

Table 10: Generic acquisition steps for NGAO

The main contributions to the centering error budget during NGAO acquisition in LGS mode are:

- The accuracy for the knowledge of the separation distance and PA between the stars and the galaxies from the literature. This information is provided by the astronomer, and can be less than 10  milli-arcsecond  if the field has been observed (recently) with HST cameras. The USNO-B on-line catalog  provides an astrometric accuracy of 200 milli-arcsecond, and the astrometric solution for the USNO-B, GSC-II and SDSS catalogs are improved as the proper motions are being calibrated using GSC-I (KAON 467).

- The accuracy in positioning the pickoff arm for each science target w/ respect  to the TT closed-loop reference position for the LOWFS, which is the total of:

  - The internal positioning accuracy and position stability for each individual pick-off  arm (science and LOWFS) – the requirement is less than 5 milli-arcsecond (KAON 548)

  - Registration accuracy and stability between LOWFS and science arms including TT stage positioning accuracy.

- The differential atmospheric refraction between the LOWFS and the science

- The total contribution from the optical distortions  due to thermal gradient, alignment error, woofer and MEMs positioning between the science array and the LOWFS.

KAON 559 provides a conceptual study report for the “Interim LOWFS and LGS Object Selection Mechanism” and shows that the requirement for the positioning accuracy can be met (contribution #2 above). Yet, contribution # 3 and #4 will need further analysis during the PD or DD phases.

### NGS AO acquisition

### LGS AO acquisition: acquiring the NGS (LOWFS and TWFS)

### LGS AO acquisition: acquiring the LGS

## Science target acquisition and fine-centering in narrow field instrument

## Science target acquisition and fine-centering in wide field instrument

## Observing sequences execution

The observing sequences will be coordinated at the Observing Sequence Tool level to minimize the  overhead during dither and offset scripts: as soon as the instrument reports that the readout is complete, the OS tool will command the dither or offset either in instrument pixel or sky coordinates. KAON 558 proposes possible scenarios for dither and offset. We anticipate that any repositioning of the observing reference frame of less than 5” (TBC) will be performed by repositioning internal optics and will not require to move the telescope (hence not require to open any loops). These we propose to define as “dither” and should take less than 5 seconds.

Conversely, any move that require to move the telescope and open the AO loops are defined as offset, and may require  longer overhead (~ 15 -30 sec - TBC).

### Initiating an observing sequence in NGS mode

### Initiating an observing sequence in LGS mode

### Dither sequences with the d-IFS

### Dither sequences with the narrow field science instruments

### Dither sequences in NGS AO

### Offset sequences with the d-IFS

### Offset sequences with the narrow field science instruments

### Offset sequences in NGS AO

### Filter sequences with the science instrument

## Calibration observing sequences

### PSF sequences

### Telluric and photometric standard sequences

### Background emission sequences

### Twilight sequences

## Switching AO modes and science instruments

### From wide to narrow field science

### Switching AO modes

### Switching to backup instrument

## Troubleshooting common observing situations

### Variable counts on NGS sensors

### Variable counts on LGS sensor

### Laser interrupt from LTCS (including LCH)

### Observing interrupt for sub-system fault (AO, Laser, instrument, DCS, etc)

### Etc

## Post-observing

### Data products

#### Science data product

#### AO & ancillary data product

### Data storage and archive

### PSF reconstruction

## AO/Laser calibrations & alignment  sequences

### Day time calibrations

### Night time calibrations

# Observing support effort and technical operations

## Science instruments extra-operational support

### Access to the system for maintenance

### Preventive maintenance needs

## AO/Laser extra-operational support

### Access to the system for maintenance

### Preventive maintenance needs

### Access to the system for development

## Ancillary systems operational support

### Access to the system for maintenance

### Preventive maintenance needs

### Access to the system for development

# Glossary

## Acronyms and abbreviations

The following acronyms and abbreviations  were used in this document:

- KAON: Keck Adaptive Optics Notes, available from the NGAO Twiki site or from KeckShare

- NGS: Natural Guide Star, used for sensing low and high order modes, depending on brightness and AO mode.

- LGS: Laser Guide Star

- TAC: Time Allocation Committee

- LOWFS: Low Order Wavefront Sensor, sensors looking at a NGS used for tip-tilt / focus and astigmatism.

- TWFS: True Wavefront Sensor, sensor looking at a NGS used for providing a true reference for the average residual aberrations.

- d-IFS: deployable Integral Field Spectrograph

- IFU: Integral Field Unit

## Jargon and definitions

The following terms were used with the corresponding definitions:

- Dither:

- Offset

# Appendix