## Slide 1: NIRTTS Cool Down #5
TEMPERATURE SENSOR LOCATIONS

## Slide 2: Temperature Sensor Locations
LakeShore | Diode | Location
C1 | K05 | Optical Bench
C2 | K14 | Cold Head
C3 | K02 | Thermal Link #1 cold head side
C4 | K10 | Thermal Link #1 optical bench side
D1 | K04 | Cryo Cooler Interface
D2 | K09 | Lens Tube/Corset
D3 | K07 | Rear Radiation Shield
D4 | K12 | Thermal Link #2 optical bench side
Resistance | 19.8Ω | Mounted to the optical bench

## Slide 3: Temperature Sensor Layout
K05
K4
K02
K10
K12
Thermal Link #2
Thermal Link #1

## Slide 4: Temperature Sensor Layout
K09
CORSET

## Slide 5: Temperature Sensor Layout
K14

## Slide 6: Temperature Sensor Layout
K07