Keck Adaptive Optics Note 575

Keck Next Generation Adaptive Optics

System Design Report

P. Wizinowich, R. Dekany, D. Gavel, C. Max

March 20, 2008

Table of Contents:

- Introduction

- Recommended Reading and Background Information

- Motivation for the Development of NGAO

- System Design Phase Proposal and Management

- Requirements

- System Design Manual

- Systems Engineering Management Plan

- Conclusion

Appendix A. NGAO Keck Adaptive Optics Notes

Appendix B. Science Case Requirements Summary

# Introduction

This document is intended to provide a brief summary of the work accomplished during System Design (SD) phase for the Next Generation Adaptive Optics (NGAO) System.  The SD phase is the initial design phase for all W.M. Keck Observatory (WMKO) development projects.  Successful completion of the SD phase will allow the project to move into the Preliminary Design phase.

# Recommended Reading and Background Information

The current document provides a high-level overview.  We recommend that the System Design Phase reviewers also read the following key Keck Adaptive Optics Notes (KAONs):

- Science Case Requirements Document (KAON 455)

- System Requirements Document (KAON 456)

- Functional Requirements Summary (KAON 573)

- System Design Manual (KAON 511)

- Summary of NGAO Trade Studies (KAON 495)

- Technical Risk Evaluation (KAON 510)

- Programmatic Risk Evaluation (KAON 566)

- Systems Engineering Management Plan (KAON 574)

A list of all the NGAO-related KAONs produced through the system design phase can be found in Appendix A or at http://www.oir.caltech.edu/twiki_oir/bin/view/Keck/NGAO/NewKAONs.   This web site is located within a Twiki shared website

(http://www.oir.caltech.edu/twiki_oir/bin/view.cgi/Keck/NGAO/WebHome) that we established early in the System Design phase to serve the functions of management, information exchange, document sharing and document maintenance.  The NGAO Twiki site continues to be very actively used by the project team.

# Motivation for the Development of NGAO

Keck I1 and Keck II are the world’s largest optical and infrared telescopes.  Because of their large apertures they offer the highest potential sensitivity and angular resolution currently available.  WMKO has already demonstrated scientific leadership in high angular resolution astronomy with the first natural guide star (NGS) and laser guide star (LGS) AO systems on 8-10 meter diameter telescopes.  The importance of achieving the full potential of the Keck telescopes is recognized in the Observatory’s Strategic Plan, which identifies continued leadership in high angular resolution astronomy as a key long-term goal.

The current Keck AO systems are more than 9 years old (commissioned in 1999 and 2001, respectively).  They are functioning well on both Keck I and Keck II.  Their wavefront control computers and cameras recently underwent a successful upgrade, and Keck’s record of scientific publications with AO is excellent.  However it has been more than a decade since these systems were designed.  Dramatic progress had been made in AO concepts and implementation since then, most notably in the area of tomographic wavefront reconstruction.  Further, the rest of the world has ambitious plans to implement new AO systems, most of which take advantage of multi-guide-star tomography.  In order to maintain our leadership in this field we must pursue new AO systems and the science instruments to exploit them.

We have examined, and are continuing to examine, a broad range of key science goals in order to identify the most compelling high angular resolution science priorities of our community and to determine what AO characteristics are needed to realize these goals.  We have identified that Keck’s Next Generation AO system should provide the following suite of capabilities:

- Dramatically improved performance at near infrared wavelengths.

  - Both significantly higher Strehls (≥ 80% at K-band) and lower backgrounds will result in improved IR sensitivity.

  - Improved point spread function (PSF) stability and knowledge will result in more precise photometry and astrometry, and in higher companion sensitivity.

- Increased sky coverage and a multiplexing capability, enabling a much broader range of science programs.

  - AO correction of infrared tip/tilt stars will result in improved sky coverage.

  - Multiplexing via a deployable integral field spectrograph will provide dramatic improvements in science throughput for applications such as high-redshift galaxies.

- AO correction in the red portion of the visible spectrum (0.7-1.0 µm).

  - Strehls of 15 to 25% at 750 nm will result in the highest angular resolution of any existing filled aperture telescope.

- Science instruments that will facilitate the range of science programs envisioned for NGAO.

To meet these goals we have developed an innovative AO architecture, the cascaded relay, and an opto-mechanical implementation shown in Figure 1 that we think is indeed feasible and can meet the science NGAO requirements.  We have analyzed NGAO’s computer software and hardware needs, and find them feasible as well.  Details will be discussed in the sections to follow, where references to the relevant KAONs will also be found.

Figure 1.  Opto-mechanical layout for the Cascaded Relay architecture pursued during System Design phase.  A large, wide-field optical relay feeds the d-NIFS deployable-IFU spectrograph.  It also sends light to a narrow-field rely providing a low-wavefront-error feed to the visible and near-IR imagers and to the OSIRIS spectrograph.

NGAO will be a broad and powerful facility with the potential to achieve major advances in astrophysics.  It will provide dramatic gains in solar system and galactic science where narrow-field AO has already demonstrated a strong scientific impact.  NGAO will also allow for extraordinary advances in multiplexed wide-field-of-regard AO, e.g. for extragalactic astronomy, far beyond the initial gains being made with the Observatory’s current AO systems.

The NGAO proposal (KAON 400) and NGAO proposal executive summary (KAON 399) provide more background on the motivation for the development of NGAO.  Further scientific motivation is provided in the NGAO science case requirements document (KAON 455).

# System Design Phase Proposal and Management

## Proposal

A proposal (KAON 399 and 400) for NGAO was presented at the June 2006 Keck Science Steering Committee meeting.  The proposal was approved to proceed to the SD phase.  The Directors of W. M. Keck Observatory (T. Armandroff and H. Lewis), Caltech Optical Observatories (S. Kulkarni), and the University of California Observatories (M. Bolte) subsequently set up an Executive Committee (EC) to manage the NGAO SD phase.  The EC consists of P. Wizinowich (chair), R. Dekany, D. Gavel and C. Max (Project Scientist).

## System Design Phase Plan

Subsequent to the approval of the NGAO proposal, the EC prepared a Systems Engineering Management Plan (SEMP) for the NGAO System Design Phase (KAON 414).  This plan was approved by the Directors and work began on the SD phase in October, 2006.

Two re-planning activities were scheduled in the original System Design phase plan.  The results of the two re-plans are documented in KAONs 481 and 516.

## System Design Phase Objectives and Deliverables

The objectives and deliverables for the System Design phase are defined in KAON 414.  The primary objective of the System Design phase is to establish a design approach that meets the scientific and user requirements established for the system.

The four major System Design phase deliverables are: the System Requirements Document, the System Design Manual, the Systems Engineering Management Plan for the remainder of the project, and the System Design Report (SDR – this document).  The purpose and status of the first three of these deliverables is discussed in sections of this document to follow.

## Project Reports

The EC issued NGAO progress reports versus our project plans prior to each SSC meeting (KAONs 459, 473, 494, 512, 514 and 557).

# Requirements

There are three main requirements documents:

- The Science Case Requirements Document (SCRD):  KAON 455.

- A 1-page summary of the science case requirements (KAON 548) is attached here as Appendix B.

- The System Requirements Document (SRD): KAON 456.

- The Functional Requirements Document (FRD): KAON 573 and the Contour Database.

There is a fourth requirements document that is referenced by the SRD.  This is the Instrument Baseline Requirements Document (KAON 572) which contains Observatory standard requirements for any instrument.

The requirements process can be summarized as follows:

- The science case requirements are developed in the SCRD.

- The science case requirements from the SCRD, and additional requirements imposed by the Observatory, are tabulated in the Overall Requirements section of the SRD.  These overall requirements are then flowed down to discipline based requirements in the SRD.  The requirements are divided between performance, implementation and design requirements.  The disciplines are Optical, Mechanical, Electronic/Electrical, Safety, Software, Interface, Reliability, Spares, Service and Maintenance, and Documentation.  Note that the SRD avoids prescribing specific design or implementation solutions.

- The FRD flows down the requirements from the design-independent SRD to requirements on a few high level subsystems.  The flow down of the SRD requirements to the FRD requirements is frequently a design choice that could be revisited.  The subsystems are chosen to divide the NGAO system into functions that would be required independent of the selected architecture.  At minimum these subsystems include the AO system, laser facility, science operations facility, and science instruments, with further subdivision as appropriate.  For each subsystem there is a section in the FRD describing the architectural assumptions, followed by a breakdown of the requirements by the same disciplines as used in the SRD.

The FRD provides the criteria against which the subsystems will be evaluated.  The SRD provides the criteria against which the NGAO system as a whole will be evaluated.

In the remainder of this section we give an overview of the science case requirements and of the requirements for the NGAO system that flow down from the science requirements.

## Science Case Requirements Document

The SCRD documents X key science case drivers and Y additional science case drivers.  These cases were selected because they represented important science cases that would define the requirements on the AO system and science instruments from different perspectives.

Claire: I am working on this section separately.  Iwill have it finished by the end of the afternoon on Monday, at the latest.

## Science Case Requirements Summary

A high level summary table of the science requirements can be found in Appendix B.  In this section a brief description of each of these requirements is provided.  The summary table groups the requirements by three categories: physical, performance and operational.  The requirements are reported for each science instrument: visible imager, visible spectrograph, near-IR imager, near-IR spectrograph, near-IR deployable IFU, and the Keck Interferometer.  The science cases that drive these requirements are listed at the bottom of each column; and these are defined in the table at the lower left of the page.  There is also a category of “Other” requirements and goals in the spreadsheet that is discussed at the end of each subsection.

- Physical Requirements

- Wavelength range.

  - The visible instruments require a transmitted wavelength range of 0.7 to 1.0 µm, with a goal of a lower wavelength limit below rest-frame H (0.6563 µm).

  - The near-IR instruments require a transmitted range from 1.0 to 2.4 µm, including the J, H and K spectral bands, but also as a goal the Y and z-bands (0.98-1.20 µm).

  - The interferometer requires coverage from J through L-band, with a goal to N-band.

- Field of view diameter

  - Based on the science cases considered to date, the field of view requirement (15" field diameter) for the narrow-field instruments is relatively modest.  A decision was made, in consultation with the Keck AO Working Group, to require a 30" diameter field to allow for science cases not considered as well as dithering and finding a point source.

  - The field of view requirement for each deployable IFU unit is 1”x3”.  This allows adequate field to dither a < 1” diameter science object along the long axis so as to obtain a sky background measurement.

  - The interferometer’s field of view is quite small, leading to a ≥ 1” diameter requirement.

- Field of regard diameter

  - This is applicable to the instruments where the field of view can be positioned within a larger field of regard.

  - The requirement for the deployable IFU heads is ≥ 120” diameter.

  - The requirement for the interferometer is ≥ 60” diameter to allow for simultaneous observation of an on-axis phase referencing star and an off-axis science target.

  - Minimum number of IFUs

  - The requirement is to have 6 or more independently positionable IFUs heads.

  - AO background

  - For all near-IR instruments the requirement is that the AO system contribute ≤ 30% of the unattenuated background due to the sky plus telescope.

  - Performance Requirements

The performance requirements must be met under median seeing conditions (as defined in KAON 503 and summarized in the bottom right corner of the spreadsheet): r0 = 18 cm and 0 = 2.9”.

- Sky coverage

  - In all cases with the exception of the interferometer, the following performance criteria are required to be met over ≥ 30% of the sky.

- High order wavefront error (WFE) for ≤ 5” field of view

  - The requirement on residual rms WFE after correction is ≤ 170 nm as delivered to the science focal plane of the narrow field imagers and spectrographs.  High order refers to all terms higher than tip and tilt.

- Tip/tilt error

  - The requirement on residual rms tip/tilt error is ≤ 15 mas as delivered to the science focal plane of the narrow field imagers and spectrographs for the ≥ 30% sky coverage case.  For the special case of the Galactic Center the requirement is ≤ 3 mas.

- 50% ensquared energy

  - Ensquared energy was determined to be a more relevant requirement for the NIR deployable IFU (the corresponding high order and tip/tilt errors can be derived from this requirement).  The requirement is for 50% of the energy to be enclosed in an area of ≤ 70 x 70 mas when the sky coverage is 30%.

- Companion sensitivity

  - This requirement is relevant only to the visible and NIR imagers.  The requirement is written for different filters and different angular separations according to the relevant science case.  For example, for planets around low mass stars ΔJ ≥ 11 at 0.2” separation from the primary star.

- Photometry

  - The relative photometry requirement is ≤ 0.05 magnitudes for both imagers.

- Astrometry

  - The requirement is relative astrometry ≤ 100 as for the Galactic Center science case; for other science cases it is ≤ 5 mas for both imagers.

### Operational Requirements

- Point Spread Function (PSF) estimation

  - An estimate of the PSF, for post-processing purposes, is required for both imagers and is a goal for both spectrographs.  The accuracy required is to be studied and defined during the PDR phase.

- Differential tracking

  - For solar system science there is a requirement to be able to use a sidereal rate object for tip/tilt correction of a solar system object.

- Acquisition accuracy

  - The acquisition system should be able to position the science object on the science field to the indicated accuracy without taking a science exposure.  Generally, this is 10% of the field size.  However for the case of placing an object on a slit the requirement is significantly more stringent (≤ 0.25λ/D).

  - Nod reacquisition time

  - A nod is performed to move the object off the science instrument in order to obtain a sky.  This requirement is on the time from beginning the nod of the science object back onto the detector to the time when the science exposure can begin (with all AO loops properly locked).

- Positioning knowledge

  - Knowledge of the relative position of the science detector on the sky is important to allow co-adding of images (TBD).

- Science image drift

  - This defines the requirement on the stability of the science field with respect to the AO system.  The requirement is to have this drift be ≤ 5 mas per hour.

- NGS mode

  - Generally speaking it is a requirement to have an NGS mode.  In the case of the NIR deployable IFU only one of the IFUs is required to do science in NGS mode.

- AO instrument switching

  - This requirement is driven by the desire to do both imaging and spectroscopy on the same night.  The requirement is to be able to switch between the visible imager and spectrograph during observing (in a TBD time), and similarly be able to switch between the NIR imager and spectrograph.

- AO backup switching

  - The availability of an NGS mode and instrument switching already allows for backup in the case of laser problems, instrument problems or poor atmospheric conditions.  In poor seeing conditions it is also a goal to be able to switch to the NIR instruments (in a TBD time) where some science may still be possible.

- Other

  - The interferometer requirements must be met by a NGAO mode including matched fields, polarization, etc. from both telescopes.

  - Both fixed field and fixed pupil modes are required to be supported.

  - The acquisition system must provide a means of acquiring the tip/tilt stars and the LGS beacons.

  - System Requirements Document

The System Requirements Document (SRD), KAON 456, includes the science requirements from the SCRD as well as user and Observatory requirements.  The SRD also includes the technical requirements organized by engineering discipline as flowed down from the science and user requirements.

Incorporate the key user/Observatory requirements?

## Functional Requirements

The functional requirements have all been input into a requirements database tool (JAMA software’s Contour) to support long term requirements tracking and maintenance.  A summary of the functional requirements can be found in KAON 573.

# System Design Manual

Our approach to the design process was to break it into the following phases with appropriate iteration between these phases, as well iterations with the system requirements:

- Development of performance budgets, including determining the best model assumptions and validating the modeling tools.

- Performance of trade studies to support future design choices.

- Development of a system architecture.

- Performance of a technical risk analysis.

- Development of the functional requirements.

- Development of the subsystem designs.

The results of this work are summarized in the System Design Manual (SDM – KAON 511).  The SDM references a significant number of KAONs where more details can be found.

SDM material to be incorporated.

# Systems Engineering Management Plan

A SEMP (KAON 574) has been produced for the remainder of the project.  The project plan includes a work breakdown structure with task definitions, cost estimates, management plans including risk management, major milestones, and an MS Project plan.  A more detailed set of milestones and MS Project plan is provided from the preliminary design phase.  This SEMP also includes a summary of how the team performed during the SD phase in terms of deliverables, schedule and budget.

SEMP material to be incorporated.

- Conclusion

We believe that we have successfully completed the SD phase and that we have established a design approach that meets the scientific and user requirements established for the system, as required for the conclusion of the System Design phase.  We have also developed a viable technical and management path forward to the realization of a very powerful scientific capability: NGAO for the Keck Observatory.  We are looking forward to continuing into the Preliminary design phase and beyond.

# Appendix A.  NGAO Keck Adaptive Optics Notes (KAONs) Sorted by Categories

| KAON | Title | Program Mgmt | Requirements | Model Validation | Performance | AO Trade Study (TS) | Laser TS | Operations TS | Instrument TS | System Architecture | System Design |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 303 | Mauna Kea Atmospheric Parameters |  |  | x |  |  |  |  |  |  |  |
| 399 | NGAO Proposal Executive Summary | x |  |  |  |  |  |  |  |  |  |
| 400 | NGAO Proposal | x |  |  |  |  |  |  |  |  |  |
| 414 | System Design Phase: Systems Engineering Mgmt Plan | x |  |  |  |  |  |  |  |  |  |
| 415 | TMT site monitoring data (restricted access) |  |  | x |  |  |  |  |  |  |  |
| 416 | Atmospheric sodium density from Keck LGS photometry |  |  | x |  |  |  |  |  |  |  |
| 417 | Sodium abundance data from Maui Mesosphere |  |  | x |  |  |  |  |  |  |  |
| 419 | Simple models for the prediction of Na LGS brightness & comparison to measured returns from Gemini & Keck |  |  | x |  |  |  |  |  |  |  |
| 420 | Accessing the MK TMT seeing & weather data (restricted) |  |  | x |  |  |  |  |  |  |  |
| 427 | Variable vs. fixed LGS asterism |  |  |  |  | x | x |  |  |  |  |
| 428 | Implications & requirements for Interferometry with NGAO |  |  |  |  |  |  |  | x | x |  |
| 429 | LGS asterism geometry & size |  |  |  |  | x | x |  |  |  |  |
| 452 | MOAO vs. MCAO trade study |  |  |  |  |  |  |  |  | x |  |
| 455 | Science Case Requirements Document (SCRD) |  | x |  |  |  |  |  |  |  |  |
| 456 | System Requirements Document (SRD) |  | x |  |  |  |  |  |  |  |  |
| 459 | NGAO System Design Phase Report #1 | x |  |  |  |  |  |  |  |  |  |
| 461 | Wavefront error budget predictions & measured performance for current & upgraded Keck AO |  |  | x | x |  |  |  |  | x |  |
| 462 | Keck AO upgrade trade study |  |  |  |  |  |  |  |  | x |  |
| 463 | Lessons learned on LGS operations: weather impact, … |  |  |  |  |  |  | x |  |  |  |
| 465 | LGS wavefront sensor: Type & number of subapertures |  |  |  |  | x |  |  |  |  |  |
| 466 | Computer simulations of AO PSFs for NGAO |  |  | x |  |  |  |  |  |  |  |
| 468 | Algorithm for reconstruction of Keck telescope segment figures |  |  | x |  |  |  |  |  |  |  |
| 469 | Effect of segment figure errors on Keck AO performance |  |  | x |  |  |  |  |  |  |  |
| 470 | Sky coverage modeling |  |  |  |  | x | x |  |  |  |  |
| 471 | Wavefront Error Budget |  |  |  | x |  |  |  |  |  |  |
| 472 | GLAO for non-NGAO instruments |  |  |  |  |  |  |  |  | x |  |
| 473 | System Design Phase Report #2 | x |  |  |  |  |  |  |  |  |  |
| 474 | Photometry for NGAO |  |  |  | x |  |  |  |  |  |  |
| 475 | Tomography Codes Comparison and Validation for NGAO |  |  | x |  |  |  |  |  |  |  |
| 476 | Observing Models Trade Study |  |  |  |  |  |  | x |  |  |  |
| 480 | Astrometry for NGAO |  |  |  | x |  |  |  |  |  |  |
| 481 | System Design Phase Mid-FY07 Replan | x |  |  |  |  |  |  |  |  |  |
| 482 | Keck Telescope Wavefront Error Trade Study |  |  | x |  |  |  |  |  |  |  |
| 483 | Keck Interferometer Support Trade Study |  |  |  |  | x |  |  | x |  |  |
| 484 | Optical Design Standards for NGAO |  |  |  |  |  |  |  |  |  |  |
| 485 | Adaptive Secondary Mirror Trade Study |  |  |  |  |  |  |  |  | x |  |
| 487 | LOWFS Architecture Trade Study |  |  |  |  | x |  |  |  |  |  |
| 490 | Rayleigh Rejection Trade Study |  |  |  |  | x | x |  |  |  |  |
| 491 | Performance Budget Summary |  |  |  | x |  |  |  |  |  |  |
| 492 | Null-mode & Quadratic Mode Tomography Error |  |  |  |  | x |  |  |  |  |  |
| 493 | Science Instrument Reuse Trade Study |  |  |  |  |  |  |  | x |  |  |
| 494 | System Design Phase Report #3 | x |  |  |  |  |  |  |  |  |  |
| 495 | Summary of NGAO Trade Studies |  |  |  |  | x | x | x | x |  |  |
| 496 | MK turbulence statistics from the T6 MASS/DIMM (restricted) |  |  | x |  |  |  |  |  |  |  |
| 497 | High-contrast & companion sensitivity performance budget |  |  |  | x |  |  |  |  |  |  |
| 499 | System Architecture definition |  |  |  |  |  |  |  |  | x |  |
| 500 | Keck AO upgrade feasibility |  |  |  |  |  |  |  |  | x |  |
| 501 | Background & transmission budgets |  |  |  | x |  |  |  |  |  |  |
| 502 | Keck AO Upgrade engineering costs basis |  |  |  |  |  |  |  |  | x |  |
| 503 | Mauna Kea Ridge turbulence models |  |  | x |  |  |  |  |  |  |  |
| 504 | Performance vs. technical field of view for LOWFS |  |  |  |  | x |  |  |  |  |  |
| 506 | Split relay evaluation (packaging constraints, tip/tilt stability) |  |  |  |  |  |  |  |  | x |  |
| 509 | Uplink compensation trade study |  |  |  |  | x | x |  |  |  |  |
| 510 | Preliminary technical risk evaluation | x |  |  |  | x | x |  |  | x |  |
| 511 | System Design Manual |  |  |  |  |  |  |  |  | x |  |
| 512 | System Design Phase Report #4 | x |  |  |  |  |  |  |  |  |  |
| 514 | System Design Phase Report #5 | x |  |  |  |  |  |  |  |  |  |
| 516 | System Design Phase Early-FY08 Replan | x |  |  |  |  |  |  |  |  |  |
| 529 | Optimum Pixel Sampling for Asteroid Companion Studies |  | x |  |  |  |  |  |  |  |  |
| 546 | System Design Cost Estimation Guidelines | x |  |  |  |  |  |  |  |  |  |
| 548 | Science Cases Requirements Summary |  | x |  |  |  |  |  |  |  |  |
| 549 | Optical Relay System Design Report |  |  |  |  |  |  |  |  |  | x |
| 550 | System Configurations Spreadsheet |  |  |  |  |  |  |  |  | x |  |
| 551 | Wavefront Sensor System Design Report |  |  |  |  |  |  |  |  |  | x |
| 552 | Atmospheric Profiler System Design Report |  |  |  |  |  |  |  |  |  | x |
| 553 | Real-time Control System Design Report |  |  |  |  |  |  |  |  |  | x |
| 554 | Passband Definitions |  | x |  |  |  |  |  |  |  |  |
| 555 | NGAO to Instruments Interface Definitions |  |  |  |  |  |  |  |  | x |  |
| 557 | System Design Phase Report #6 | x |  |  |  |  |  |  |  |  |  |
| 558 | Dithering and Offsetting with NGAO: possible designs |  |  |  |  |  |  |  |  | x |  |
| 562 | Interim LOWFS and LGS OSM conceptual study report |  |  |  |  |  |  |  |  |  | x |
| 563 | AO Enclosure System Design |  |  |  |  |  |  |  |  |  | x |
| 564 | Laser Enclosure System System Design |  |  |  |  |  |  |  |  |  | x |
| 565 | LOWFS Object Selection Mechanism Prototyping Proposal | x |  |  |  |  |  |  |  |  |  |
| 566 | Programmatic Risk Evaluation | x |  |  |  |  |  |  |  |  |  |
| 567 | Acquisition System Design |  |  |  |  |  |  |  |  |  | x |
| 568 | Alignment, Calibration & Diagnostics System Design |  |  |  |  |  |  |  |  |  | x |
| 569 | Control System Design |  |  |  |  |  |  |  |  |  | x |
| 570 | Laser Facility System Design |  |  |  |  |  |  |  |  |  | x |
| 571 | Observing Scenarios |  | x |  |  |  |  |  |  | x |  |
| 572 | Instrument Baseline Requirements Document |  | x |  |  |  |  |  |  |  |  |
| 573 | System Design Phase Functional Requirements Summary |  | x |  |  |  |  |  |  |  |  |
| 574 | Systems Engineering Management Plan | x |  |  |  |  |  |  |  |  |  |
| 575 | System Design Report | x |  |  |  |  |  |  |  |  |  |

# Appendix B. Science Case Requirements Summary Claire: This is out of date.  Use at least version 8.  Liz and I will get the latest version to you.

The Keck II AO system was commissioned in February 1999.