## Evaluation
Subsystem Function = | Tip-Tilt star pick-off
| BEAMSPLITTER EXCHANGER |  | NO BEAMSPLITTER EXCHANGER |  |  |  | NO BEAMSPLITTER EXCHANGER
|  |  | FEEDS D-NIRI, need very good clustering capability |  |  | Does not feed D-NIRI, requires extra relay for D-NIRI, pickoff must have excellent vignetting properties
Option = | Beamsplitter exchanger | Fishing rod | Tiled focal plane | Roving Kickbot | Single posn placing buttons | Ultra low vignetting fishing rod | Roving Kickbot | Single posn placing buttons
Description
Evaluation Criteria
Performance Margin | Unsure | Very good | Very good/Excellent | Very good/Excellent | Good/V good | Very good | Excellent | Good
Operations Cost | Excellent | Very good | Very good | Very good | Very good | Very good | Very good | Very good
Development Cost | Excellent | Good | Fair/good | Very good | Very good | Fair/good | Very good | Very good
Cost Risk | Excellent | Good | Fair | Fair/Good | Very good | Good | Fair | Very good
Technical Risk | Very good/Excellent | Good/very good | Good | Good | Good/very good | Good/very good | Good | Good/very good
Reliability | Excellent | Very good | Very good | Very good | Very good | Very good | Good | Very good
Interfaces | Very good | Good | Good | Very good | Very good | Good | Very good | Very good
System Expandability | Fair/Good | Very good | Good | Very good | Very good/Excellent | Very good | Very good | Very good/Excellent
Upgrade Applicability | Good | Poor | Poor | Poor | Poor | Poor | Poor | Poor
Additional Criteria/Notes | P3k development, that opts for an beamsplitter layout, is useful to this study for a start comparison | Not new technology but these must include a method of MEMS correction | Prototype exists but would need to be fully developed for this application | Prototypes exist but would need developing for this application | Positioner is low risk- likely off the shelf these days. | Not new technology but these must include a method of MEMS correction | Prototypes exist but would need developing for this application. Transparent plate required. | Transparent plate required.
COST estimate | A bank of beamsplitters, each maybe 20k | Hardware costs to replicate current MEMS pickoff designs | Prototyping money to develop ~10mm or so tiled mirror mechanism | Hardware costs low | Maybe 10k for robot
List of items | Linear slide | Some development cost to test prototypes | Hardware itself likely not too expensive | Prototyping money required | Hardware in theory not too expensive
| Mechanism for 3 MEMS LOWFS pickoff with loose tolerances on vignetting and clustering | Requires thought to D-NIRI pickoff and spectrograph design | Requires thought to D-NIRI pickoff and spectrograph design | Requires thought to D-NIRI pickoff and spectrograph design | Prototyping money for alignment tests
| Development cost low, except for some complicated coatings |  | Testing and analysis for scattering effects | Can positioning accuarcy of kickbots be good enough for fine dithers? | Dithering requirements may not be fulfilled- requires extr study for this design
Note on A10: Anna Moore: A MEMS mirror is required per tip-tilt feed. As this is common to all options it is rarely taken into acount directly unless stated specifically
Note on B5: Anna Moore: This option consists of a set of beamsplitters ahead of the keck focal plane (direct or reimaged). The beamsplitters are interchangeable with an assumed time of 30sec or less. This option is combined with a pickoff mechanism at the reimaged LOWFS focal surface. As this pickoff has very little vignetting and clustering requirements I feel this is a low risk device.
Note on B8: Anna Moore: Performance estimate greatly depends upon science requirements for bandpass and tip-tilt star requirements. For this option light from the entire field is fed to the tip-tilt star sensors therefore it cannot be used by the science instrument. Cannot ever share science focal plane- how critical is this for D-NIRI for example?? How good is open loop correction??
Note on B10: Anna Moore: May require several beamsplitters to satisfy science instrument requirements
Note on B12: Anna Moore: Some coatings may be hard to make, such as reflective IR….
Note on B14: Anna Moore: Will need to evaluate space available for optical switchyard exchanger
Note on B15: Anna Moore: It's easy to add an extra beamsplitter configured for a specific instrument. However, if one wants an instrument that needs full JHK coverage at max. transmission in the future you are stuffed.
Note on C5: Anna Moore: Technology exists but not with MEMS incorporated?
Note on C8: Anna Moore: Possibly lower throughput compared to others
Note on C12: Anna Moore: Elevated to good/very good as fishing rod approah has been implimented- but not with mems mirror inside
Note on D5: Anna Moore: KMOS-2 style tiled focal plane. This must be sharing the science focal plane.
Note on D8: Anna Moore: Scattering at focal plane needs to be assessed
Note on D16: Anna Moore: Tiled focal plane already is quasi-optimal design in terms of sampling
Note on E5: Anna Moore: Radical concept that has small cross sectional area piezo mirrors wandering the focal plane ahead of the science instrument. In theory could use these devices for sciene target pickoff for d-NIR instrument
Note on F5: Anna Moore: Single industrial multi-axis positioner placing mirror buttons across the field
Note on F8: Anna Moore: Clustering maybe an issue for single posn. Dirthering maybe complicated
Note on G5: Anna Moore: Technology exists but not with MEMS incorporated?
Note on G8: Anna Moore: Vignetting maybe an issue Possibly lower throughput compared to others
Note on G12: Anna Moore: Elevated to good/very good as fishing rod approah has been implimented- but not with mems mirror inside
Note on H5: Anna Moore: Radical concept that has small cross sectional area piezo mirrors wandering the LOWFS focal plane ahead of the science instrument.
Note on H8: Anna Moore: No issue with clustering here
Note on I5: Anna Moore: Single industrial multi-axis positioner placing mirror buttons across the field
Note on I8: Anna Moore: Ditherng maybe an issue

## Definitions
Evaluation Criteria | Definition
Performance Margin | Does this option meet the performance requirements and how much margin is there?
Operations Cost | Will this lead to low operations costs (procurement dollars and operations personnel costs)? This should include maintainability.
Development Cost | What are the relative development costs (dollars)?
Cost Risk | Is the risk to the development or operation costs low?
Technical Risk | Is the risk to not meeting the performance requirements low?
Reliability | Is the reliability of this option high? In particular, with respect to up-time of the system.
Interfaces | Does this option impose a minimum of physical requirements and constraints (physical space required, cabling, power, cooling, thermal management, ease of implementation on telescope, etc.)?
System Expandability | Is this option easily scalable and does it offer future capabilities?
Upgrade Applicability | Can this option be implemented on the current Keck AO systems? Consider the downtime to implement these upgrades in the evaluation.
Rankings = | Poor, fair, good & excellent.

## Requirements
This page should summarize the performance requirements against which the subsystem was evaluated.