### Science Instrument FITS Header

In order to facilitate analysis and to maintain the system configuration used during the observation, additional data will be available to be placed inside the FITS header for each science instrument.  The needed parameters will be available as keywords so that they can be easily written to the FITS header.  NIRTTS will employ the current mechanism of a keywords configuration file that contains which AO keywords will be written to the FITS headers for the science instrument. The software that writes the FITS files read these configuration text files to determine which keywords to put into the headers.  This allows greater flexibility in deciding what keywords are written to the science headers.  Changes can be made by editing the configuration file to include the needed new NIRTSS keywords.   A sample list of science instrument FITS header keywords in shown in Table 1, this is only a preliminary list to illustrate the type of keywords to place into science camera FITS headers.

### NIRTTS camera headers

When NIRTTS camera is not sending data to the NGWFC it functions in mode similar to the current AO acquisition camera and standalone science imagers.  To facilitate calibration of this camera and to use it as an auxiliary acquisition camera it will have the ability to save data in FITS file format when requested by the astronomer, observing assistant or other users.  The NIRTTS sensor would have software on its camera host server for writing FITS files and be able to populate the header with DCS, AO and NIRTTS camera keywords as requested using a similar keyword configuration file as the science instruments. A sample list of NIRTTS camera FITS header keywords in shown in Table XYZ, this is only a preliminary list to illustrate the type of keywords to place into NIRTTS camera FITS headers.

Table 1: Sample NIRTSS system keywords to append to the OSIRIS FITS headers

Table 2: Sample DCS, AO and NIRTTS keywords to append to the NIR TSS camera headers