Keck NGAO OptoMechanical Meeting

Notes from 4/6/2010

Attendees: Gavel, Kupke, Lockwood, Velur, Delacroix, Adkins, Wizinowich

Action items

Old items

- Mounting of second relay around LOWFS pickoff area. Mounting of HODM and (slow) tip/tilt stage for the HODM. Cables to HODM. –Chris, Randy, Kent

- Add vertical dichroic switching mechanisms for interferometer and NGSWFS dichroics –Chris

- NGSWFS mechanical model for inclusion in the CAD drawing. –Viswa

- Drawing of cranks/rotors of LOWFS for inclusion in the CAD drawing. -Alex

New items

- Beam shift when interferometer splitter is put in place. Reni needs to check if there are significant aberrations or significant pupil shifts.

- NGS dichroic affects the science instrument beam. Reni to check if there are significant aberrations or significant pupil shifts.

- Encoders need to be spec’d to handle -15C cold space. –Chris and Alex to evaluate options

- Athermal mounting of tables/support systems on Nasmyth –

Action: each subsystem team is to produce a set of flowed-down requirements for their respective input beam 6 dof tolerances. LGS/HOWFS subunit, two instruments, interferometer DSM feed.

Also, need an interface spec for the telescope input.