## Sheet1
|  |  |  | my = | 120 | $K
|  |  |  | mm = | 10 | $K
|  |  |  | laborFactor | 3
Keck NGAO cost estimate
Assumes cascaded relay architecture
To be added: Keck upgrade option
Does not include cost of instruments
| Count | Parts Cost, $K | Labor Cost, $K | Notes
AO Enclosure |  | 500 | 20 | includes walls cooling system and other infrastructure
Support structure |  | 200 | 80 | multi-level optics bench
Electronics enclosure |  | 300 | 120
K-Mirror derotator |  | 100 | 90
First optical relay
Optics+Mounts |  | 290 | 440
DM |  | 1000 | 120 | Cilas low order piezo woofer. Includes cost of mounting and electronics drives
Dichroics | 5 | 150 | 60 | Sodium line and IR reflect into dNIRI/ pass into NFIRS, plus mounts and changer mechanism
TTM science path | 1 | 400 | 120 | big unit
Subsystem design |  |  | 30
Mechanical fab |  |  | 30
Assembly/Integration/Test |  |  | 20
Second optical relay
Optics+Mounts |  | 290 | 440
DM |  | 400 | 80 | BMC high order MEMS. Includes cost of mounting and electronics drives
Subsystem design |  |  | 30
Mechanical fab |  |  | 30
Assembly/Integration/Test |  |  | 20
ADC |  | 50 | 40
HOWFS
Optics+Mounts | 9 | 360
Detector | 9 | 540 |  | including camera controller and low-level read electronics
TTM HOWFS | 9 | 180 |  | small units
Enclosure/superstructure |  | 100
Stages/mechanisms | 9 | 360 | 20
Subsystem design |  |  | 30
Mechanical fab |  |  | 20
Assembly/Integration/Test |  |  | 10
LOWFS
Optics+Mounts | 3 | 120 | 45
Detector | 3 | 600 | 45 | no DMs in the HOWFS
DM | 3 | 225 | 115 | 1k MEMS in IR Tip/Tilt sensors, electronics
TTM | 3 | 60 | 35 | small units
Dewar | 1 | 150 | 50 | included in DNIRI package?
Subsystem design |  |  | 30
Mechanical fab |  |  | 60
Assembly/Integration/Test |  |  | 30
PSF imager
Detector | 1 | 200 | 30
Optics+Mounts |  | 10
TTM | 1 | 20
DM | 1 | 400 | 10 | 4k MEMS
Subsystem design |  |  | 10
Mechanical fab |  |  | 10
Assembly/Integration/Test |  |  | 10
dNIRI interface
Optical relay | 7 | 105 | 30
DMs | 7 | 700 | 10 | 1k MEMS
TTMs | 7 | 140 | 10 | small units
Pickoff mechanisms | 7 | 400 | 160 | robot arm pickoffs, metrology
Subsystem design |  |  | 60
Mechanical fab |  |  | 50
Assembly/Integration/Test |  |  | 30
Truth WFS | 1
Optics+Mounts |  | 15
Detector |  | 10
Subsystem design |  |  | 5
Mechanical fab |  |  | 10
Assembly/Integration/Test |  |  | 10
TT Acquisition Camera
Optics+Mounts |  | 5
Detector, electronics |  | 200
Dewar |  | 30
Subsystem design |  |  | 5
Mechanical fab |  |  | 10
Assembly/Integration/Test |  |  | 10
LGS Acquisition camera |  | 15
Optical switchyard |  | 20 | 40
Telescope simulator |  | 50 | 30
Electronics, RTC |  | 100 | 390
Electronics, bench automation |  | 50 | 30
Electronics, supervisory control |  | 50 | 30
System software development
RTC support |  |  | 360
Sequencer |  |  | 120
Bench automation |  |  | 120
User interface |  |  | 360
Observatory interface |  |  | 120
Laser system
Enclosure and infrastructure |  | 300 | 40
Lasers | 150 | 15000
Beam transport fibers | 9 | 540 | 30
Beam projection telescope |  | 250 | 40
Beam power diagnostics | 9 | 180 | 12.5
Beam profile cameras | 9 | 22.5 | 12.5
P&C loop
Sensors | 9 | 22.5 | 20
Slow steering mirrors | 9 | 45 | 30
Fast steering mirrors | 9 | 180 | 30
Asterism selection mechanism |  | 150 | 60
Laser control electronics |  | 100 | 70
Laser control software |  |  | 140
Alignment and calibration tools |  | 200
Operations tools
Interferometer support |  |  |  | not costed
Laboratory I&T |  | 400 | 180
Telescope I&T |  | 400 | 180
Subtotal |  | 26685 | 5175 | 43.125 | my
Management | 18% |  | 5734.8 | Assuming 18% of total. Actually should be different rate for managing staff vs managing contracts/purchasing
Subtotal |  | 26685 | 10909.8
Contingency | 30% | 8005.5 | 3272.94
Grand Total |  | 34690.5 | 14182.74 | 48873.24
Note on B94: Don Gavel: Assumes fiber transport. Alternative is free-space transport
Note on C58: Don Gavel: Includes the PSF unit
Note on C93: Don Gavel: Watts
Note on D15: Don Gavel: 50K OAP, 200K + 8 mm K mirror
Note on D23: Don Gavel: 50K OAP, 200K + 8 mm K mirror
Note on E9: Don Gavel: Includes design and build
Note on E15: Don Gavel: 50K OAP, 200K + 8 mm K mirror
Note on E23: Don Gavel: 50K OAP, 200K + 8 mm K mirror