NGAO Split 20” Relay / 120” dNIRI Architecture

Major Assumptions

- LGS

  - LGS pick-off first

  - Pick-off to d-NIRI second & requires a dichroic changer (to switch which wavelengths go to dNIRI sensors and which goes to narrow field science instruments)

  - D-NIRI provides platform for 2 TT, 1 TTFA, 1 TWFS over 180” dia field for both dNIRI and narrow field science

- NGS

  - NGS WFS fed by narrow field relay (can therefore be closed loop).

  - No NGS with dNIRI

  - Remove laser dichroic for NGS WFS

- Acquisition, Dither, & Tracking

  - All MEMS on TT platforms

  - Need ADC for narrow field science instruments (but not for dNIRI science units)

  - Need ADCs for tip/tilt sensors (in order to sense across J & H simultaneously)

  - Need TT, TTFA sensors to either allow offset tracking for differential atmospheric refraction or to track the unit, or this could potentially be addressed by having ADCs in both LOWFS and science paths.

  - Differential tracking required for non-science sensors on dNIRI platform to allow for a non-sidereal science object on narrow field science instruments

  - Acquisition camera in front of narrow field relay

- Calibration

  - PSF provided by 1 of dNIRI science channels

  - Need an accurate registration system between acquisition camera and all NGS & science sensors

  - Would be good to have 1 TT sensor close to science instrument (e.g., on IR science camera)

Requirements Issues

- Physical Requirements

- Interferometer

- Refractive relay won’t pass all the way from J to N-band for interferometer

- Narrow field relay won’t pass large enough field to interferometer

- Visible & near-IR Imager

- Field of view is 10-20”

- Field of regard—should this be the isoplanatic field of view?

- All NGS (narrow field)

- how far off axis?

- Is a visible WFS adequate or do we also need an IR WFS?

- Performance Requirements

- Visible Imager & Spectroscopy

  - TT error should be smaller than pixel size.  Currently listed at <15mas (should be <7mas?)

  - Because of drift, which is difficult to monitor, it would be hard to acquire target on a 14mas slit.

  - Using calibration source, need to register camera optics within 1 micron precision (pixel size is 5microns)

- Operational Requirements

  - All narrow field instruments

      - PSF estimation—different wavelength, pixel scale, open loop

      - Lots of non-common path for LGS between D-NIRI platform and narrow field science instruments (separate rotators, separate DMs, separate TTMs, non-common ADC).  This impacts relative TT and relative WFE and PSF calibration (and note that this varies in time).

- More calibration effort required because of:

  - Open loop LGS

  - Open loop LOWFS

  - Registration of acquisition camera to NGS & science sensors

- Acquisition camera

      - fold mirror on the exchanger/ dichroic which sends light to camera which is perpendicular to dNIRI

        - near-IR, same wavelength as tip tilt sensors

        - can’t monitor dNIRI at the same time—drift would be hard to monitor

      - fold mirror behind exchanger, need to remove when using narrow field, but provides parallel observations with dNIRI

        - z, or R-band visible detector

        - near-IR detector that complements the wavelength range as the tiptilt sensor.

        - If it was in parallel with narrow, we could have a PSF monitor

- Offset requirement

  - What is the requirement on the TTM?  Could it do dither (i.e., ~3”)?

Risks

- Unclear that dNIRI can fit close enough to el journal

- Unclear enough space for dNIRI & narrow field at same time.