NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	Keck Interferometer Support TS (m5)

WBS Element Number:	3.1.2.1.5

Work Package Lead:	Chris Neyman

Work Package Participants:	Chris Neyman, Viswa Velur, Brian Baumann, Junichi Meguro

# Work Scope

WBS Dictionary Entry: 	Consider the relative performance, cost, risk & schedule of feeding KI with NGAO or a repackaged version of the current AO system. Decoupling of NGAO from interferometer support may simplify & improve performance of NGAO. The feasibility of maintaining a version of the two current AO systems for KI use should be evaluated.  Complete when NGAO baseline architecture selected.

Requirements: 	This study will define the constraints and requirements for supporting interferometry at Keck in the NGAO era (~2013-?).  Several possible concepts for interferometer support will be evaluated. The final architecture decisions for NGAO in this phase of the project will be made as part of W.B.S. 3.1.3.1: System Architecture.

# Inputs:	The requirements and constraints for interferometry support at Keck will be taken from:

- Keck Adaptive Optics Note No. 165: “Issues related to the Location of the Keck I Adaptive Optics Bench”,

- Keck Adaptive Optics Note No. 428: “Implication and Requirements for Interferometry with Next Generation Adaptive Optics System”

Optical designs used to evaluate compatibility between NGAO and interferometry will be taken from W.B.S. 3.1.2.2.2: Optical Relay.   Information on operational cost for adaptive optics systems at Keck will be based on Keck FY07 budget.

# Products:	This study will produce a technical report on its findings.

# Methodology:	Use mechanical and optical design tools to develop concepts for supporting Interferometry.  Given the hours allocated to this study the designs can only be taken to a conceptual level.

# Estimate of effort:	We propose the following breakdown of hours:

Bauman: Optics, 16 hours

Meguro: Mechanical and drawings, 40 hours

Velur: Mechanical, Polarization and coatings, 40 hours

Neyman: Systems engineering, 40 hours

Total Hours 136, original estimate of NGAO SEMP 120

# Approvals:

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | Chris Neyman | 2/12/07 |
| Approved by: | Rich Dekany | 2/28/07 |
|  | P. Wizinowich | 2/13/07 |

# Appendix: Outline of trade study report

Keck Interferometer Support Trade

Introduction:

Conceptual designs for IF support

NGAO feeding IF

Dual IF AO Systems

Movable Keck(I/II)/NGAO options

Cost of construction and operations for above concepts

Conclusions and recommendations