NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	Wavefront Sensors

WBS Element Number:	3.2.3.5

Work Package Lead:	Viswa Velur

Work Package Participants:

# Work Scope

WBS Dictionary Entry: 	Develop a design concept for each of the required NGAO wavefront sensors.

3.2.3.5.1   High Order LGS Wavefront Sensors:  Given the functional and performance requirements, develop a design concept for the laser guide star high order wavefront sensors. Take into consideration the possible need for both open and closed loop wavefront sensing.

3.2.3.5.2  High Order NGS Wavefront Sensor:  Given the functional and performance requirements, develop a design concept for the natural guide star high order wavefront sensor(s). Take into consideration the possible need for both open and closed loop wavefront sensing.  Include consideration of ADC packaging (ADC design is covered in WBS 3.2.3.8).

        - Low Order NGS Wavefront Sensors:  Given the functional and performance requirements, develop a design concept for the low order natural guide star wavefront sensors for the purpose of determining tip/tilt and other low order modes in laser guide star observing mode. Take into consideration the possible need for both open and closed loop wavefront sensing.  Include consideration of ADC packaging (ADC design is covered in WBS 3.2.3.8).

3.2.3.5.4  Calibration Wavefront Sensor:  Given the functional and performance requirements, develop a design concept for the calibration wavefront sensor which will use natural guide star light as a truth wavefront.  This sensor will be periodically used to reset the references of the high order wavefront sensors in laser guide star mode.  Include consideration of ADC packaging (ADC design is covered in WBS 3.2.3.8).

Requirements: 	Including any additional requirements, specifications, or instructions necessary to completely but concisely define the scope of work, including corrections to the dictionary definition.  Be clear, where potential confusion might occur, about what will not be covered.

# Inputs:	List key assumptions that are used as starting points for this WBS element.  Reference the source of the assumptions (e.g. reports, journal articles, etc.) and include a list of other NGAO WBS elements (full name and WBS #) that provide results or conclusions used as starting points for this WBS element.

# Products:	List all products to be produced by this WBS element.  Examples include graphs, images, software, spreadsheets, simulation codes, and reports.  A draft table of contents for the report should be included.

# Methodology:	Outline your proposed procedure for meeting the goals of the WBS element.   Describe your methodology in sufficient detail that engineers and scientist with similar background can understand your plans and would be able to verify the results.

# Estimate of effort:	Estimate the number of hours of work required to complete the WBS element.  Compare this estimate to the one given in the SEMP.

# Approvals:			240  hours

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | Viswa Velur | 12/11/06 |
| Approved by: | WBS X.X Lead |  |
|  | NGAO EC Chair |  |