NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	Laser Systems Control

WBS Element Number:	3.3.6

Work Package Lead:	Erik Johansson

Work Package Participants:	Jason Chin, Paul Stomski

# Work Scope

WBS Dictionary Entry: 	Identify the requirements and design concept for laser system control, for example wavelength control, mode behavior maintenance, and a system to tune off wavelength for Rayleigh background exposure.  Identify key parameters for monitoring laser status and develop design concepts for such measurement and monitoring.

3.3.6.1	Laser System Software:  Design the architecture for the laser system control and diagnostics software, including laser, beam transport, and launch system. Software must be integrated with the laser safety system, AO system, science instruments, and the telescope operating system.

      - Laser System Electronics:  Specify and develop the design concept for the electronics systems needed to provide laser control and diagnostics functions..

Requirements:

- System Requirements Document

- Functional Requirements Document

# Inputs:

# System requirements document

# Functional Requirements document, v1.0

# System architecture as described in KAON 499

# Input from laser team (WBS 3.3.1, 3.3.2, 3.3.3, 3.3.4)

- Input from the controls teams (WBS 3.2.4, 3.2.5)

# K1 LGS documents

# Products:

# A revised WBS dictionary definition for this task.

- A revision of the functional requirements pertaining to the laser systems control.

- Electronics products:

        - A layout of the laser subsystems and their locations.

        - A block diagram of the laser control system

        - Block diagrams of the sub systems, to include:

          - Laser control

          - Beam transport

          - Launch system

          - Wavelength and mode control

          - Motion control

          - Calibration and diagnostics

          - Environmental system

          - Interfaces to the laser safety system

        - A draft of an interface control document

- Software products:

        - A SW architecture design covering top-level laser sequencing and command, control and status interfaces to the various AO subsystems (Observing sequence, AO sequence, telescope, etc.). This design will be done in collaboration with some of the WBS tasks for Science Operations (3.4) and with the laser system teams ( 3.3.1, 3.3.2, 3.3.3, 3.3.4).

        - A top-level block diagram showing the overall SW architecture for the laser system, including the laser subsystems defined above in the electronics products section (3. C. 3)).

        - A top-level data-flow diagram for the laser SW, showing data paths, descriptions, sizes, and expected data rates.

        - A draft of an interface control document describing all the SW interfaces for the laser SW.

        - A top-level description of all the laser component SW modules.

        - A block level context diagram showing how the laser SW components are connected to the rest of the AO system (this may be part of the ICD instead).

        - A revision of the functional requirements pertaining to the laser SW.

        - A high-level description of the command, control, and status interfaces and functions of the laser sequencer.

        - A report summarizing all the above items.

# Methodology:

- The laser electronics system architecture will be designed by JC in collaboration with Ej and PS. (70 hours).

- The laser system SW architecture will be designed by Ej and PS in collaboration with JC. (80 hours).

# Estimate of effort:	70 + 80 = 150 hours.

# Approvals:			150 hours

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | Erik Johansson | 9/11/07 |
| Approved by: | WBS X.X Lead |  |
|  | NGAO EC Chair |  |