NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	AO-Intrument Operations Optimization, Performance Prediction,

Real-Time Optimization, Instrument Environment Monitoring

WBS Element Number:	3.4.2.2, 3.4.2.2.1, 3.4.2.2, 3.4.2.2.3

Work Package Lead:	David Le Mignant

Work Package Participants:

# Work Scope

WBS Dictionary Entry: 	3.4.2.2  AO-Instrument Operations Optimization:  Define the requirements, the method and the interfaces to ensure optimal science data quality and science observing efficiency as a function of the science program.

        - AO-Instrument Performance Prediction:  Define method and interfaces to predict instrument performance in a given parameter space, given a set of observing parameters. This should include the AO performance (SR, EE, etc) as well as observing efficiency (open-shutter time, dither, read-out). Particularly, explore the possibility of using these tools on the science use cases, characterizing the tools during the commissioning phase and using them to monitor the system performance  (see below).

3.4.2.2.2  AO-Instrument Real-time Optimization:  Define method and interfaces required to ensure a constant monitoring of the AO performance metrics and optimize this metrics as a function of observing and atmospheric conditions (seeing, elevation, Na density, GS brightness) and the science drivers (SR, EE). This process is to be real-time, automated and the tune-up parameters should be saved for each target.

        - AO-Instrument Environment Monitoring:  Define the method and design the interfaces to record and monitor environment data which would impact directly and indirectly the science operations and the science data quality, including Na density and profile, relevant atmospheric turbulence parameters, sky transparency, % humidity, instrument optics and outside temperatures, etc

Requirements: 	Including any additional requirements, specifications, or instructions necessary to completely but concisely define the scope of work, including corrections to the dictionary definition.  Be clear, where potential confusion might occur, about what will not be covered.

# Inputs:	List key assumptions that are used as starting points for this WBS element.  Reference the source of the assumptions (e.g. reports, journal articles, etc.) and include a list of other NGAO WBS elements (full name and WBS #) that provide results or conclusions used as starting points for this WBS element.

# Products:	List all products to be produced by this WBS element.  Examples include graphs, images, software, spreadsheets, simulation codes, and reports.  A draft table of contents for the report should be included.

# Methodology:	Outline your proposed procedure for meeting the goals of the WBS element.   Describe your methodology in sufficient detail that engineers and scientist with similar background can understand your plans and would be able to verify the results.

# Estimate of effort:	Estimate the number of hours of work required to complete the WBS element.  Compare this estimate to the one given in the SEMP.

# Approvals:			180 hours

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | David Le Mignant | 12/27/06 |
| Approved by: | WBS X.X Lead |  |
|  | NGAO EC Chair |  |