NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	AO Enclosure

WBS Element Number:	3.2.2

Work Package Lead:	Jim Bell

Work Package Participants:	Jim Bell, Drew Mederios

# Work Scope

WBS Dictionary Entry:

3.2.2 Based on system requirements and performance budgets, develop a design concept for an environmentally controlled enclosure for NGAO.

# Requirements:

Humidity requirements for electro-mechanical and electronic components

ICD for the K2 Left Nasmyth Platform including the Elevation Bearing.

Interaction with the Optical, Optomechanical, Electrical & Instrument design efforts to address issues of the limited volume for components, scattered light, acceptable contamination levels.

Output beam for IF

# Inputs:

KAON 501, Background and Transmission Budgets Version 1.1

Observatory requirements including telescope structural loading, vibration, waste heat input to the dome, available power and utilities.

NGAO Functional requirements documents

NGAO System Architecture Definition (KAON 499)

Optical layout of the cascaded relay architecture (8/21/07 memo), an action item from the System Architecture Retreat (Team Meeting 8).

Science Requirements Summary spreadsheet

# Products:

Conceptual 3D model of the enclosure completed in Solidworks showing spaces for:

Optics and Opto-mechanics including optical windows

Supports

Electronics

Environmental equipment and controls

Written description of the design. The report will include a first assessment of high risk items including expected requirement for limited access requiring higher standards of reliability for all equipment within the enclosure. The report shall include a section on inputs and outputs to the enclosure including starlight and utilities such as electrical power, glycol, pneumatics, etc. As estimate of loading of the azimuth cable wrap and personnel safety concerns shall also be included.

Estimated weight and weight distribution to meet telescope loading restrictions.

List of suitable vendors for proposed equipment with vendor provided documentation.

Preliminary cost analysis.

Inputs to the preliminary design phase work breakdown structure

Inputs to appropriate sections of FRD version 2

Inputs to the System Design Manual

# Methodology:

Understand environmental requirements.

Consider two different volumes. One for optics that require environmental controls to meets thermal background requirements and the second for equipment like electronic racks that are less sensitive

Use Keck Interface Control Model for design in Solidworks

Interact with conceptual design efforts requiring space within the enclosure.

Research technology on low temperature environmentally controlled work spaces.

# Estimate of effort:

3D Model including mass balance and interaction with other conceptual design efforts: 40 hrs

Report: 8 hrs

Research suitable technology: 16 hrs

Cost analysis, inputs to FRD & System Design Manual: 16 hrs

Meetings: 4 hrs

# Total estimated hrs from above is 84 hrs. The NGAO SD Schedule V26 lists 40 hrs, a difference of 44 hrs.

# Approvals:

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | J. Bell | 9/8/2007 |
| Approved by: | WBS X.X Lead |  |
|  | NGAO EC Chair |  |