NGAO System Design Phase: Work Scope Planning Sheet

WBS Element Title:	NGAO Work Package for Rayleigh Rejection Trade Study (Post M3, Revision 1)

WBS Element Number:	3.1.2.2.5

Work Package Lead:	Viswa Velur

Work Package Participants:	w/ inputs from C. Neyman, D. Gavel and P. Wizinowich.

# Work Scope

WBS Dictionary Entry: 	Evaluate the impact of unwanted Rayleigh backscatter to NGAO system performance.  Consider the relative performance, cost, risk and schedule of various strategies for mitigation of LGS Rayleigh backscatter. Techniques include background subtraction, modulation and optimizing projection location.  This issue is closely coupled to laser pulse format, with pulsed lasers generally providing more options for Rayleigh mitigation than CW lasers.  Complete when NGAO baseline architecture selected.

Requirements: 	Basic LIDAR equation (Gardener et. al. and Hardy) based estimate of Rayleigh scatter is modeled for the Keck telescope. Types of lasers, Rayleigh rejection schemes are looked at. The impact of Rayleigh scatter will de documented based on above model for a single WFS and compared with results from the Subaru telescope’s PASP paper. Brent’s notes on fratricide will be documented on the report. Two projection geometries will be considered and qualitative (order of magnitude) #s on system performance will be documented. Also long term and short terms trends seen from other (non-Rayleigh) atmospheric effects will be discussed in the report.

# Inputs:	Assumptions: On-axis projection of lasers for simplistic initial model, US standard atmosphere (Allen’s astrophysical quantities)

# Products:	A presentation was given to the EC on 12/14/06. A report is under preparation, sample table of contents, list of figures are as follows:

Contents (incomplete)

1 Introduction

1.1 WBS dictionary definition of trade study

2 The LIDAR equation - estimation of Rayleigh scatter

3 Sodium laser types and Pulse Formats

4 Rayleigh scatter mitigation techniques

4.1 Classic background subtraction by de-tuning

4.2 Pulse tracking for 1-3 μsec. lasers in conjunction with the use of polar co-ordinate

CCDs or other pulse tracking technique

4.3 Electronic or mechanical chopping

5 Comparison of laser options

6 Comparison of performance, cost, risk(s), schedule of various Rayleigh rejection strategies

7 Other factors

List of Figures

1 Rayleigh return vs. altitude

2 Laser type and pulse options for NGAO

List of Tables

1 Comparison of laser types and pulse formats

2 Comparison of different Rayleigh scatter rejection techniques.

# Methodology:	Estimate the # of photons collected by the telescope due to Rayleigh scatter and estimate how this affects the WFSs for a single beacon and single WFS. Explore the laser types and pulse formats and show their relative pros and cons in a tabular form. Long terms trends in atmospheric scatter cross-section is shown using published papers. Yet to determine the scheme for comparing laser projection options and incorporate EC’s recommendations.

# Estimate of effort:	5 days (already spent) to do Rayleigh return math, research on aerosol scatter, listing laser types and evaluating Rayleigh rejection schemes and writing a preliminary 7 page report. The effort would take 8 more days to add in the EC recommendations and update the report. If there are any final comments from the EC it would take another day to incorporate those. I hope to submit the final report on or before the 10th of January.

# Approvals:

| Control | Name | Date |
| --- | --- | --- |
| Authored by: | Viswa Velur | 12/19/2006 |
| Approved by: | Richard Dekany | 1/25/07 |
|  | Peter Wizinowich | 1/25/07 |

EC Comments:

- The modeling of Rayleigh return and looking at time variability is adequate and should be documented in the report.  No more work should be done in this area for this WBS.

- Should review PASP paper describing the results of the Subaru observations of the Keck laser.  Conclusions drawn from this report about the impact of Rayleigh, and anchoring the Lidar modeling results, should be included in the TS report.

- Should review Gemini MCAO Rayleigh Scatter Fratricide ppt presentation (Don will also look for the written report) and use the relevant information in compiling the TS report.

- The impact of the Rayleigh light contaminating the LGS wavefront sensing from a single laser should be summarized in the TS report.  The pros and cons, including effectiveness, of the various potential Rayleigh rejection approaches for this single laser scenario should also be summarized.

- The impact of the Rayleigh light from one laser contaminating the LGS wavefront sensing from another laser should be summarized in the TS report.  The pros and cons, including effectiveness, of the various potential Rayleigh rejection approaches for this fratricide scenario should also be summarized.

- Techniques that should be considered in the above two evaluations include background subtraction, optimizing projector location, optical baffling and modulation techniques.  Additional techniques that should be considered for fratricide rejection include ignoring (or de-weighting) Rayleigh-illuminated subapertures and modulating which laser/WFS are in use at any given time.

- Should only discuss laser types in the TS report to the extent this topic impacts the Rayleigh rejection topic.  Consider pulling section 3 (sodium laser types) of the proposed report format into section 5 (comparison of laser options)

- Only a very modest effort should go into any new modeling or analysis to support completing a draft TS report.  Qualitative or order of magnitude comparisons are adequate for the draft.  Please provide an effort estimate for any more detailed work that you feel would be appropriate, and get EC approval before proceeding.