Per our discussion on 11/6/06 (modified 12/18/06)

Mode

NGS

LGS

Dual NGS

TT loop (HOWFS LO) ON/OFF

DM loop (HOWFS HO) ON/OFF

Acquire Source

WFS Camera Settings

WFS Sky

Set Servo Gains

Register DM

HOWFS HO loop On/Off

HOWFS LO loop On/Off

LOWFS LO loop On/Off

LOWFS HO loop On/Off

Acquire Source

WFS Camera Settings

WFS Sky

Set servo gains

Register DM

LOWFS HO loop On/Off

HOWFS HO loop On/Off

Acquire Source

WFS Camera Settings

WFS Skyto star FS or send staruisitionach button:T), Focus, HOWFS, LOWFS camera 10 Hz

ne)

to star FS or send staruisitionach button:T), Focus, HOWFS, LOWFS camera 10 Hz

ne)

Set servo gains

Register DM

Select Source

Select Source

Select Source

Possible GUI Buttons:

Functionality associated with each button:

|  | Current/NGS | LGS | Dual NGS |
| --- | --- | --- | --- |
| Mode Setup | HOWFS in NGS position Acq cam in NGS position Dichroic in NGS position | HOWFS in LGS position Acq cam in NGS position Dichroic in LGS position Chopper running Connect to BTO (warning if not available) | Same as NGS |
| Loops | TTM loop closes the tip/tilt loop on the HOWFS residuals DM loop closes the HO(DM) loop on the HOWFS residuals | HOWFS LO closes the uplink tip/tilt loop on the HOWFS residuals HOWFS HO closes the HO(DM) loop on the HOWFS residuals LOWFS LO closes the tip/tilt loop on the LOWFS residuals LOWFS HO closes the focus loop on the LOWFS residuals – Offloading DM to telescope only turned on when this loop is closed | LOWFS LO closes the tip/tilt loop on the LOWFS residuals HOWFS HO closes the HO(DM) loop on the HOWFS residuals |
| Select Source | Acq Camera in NGS position: White Light Internal Laser Sky (star) Subaperture Relay Subaperture Stimulus Acq Camera in LGS position: Internal LGS | Acq Camera in NGS position: White Light Internal Laser Sky (star) Acq Camera in LGS position: Sky (laser) Internal LGS | Acq Camera in NGS position: White Light Internal Laser Sky (star) Acq Camera in LGS position: Internal LGS |

| Acquisition | Move SSMs or telescope Display video images Allow selection of star in image (clicking in image to get location in pixels) Send telescope to center star in HOWFS | Move SSMs, telescope or LOWFS motors Display video images Allow selection of star in image (clicking in image to get location in pixels) Send LOWFS to star or send laser to HOWFS | Same as LGS, except: Send LOWFS to star or send telescope to center star in HOWFS |
| --- | --- | --- | --- |
| WFS Camera Settings | HOWFS framerate HOWFS bias HOWFS gain | HOWFS framerate (including sync option) HOWFS bias HOWFS gain LOWFS framerate LOWFS bias LOWFS gain | Same as LGS |
| WFS Sky | Move telescope Take sky | Move telescope Take LO sky Move UTT (LLT) Take HO sky | Move telescope Take LO sky Take HO sky |
| WFS Servo Gains | TTM integral gain TTM proportional gain (unused) DM integral gain DM proportional gain | UTT (LLT) integral gain UTT (LLT) leaky gain TTM integral gain TTM leaky gain DM integral gain DM leaky gain Focus integral gain Focus leaky gain Offloading gains | Same as NGS |

| DM Registration | Lock TTM loop (HOWFS LO) | Lock UTT loop (HOWFS LO) | Lock TTM loop (LOWFS LO) |
| --- | --- | --- | --- |

Improvements:

- GUI updates with correct values (even if values are entered from the command line)

- Improved method for updating tables (file browser?)

- Log interval set based on framerate to always give a default log rate of 10 Hz

- LOWFS camera always logging to DB?

- Text input for servo gains

- Faster backgrounds – smart log rate (log as fast as possible for a given frame rate and calculate required number of seconds based on data log rate) and return original settings when complete

Automations:

- Offloading TT and focus to the telescope

  - Additional servo gains

  - Variable update rate

- Generate flatmaps

Additions

- Separate TAO default file, ie:

  - TAO defaults

  - Other subsystems

  - Subaperture parameters

- Additional status buttons (TT, DM, UTT (LLT), Focus, HOWFS camera (display rate), LOWFS camera (display rate), Laser shutter status, BTO ready (from BTO), Laser power (from LGS computer))

- Open UTT and DM loop, when the laser shutter closes

- TT and DM plots from TAO

- Live pixel displays in TAO – background subtracted

TBD:

- Focus loop algorithm

- Acquisition algorithms

- Nodding commands from science instrument – what TAO should do in each mode depending what loops are closed

- Method for taking science backgrounds