Per our discussion on 11/6/06 (modified 12/18/06)(6/4/07)

Mode

NGS

LGS

Dual NGS

TT loop (HOWFS LO) ON/OFF

DM loop (HOWFS HO) ON/OFF

Acquire Source

WFS Camera Settings

WFS Sky

Set Servo Gains

Register DM

HOWFS HO loop On/Off

HOWFS LO loop On/Off

LOWFS LO loop On/Off

LOWFS HO loop On/Off

Acquire Source

WFS Camera Settings

WFS Sky

Set servo gains

Register DM

LOWFS HO loop On/Off

HOWFS HO loop On/Off

Acquire Source

WFS Camera Settings

WFS Skyto star FS or send staruisitionach button:T), Focus, HOWFS, LOWFS camera 10 Hz

ne)

to star FS or send staruisitionach button:T), Focus, HOWFS, LOWFS camera 10 Hz

ne)

Set servo gains

Register DM

Select Source

Select Source

Select Source

Possible GUI Buttons:

Functionality associated with each button:

|  | Current/NGS | LGS | Dual NGS |
| --- | --- | --- | --- |
| Mode Setup | See Loops | See Loops | See Loops |
| Loops1 | TTM loop closes the tip/tilt loop on the HOWFS residuals DM loop closes the HO(DM) loop on the HOWFS residuals | HOWFS LO closes the uplink tip/tilt loop on the HOWFS residuals HOWFS HO closes the HO(DM) loop on the HOWFS residuals LOWFS LO closes the tip/tilt loop on the LOWFS residuals LOWFS HO closes the focus loop on the LOWFS residuals – Offloading DM to telescope only turned on when this loop is closed | LOWFS LO closes the tip/tilt loop on the LOWFS residuals HOWFS HO closes the HO(DM) loop on the HOWFS residuals |

| WFS Camera Settings | HOWFS framerate HOWFS bias HOWFS gain | HOWFS framerate (including sync option) HOWFS bias HOWFS gain LOWFS framerate LOWFS bias LOWFS gain | Same as LGS |
| --- | --- | --- | --- |
| WFS Sky2 | Move telescope Take sky | Move telescope Take LO sky Move UTT (LLT) Take HO sky | Move telescope Take LO sky Take HO sky |
| WFS Servo Gains | TTM integral gain TTM proportional gain (unused) DM integral gain DM proportional gain | UTT (LLT) integral gain UTT (LLT) leaky gain TTM integral gain TTM leaky gain DM integral gain DM leaky gain Focus integral gain Focus update rate Offloading gains | Same as NGS |

| DM Registration | Lock TTM loop (HOWFS LO) | Lock UTT loop (HOWFS LO) | Lock TTM loop (LOWFS LO) |
| --- | --- | --- | --- |

- Loops should not change the camera state, ie leave cameras “on” when the loops are opened.

- DM and UTT loops should remain closed when taking a LO background.  TT loop should remain closed when taking a HO background.

Improvements:

- GUI updates with correct values (even if values are entered from the command line, ie servo gains or loop states)

- Improved method for updating tables (file browser?)

- Log interval set based on framerate to always give a default log rate of 10 Hz

- Text input for servo gains

- Faster backgrounds – smart log rate (log as fast as possible for a given frame rate and calculate required number of seconds based on data log rate) and return original settings when complete

Automations:

- Generate flatmaps

  - Button to implement flatmap IDL script

Additions

- Additional status buttons (TT, DM, UTT (LLT), Focus, HOWFS camera (display rate), LOWFS camera (display rate), Laser shutter status, BTO ready (from BTO), Laser power (from LGS computer))

- Open UTT and DM loop, when the laser shutter closes

- Ability to call TAO functions from the command line/IDL

  - Registration

  - Source selection

  - Backgrounds

  - Flatmap

TBD:

- Focus loop algorithm

- Nodding commands from science instrument – what TAO should do in each mode depending what loops are closed

- Method for taking science backgrounds

- Open loop dithers