BTO Control Math

- Conventions

The signals from the quad cells are designated as q1, q2, q3, and are assumed to be already normalized and expressed as a real number between -1.0 and +1.0.  These have x and y components.

The coordinate system follows the optical path (raytrace convention) and thus moves with the telescope.  The x axis is parallel to the dec axis at all locations, and the y axis is perpendicular to it and the local beam direction.  For example, at Q3, with the telescope at zenith, the x axis is east-west (horizontal) and the y axis is vertical.  At Q2, the x axis is east-west, the y axis is north-south.  As all of the BTO starting with M1 (M1b on Antonin’s chart) lies in a plane, the x direction will also be referred to as the out-of-plane direction.

The exception is M1, which is fixed to the ground in the coude room.  For M1 only, define an x′, y′ which are rotated with respect to x, y by the hour angle of the telescope.  On the optical path from M1 to M2, a desired optical tilt in x, y coordinates is then rotated into x′, y′ coordinates before calculating mechanical tilts to be commanded to M1.

By applying this coordinate transformation to M1 commands, the control problem then neatly separates into non-interacting x and y parts.  These can be analyzed as two independent three-sensor, three-actuator systems.

Commands to the actuators are expressed two ways.  The first is an actuator position in microns, with symbols M1, M2, M3.  The second is as an optical deviation in radians, with symbols m1, m2, m3.  For M2 and M3, the conversion between the two is:

Mx=mxDx2cos(θ)My=myDy2

Here, D is the lever arm of the actuator, and θ is the angle of incidence.  It is assumed that the mirror tilt out of plane (x) is small, but that the mirror in-plane angle is arbitrary and has the value θ.

For M1, the hour angle rotation must be included:

M1x=m1xcos(h)+m1ysin(h)D1x2cos(θ)M1y=−m1xsin(h)+m1ycos(h)D1y2

Here h is the hour angle of the telescope, in radians.  For M1, θ=(lat+90)/2, where lat=33.356 degrees, assuming that the path from M1a to M1b is vertical.

The values of D1 and D3 are 51100 microns; the mounts are Newport type 605-4.  The value of D2 is 107700 microns; this mount is a Newport U400-AC2X.  The lever arms for x and y are identical, for both mount types.

The result of the control matrix multiply is a set of error terms in m-space, called e1, e2, e3.  These are the inputs to the integrate-and-clamp routines.  There are six of these, for three mirrors with two axes each.  The outputs of the integrate-and-clamp routines are m1, m2, m3.

Interaction and Control Matrices

The interaction matrix is simple enough: M1 affects Q1, Q2 and Q3; M2 affects Q2 and Q3; and M3 affects Q3.  For either x or y, the general form of the interaction matrix is then:

q1q2q3=abc0ef00im1m2m3

The inverse of this interaction matrix is

e1e2e3=1aeiei−bibf−ce0ai−af00aeq1q2q3

The control matrix is non-singular if the determinant, aei, is non-zero, that is, if all of the terms on the diagonal of the interaction matrix are non-zero.  The control law can be expressed algebraically as follows:

e1=1aq1−baeq2+bf−ceaeiq3e2=1eq2−feiq3e3=1iq3

- Components of the Matrices

asdf