BTO Control Math

- Conventions

The signals from the quad cells are designated as q1, q2, q3, and are assumed to be already normalized and expressed as a real number between -1.0 and +1.0.  These have x and y components.

The coordinate system follows the optical path (raytrace convention) and is fixed to the telescope.  The x axis is parallel to the dec axis at all locations, and the y axis is perpendicular to it and the local beam direction.  For example, at Q3, with the telescope at zenith, the x axis is east-west (horizontal) and the y axis is vertical.  At Q2, the x axis is east-west, the y axis is north-south.

The exception is M1, which is fixed to the ground in the coude room.  For M1 only, define an x’ and a y’ which are rotated with respect to x and y by the hour angle of the telescope.  On the optical path from M1 to M2, a desired optical tilt in x, y coordinates is then rotated into x’, y’ coordinates before calculating mechanical tilts to be commanded to M1.

By applying this coordinate transformation to M1 commands, the control problem then neatly separates into non-interacting x and y parts.  These can be analyzed as independent three-sensor, three-actuator systems.

For now, the commands to the actuators are expressed as mechanical tilts in radians, with symbols m1, m2, m3.  In a later revision, I will fold in the x lever arm and y lever arm of the mounts, and properties of the actuators, to complete the control prescription.

The error terms from the control matrix multiply are called m1_err, m2_err, m3_err.  These are the inputs to the control law integrator and clamp routine.

- Interaction and Control Matrices

The interaction matrix is simple enough: M1 affects Q1, Q2 and Q3; M2 affects Q2 and Q3; and M3 affects Q3.  For either x or y, the form of the interaction matrix is then:

q1q2q3=abc0ef00im1m2m3

The inverse of this interaction matrix is

m1errm2errm3err=1aeiei−bibf−ce0ai−af00aeq1q2q3

The control matrix is non-singular if the determinant, aei, is non-zero, that is, if all of the terms on the diagonal of the interaction matrix are non-zero.  The control law can be expressed algebraically as follows:

m1err=1aq1−baeq2+bf−ceaeiq3m2err=1eq2−feiq3m3err=1iq3

- Reflection from a Mirror

When a beam of light is reflected from a mirror at normal incidence, the change in optical angle is just twice the change in mirror tilt.  For oblique incidence, this remains true for the in-plane tilt, but the out-of-plane tilt now obeys:

Δopt=2cos2(θ)Δmech,

where θ is the angle of incidence.  For M2, θ=(90+dec)2.  Constraining zenith angle to 45 degrees means that dec can range from -11.6 to +78.6 degrees, which means that θ on M2 can range from 39.2 to 84.3 degrees.  This implies a servo gain change of 61 to 1 for M2 commands on the x axis, without additional constraints on this parameter range.