Palomar Adaptive Optics Test Plan

| Title | LGS Acquisition and characterization |
| --- | --- |
| Date | 7/12/06 |
| Lead | M. Troy |
| Time requested | 1 hr |
| Required conditions | - |

Purpose Acquire LGS, focus LLT, determine LGS magnitude and spot size,

Test procedure Setup Telescope at zenith, at best NGS focus. Acquisition camera filter installed. Acq focused at 90 km altitude (NGS focus-2450) NGS 14500 LGS 11950 LLT focused on at 90 km altitude (NGS focus - 300). NGS 11600 LGS 11300 laser focus set to 4000 Acquisition camera setup: AO> video cam=acq, int_time=5000000, interval=1 In an appropriate experiment directory: IDL> ao_plot_vid_image Laser propagating. Acquire LGS on Acq Steer LGS onto Acq using following commands: offset llt_a +1.0 moves LGS 6 pixels down. offset llt_b +1.0 moves LGS 4.6 pixels right. Focus Acq, LLT, and HOWFS on Na layer Rough focus, Look at spot in acq move llt_focus in steps of 50, acq_z in steps of 300 Detune laser, take and save a 5s background image. Focus Acq AO> video cam=acq, int_time=5000000, interval=1 IDL> ao_focus_loop, current-600, 300, 5, ‘acq’, ‘save_name’, ‘sky_name’, time=6.0 IDL> ao_read_focus, data,file=’save_name’ AO> move acq_z best_focus Focus LLT IDL> ao_focus_loop, current-100, 50, 5, ‘llt’, ‘save_name’, ‘sky_name’, time=6.0 IDL> ao_read_focus, data,file=’save_name’ CSH> bto_control “move llt_focus XXX” Repeat steps 3.2 and 3.3 again if necessary Tune center wavelength This depends…. Check position of laser_focus This depends Take photometry Record and save a final set of detuned and tuned 5s Acq images for measuring photometry and spot size. Take NGS photometric Go to photometric standard NGS, Landolt ~mV=9.5 Move acq_z to NGS focus Move star to approximate position of LGS Take two images, with a ~10” dither between them Set HOWFS z stage start lgsfoc in IDL, set Height to 90km, send HWFS stage by clicking 1-shot, WFS stage should move to 80,840um Move LGS onto HOWFS. See step 2. Close UTT loop.

Results and conclusions