Palomar Adaptive Optics Test Plan

| Title | SSM Range of Motion |
| --- | --- |
| Date | 9/4/06 |
| Lead | J. Roberts |
| Time requested | 1 hour |
| Required conditions | Nighttime |

Purpose To determine the range of the SSMs on PHARO

Previous analysis The last time this test was performed the results showed a limited field for the SSMs.

Test procedure - Range of Motion before vignetting - Acquire and center on PHARO bright <8th mag GS - Determine and note limits of SSM motors. - Dither North, in 5 arcsec steps. After each move check for: - motor hitting limit - WFS vignetting - PHARO vignetting - Continue until one of the above conditions occurs, record the total motion. - Repeat steps c and d moving East, South and West. - Insure PHARO’s 45” field is not vignetted - Acquire and center bright GS on PHARO (don’t lock AO loops) - Take and save pupil and image images. - Move star (open loop) to NE corner of PHARO chip (in 40 mas plate scale), repeat step B looking for vignetting in the pupil or a decrease in star intensity. - Repeat step c, moving star to NW, SW, and SE corners of PHARO chip.

Results and conclusions