Palomar Adaptive Optics Test Plan

| Title | LGS-AO Science Night Checklist |
| --- | --- |
| Version | 1.1 |
| Date released | 12/11/2008 |
| Lead | A. Bouchez |
| Time requested | N/A |
| Required conditions | N/A |

Purpose Provide a schedule and checklist of science night tasks.

Procedure First night tasks indicated in blue. Before 4:00pm AO bench LGS setup and checkout. Cofocus AO wavefront sensors and science instrument. Verify LOWFS-Acquisition camera mapping. Recalibrate if necessary. Start up laser. Bring to full power without optimization to allow temperature to stabilize. Perform first half of BTO setup procedure (no stimulus laser) Subsequent nights, start up BTO as follows: ssh -Y aousr@198.202.125.152 bto_ctrl Uncover LLT primary mirror cover. After 4:00pm Remove Coude block. Test laser interlock system. Perform second half of BTO setup procedure (using stimulus laser). Check laser power. Optimize power and wavelength tuning. Perform BTO checkout procedure. (Abbreviated checkout procedure on subsequent nights) Sunset Perform NGS checkout. Perform LGS checkout. Optimize laser as necessary throughout night. Science Observations Follow LGS Target Acquisition procedure. End-of-night Close and lock Coude block. Power down laser. Install LLT primary mirror cover (Cover all BTO optics on final night)

Notes