Palomar Adaptive Optics Test Plan

| Title | Dual NGS |
| --- | --- |
| Date | 1/5/07 |
| Lead | J. Roberts |
| Time requested | ½ hour |
| Required conditions |  |

Purpose Acquire white light or star in both LOWFS and HOWFS

Test procedure - Acquire source on the HOWFS (register and lock) - Start acqview - Send LOWFS to the source - Turn on LO camera and start up plots - Take a LO background - Zero LO centroids - Close the TT loop - Zero HO centroids - Close DM loop