## Interface Control Document

## Cassegrain Instruments for the Palomar 200-inch Telescope

version 1.0

November 2, 2010

A-109488

Table of Contents

- Introduction and Reference Drawings

- Optical Interface

- Mechanical Interface

- Electrical Power Interface

- Data Interface

- Handling and Storage

- Dimensions

- Defining points

1.0    INTRODUCTION and REFERENCE DRAWINGS

  - Purpose

The purpose of this document to provide pertinent information for potential designers of new instruments for the Cassegrain focus of the 200-inch telescope at Palomar.

Most of that information is on several drawings in the Palomar files.   These drawings numbers and titles will be listed next for reference.   However, extracts from those drawings will be made later in this document so that the designer will have immediate access to much of the vital information needed about the Cassegrain focus area.

1.2 	Reference Drawings

Drawing No.                     Title

B-104954 Sheet 1 - 	200” Telescope, Cassegrain Optical Sys.

B-104954 Sheet 2- 	200” Telescope, Cassegrain Optical Sys.

B-104954 Sheet 3- 	200” Telescope, Cassegrain Optical Sys.

B-104954 Sheet 4- 	200” Telescope, Cassegrain Optical Sys.

B-105361              	200” Cass. Offset Guider Opt. Layout

B-105372              	200” Cass. Offset Guider Mtg. Frame

B-108332-1          	200” Cass. Guider Base Plate Blank

B-108332-6          	200” Cass. Instrument Mounting Pin

D-108342             	200” Cass. Guider Handling Fixture Assy

D-108343             	200” Cass. Guider Handling Fixture Parts

112631		200” Cass Instrument Envelope drawing

- Optical Interface

Drawings 1.3 through 1.6 describe the Cassegrain Optical System in some detail.   Sheet 1 of B-104954 was made in 1962 and is the most complete, but there are some errors.   In 1997 Sheet 2 was made to correct the problems and provide only essential information about the optical system using the best available figures.

Based partly on reference drawing B-105361, B-104954 Sheet 2 shows a typical Cassegrain focus at F 15.78  with a light beam that is 13 inches in diameter and with a 14 arc-second field.  The beam in the instrument is typically 1-inch in diameter.  The focal surface in the example is at a typical 9.12 inches below the surface of the Cassegrain rotating mounting ring.

Focal position adjustment is made by shifting the Cassegrain secondary mirror through about 2.8 inches (70 mm) of travel and that provides a Cassegrain focal range of about 30-inches each way from the above-mentioned 9.12 inch position.   There the plate scale is 2.56 arc-seconds per millimeter (at F 15.78).

B-104954  Sheet 3 shows the equations that pertain to a Cassegrain optical system and shows a dual optical layout.   The purpose of the latter is to show what happens as one shifts from one focal position to another.    The two points shown are at distances Co and C1 behind the front surface of the primary mirror.

B-104954  Sheet 4 is really a worksheet that shows how to use Sheets 2 and 3 to make useful calculations.

For example, the focal location for F 16 was calculated and shown on Sheet 2.  It was 11.07 inches below the F 15.78 position.

- Mechanical Interface

3.1   A typical Cassegrain instrument for the Palomar 200-inch telescope is supported by a large rectangular 2-inch thick steel base plate about 34.5 by 45.5 inches overall.  Near the corners are four 1-inch diameter through holes on a 32 by 42.875 inch hole pattern.    In each of these four holes are mounting pins (drawing B-108332-6).   Drawing B-108332-1 shows a base plate blank and some partial assembly views of the pins in the plate and a section view of one pin secured to the Cassegrain rotatable mounting ring.  Of course, all four pins will be locked in place in service.   Naturally the base plate will also have various through holes and tapped holes to accommodate the optical and other components of the instrument.

Drawing B-105372 was referenced as an example of an earlier instrument that is shown attached to the Cassegrain mounting ring.    In that case the base plate was of cast iron.   Many Cassegrain instruments may weigh a ton or more and to minimize re-balancing effort of the telescope tube it is desirable that new Cassegrain instruments are heavy too.    A thick and heavy base plate helps that and provides rigidity also.

- Electrical Power Interface

Standard 120 volt, single phase 60 Hz power is available in a duplex outlet near the instrument area and also in electrical cabinets that are available to house users electronic equipment.

5.0   Data Interface

Various data cables used by other instruments are available.   At present we do not have an up to date list of the details of these.

- Handling and Storage

A Cassegrain instrument must have its own handling fixture (often called a cart) for transport to and from a storage shed located around the periphery of the 200-inch telescope’s observing floor.    An example of such a cart is shown on drawings D-108342 and D-108343.  That cart has a rectangular base frame that is 52 inches square and is mounted on four

heavy-duty casters of 5-inch diameter.   The overall height is 84 inches to the tops of the four 9/16 inch diameter pins that engage the instrument base plate’s four holes on a 32 by 36 inch pattern.

Each pin is on top of a plunger assembly that slides inside a 2-1/2 diameter tubular post on the cart.   Each plunger has a strong spring and an automobile type shock absorber incorporated in it to cushion any inadvertent bumps as the Cassegrain instrument is attached or detached from the rotating mounting ring locking device.     The vertical motion to raise and lower the cart is provided by a 5,000 pound rated central hoist platform directly under the Cassegrain area when the telescope tube is vertical.

- Dimensions

The above-mentioned Cassegrain cart will accept an instrument of about 26 by 32 inches in cross-section at the four posts.  However, additional space is available between the posts if needed.   The instrument body may extend about 62 inches below the bottom of the instrument base plate.    Above the base plate there is a space of 38 inches up into the mirror cell and the primary mirror but limited to 32 inches in diameter.    However, that space should be verified to be available before an instrument is designed to use it.

8.0    Defining Points

The final defining points are the flat ends of the four mounting pins against the gear plate (drawing 103783) to which the Cassegrain rotating ring is attached.    There are tapered clearance holes in the mounting ring to guide the pins through to contact the gear plate.