## Slide 1: WASP Science CCD Assembly Fixture No Guiders
Step By Step Procedure

## Slide 2: WASP CCD Assembly Fixture
CCD Handler
Vertical Bracket
WASP Dewar
Optical Bench

## Slide 3: WASP CCD Assembly Fixture
Step 1: Install the CCD on the Handler

## Slide 4: WASP CCD Assembly Fixture
Step 2: Remove the Plug covers(?); detach shorting plugs from props; re-install the shorting plugs

## Slide 5: WASP CCD Assembly Fixture
Step 3: Free the Ribbons
by removing props

## Slide 6: WASP CCD Assembly Fixture
Step 4: Remove the e2v Cover

## Slide 7: WASP CCD Assembly Fixture
Step 5: Unbolt the e2v Bottom cover.

## Slide 8: WASP CCD Assembly Fixture
Step 6: Insert the Coupler et Fasten it with the short screw

## Slide 9: WASP CCD Assembly Fixture
Step 7: Remove the Handler Pin

## Slide 10: ZTF CCD Assembly Fixture
Step 8: Insert the 3 Temporary Barrel Nuts

## Slide 11: WASP CCD Assembly Fixture
Step 9: Free the CCD from the Handler

## Slide 12: WASP CCD Assembly Fixture
Step 10: Remove the Short Screw and slide the Coupler all the way to the Long bolt out.

## Slide 13: WASP CCD Assembly Fixture
Step 11: Move the Handler to its parking location

## Slide 14: WASP CCD Assembly Fixture
Step 12: Install the CCD ribbon holders

## Slide 15: WASP CCD Assembly Fixture
Step 13: the 2 aft Guide rods

## Slide 16: WASP CCD Assembly Fixture
Step 14: Slide the CCD Out

## Slide 17: WASP CCD Assembly Fixture
Step 15: Install the CCD guide rods thru the Dewar

## Slide 18: WASP CCD Assembly Fixture
Step 16: Slide the CCD into position:

## Slide 19: WASP CCD Assembly Fixture
Step 17: Tighten the Captive fastener

## Slide 20: WASP CCD Assembly Fixture
Step 18: Install the remaining 2 fasteners