## Slide 1: WASP Science & Guide CCD Assembly Fixture
Step By Step Procedure

## Slide 2: WASP CCD Assembly Fixture
CCD Handler
WASP Dewar
Rotation Stage
Optical Bench
Horizontal Stage

## Slide 3: WASP CCD Assembly Fixture
Step 1: Slide the CCD Handler into position

## Slide 4: WASP CCD Assembly Fixture
Step 2: Bolt the CCD package to the Handler

## Slide 5: WASP CCD Assembly Fixture
Step 3: Install the CCD Handler to the Base.

## Slide 6: WASP CCD Assembly Fixture
Step 4: Install the connector attachment hardware and Free the Ribbons

## Slide 7: WASP CCD Assembly Fixture
Step 5: Remove the e2v Cover

## Slide 8: WASP CCD Assembly Fixture
Step 6: Unbolt the e2v Bottom cover.

## Slide 9: WASP CCD Assembly Fixture
Step 7: Insert the Coupler

## Slide 10: WASP CCD Assembly Fixture
Step 8: Bolt the Coupler to the rotation Stage

## Slide 11: ZTF CCD Assembly Fixture
Step 9: Lift the coupler to the CCD Base

## Slide 12: WASP CCD Assembly Fixture
Step 10: Secure the CCD to the Coupler using the Barrel Nuts

## Slide 13: WASP CCD Assembly Fixture
Step 11: Remove the Handler Pin

## Slide 14: WASP CCD Assembly Fixture
Step 12: Unscrew the Handler from the CCD

## Slide 15: WASP CCD Assembly Fixture
Step 13: Park the Handler Assembly.

## Slide 16: WASP CCD Assembly Fixture
Step 14: Install the Ribbon Holders

## Slide 17: WASP CCD Assembly Fixture
Step 15: Rotate the Stage 180 deg and lock it.

## Slide 18: WASP CCD Assembly Fixture
Step 16: Slide the horizontal Stage into place.

## Slide 19: WASP CCD Assembly Fixture
Step 17: Lower the CCD into vertical position between jaws.:

## Slide 20: WASP CCD Assembly Fixture
Step 18: Close the jaws

## Slide 21: WASP CCD Assembly Fixture
Step 19: Unbolt the CCD

## Slide 22: WASP CCD Assembly Fixture
Step 20: Raise the Rotation Stage Clear.

## Slide 23: WASP CCD Assembly Fixture
Step 21: Slide the CCD under the Dewar.

## Slide 24: WASP CCD Assembly Fixture
Step 22: Lower the Guide rods to the CCD thru the Dewar

## Slide 25: WASP CCD Assembly Fixture
Step 23: Open the Jaws

## Slide 26: WASP CCD Assembly Fixture
Step 24: Pull the CCD Up

## Slide 27: WASP CCD Assembly Fixture
Step 25: Replace Guide Rods with Fasteners

## Slide 28: WASP CCD Assembly Fixture
Step 26: Replace Guide Rods with Fasteners

## Slide 29: WASP CCD Assembly Fixture
Step 27: Slide the Horizontal Stage into place and open the jaws.

## Slide 30: WASP CCD Assembly Fixture
Step 28: Place the Guide CCD between the Jaws

## Slide 31: WASP CCD Assembly Fixture
Step 29: Close the Jaws

## Slide 32: WASP CCD Assembly Fixture
Step 30: Rotate the Dewar 90 deg CCW

## Slide 33: WASP CCD Assembly Fixture
Step 31: Slide the Horizontal Stage into position under the Dewar

## Slide 34: WASP CCD Assembly Fixture
Step 32: Lower the Guide rods to the CCD thru the Dewar.

## Slide 35: WASP CCD Assembly Fixture
Step 33: Open the Jaws.

## Slide 36: WASP CCD Assembly Fixture
Step 34: Pull the CCD up and fasten it.

## Slide 37: WASP CCD Assembly Fixture
Step 35: Set the Horiz Stage for the AFT CCD and repeat from step 27