## Slide 1: Tri-level parallel clocking overlapped with serials
Roger Smith
2013-06-29

## Slide 2: Motivation
For ZTF and WaSP we have 3072 parallel transfers and about 3072 µs per line for the pixel reads. Trapping time is probably shorter than the line read time and with this many line transfers parallel CTE is a mild concern.
Taking a parallel clock phase from accumulation (positive) to nearly the final barrier potential allows, one can waiting ~1ms for charge to be detrapped. If the detrapping occurs with the phase at less than the adjacent barrier, the detrapped charge is constrained to return to the the charge packet from which it was removed. Kudos to Neil Murray of Open University for coming up with this scheme.
The down side is that the detrapping time would double the read time for XTF or WaSP.
Let’s examine to what extent the parallel clock timing can be overlapped with serial clocking to hide this overhead. Another benefit of doing so is that the clock slew rate requirement can be relaxed so that a lower power and more compact clock driver can be used, and slower edges will also reduce spurious charge injection.
For serial transfers we are hoping that the pixel rate is much faster than the trap capture time constant.

## Slide 3
Serials can be clocking
P2
P1
P1
P2
P3
P4
P3
P4
TG
Assume we have 4 phase parallel clocks since these are popular due to increased well capacity.

## Slide 4
Last pixels read
t = 0 = end of previous line

## Slide 5
Serials stopped during parallel charge dump
t = 50 µs … if rise time = 100 µs

## Slide 6
t = 100 µs … the new barrier phase (P3) stops just short of inversion
Serials stopped
Very small amount of trapped charge per line

## Slide 7
Wait only ~100 µs for emission of trapped charge since serials are stopped, make longer if CTE is a problem.
Serials stopped
t = 100 µs

## Slide 8
t = 200 µs

## Slide 9
t = 250 µs

## Slide 10
Serials restart
t = 300 µs … up until now, line transfer time is not overlapped with serial clocking and is thus a readout overhead = 300µs/line *3072 lines = 0.922 s per frame

## Slide 11
Serials are clocking
Wait 950 µs for emission of trapped charge
t = 300 µs

## Slide 12
Serials are clocking
t = 1250 µs

## Slide 13
Serials are clocking
t = 1300 µs

## Slide 14
Serials are clocking
Wait 950 µs for emission of trapped charge
t = 1350 µs

## Slide 15
Serials are clocking
t = 2300 µs

## Slide 16
Serials are clocking
t = 2350 µs

## Slide 17
Serials are clocking
Wait 950 µs for emission of trapped charge
t = 2400 µs

## Slide 18
Serials are clocking
t = 3350 µs = line time = 300µs for parallel charge dump + 3050µs for line readout overlapped with the remaining ¾ of parallel transfer
Frame time = 3350µs/line * 3072 lines = 10.3 s

## Slide 19
Serials stopped

## Slide 20
t = 4500 µs

## Slide 21
Wait for emission of trapped charge … serials stopped

## Slide 25
Serials restart

## Slide 26
Serial clocking

## Slide 27
Serial clocking

## Slide 28
Serial clocking

## Slide 29
Serial clocking

## Slide 30: Optimized charge dump
If we make the positive rail for the serial clocks much higher than the parallel phase immediately preceding TG, we can have much faster charge dump since we only need to switch TG to allow charge to “run downhill” into the serial register, by simply lowering TG.

## Slide 31
t = 0 = end of previous line
More positive
serial clock levels

## Slide 32
Serials stopped
t = 50 µs … if rise time = 100 µs

## Slide 33
t = 100 µs … Serial clocking is only suspended for one rise time of parallel clock, so most parallel clock timing is hidden inside pixel reads and rise times can be quite slow.
TG raised immediately so serials can restart
Relatively little time allowed for detrapping last line

## Slide 34
t = 100 µs … the new barrier phase (P3) stops just short of inversion
Wait 700 µs for detrapping = more than last version
Serials are clocking

## Slide 35
t = 800 µs
Serials are clocking

## Slide 36
t = 850 µs
Serials are clocking

## Slide 37
t = 900 µs
Wait 700 µs for emission of trapped charge
Serials are clocking

## Slide 38
t = 1600 µs
Serials are clocking

## Slide 39
t = 1650 µs
Serials are clocking

## Slide 40
Wait 700 µs for emission of trapped charge
t = 1700 µs
Serials are clocking

## Slide 41
t = 2400 µs
Serials are clocking

## Slide 42
t = 2450 µs
Serials are clocking

## Slide 43
Wait 700 µs for emission of trapped charge
t = 2500 µs
Serials are clocking

## Slide 44
t = 3200 µs = line time = 100µs for parallel charge dump + 3100µs for line readout overlapped rest of parallel transfer
Frame time = 3200µs/line * 3072 lines = 9.8 s
Serials are clocking

## Slide 45
P1
P2
P3
TG
P4
Sx
700µs
100µs

## Slide 46: Notes
The tri-level clocking is being used here to pause before entering inversion.
We could invoke the trilevel capability to leave inversion slowly as well so that spurious charge generation as well.
However it probably wont be a strong enough effect to be a concern in these applications and in fact my be mitgated merely by the relatively low slew rate possible due to the lareg electrode capacitance and resistances.
Steve, did you take into account the CCD electrode resistance and wiring resistance when calculating rise time, or only the drive current available ?